## Sheet1
List of Consent Decree Limits That Survive Termination
Sunoco Eagle Point Refinery
Emission Source | Paragraph | CD Survival Permit Terms | Title V Issued w/ CD limit? (Y/N) | Title V Date Issued, Page # of permit condition OR Application Date (if TV not issued yet) | Title V language | PDF of State Permit and Issued Title V (highlight the applicable language) | Comments
Sunoco Eagle Point Refinery Title V Permit can be accessed at this New Jersey web link using Program Interest No. 55781 |  |  |  |  | http://www.state.nj.us/dep/aqpp/index.html
Boiler 5 | 21 | U110 Boiler B5: Sunoco will implement a three-year program to reduce NOX emissions from the heaters and boilers at the Refinery. Reductions will be accomplished through the installation of NOX controls and the acceptance and establishment of federally-enforceable emission limits on all heaters and boilers listed in Appendix D so that the weighted average of individual heater and boiler permitted emissions at the Refinery are < 0.040 lb/mmBTU. Compliance with these emission limits will be determined through source testing or the use of CEMS. | Y | U110, OS1 Boiler B5 firing RFG, Ref. # 15 2/25/2011 - pg. 377/504 | NOx (Total) <= 0.0033 lb/MMBTU except during start-up, shutdown, and fuel transfer periods. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack testing requirements. [N.J.A.C. 7:27-22.16(e)]. |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
|  |  | Y | U110, OS2 Boiler B5 firing Jet A, Ref. # 16 2/25/2011 - pg. 382/504 | NOx (Total) <= 0.009 lb/MMBTU, except during start up, shut down, and fuel transfer period. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack test requirements. [N.J.A.C. 7:27-22.16(o)] |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
| 30 | Sunoco shall maintain and operate a fuel gas CEMS in accordance with the requirements of 40 C.F.R. §§ 60.11, 60.13 and Part 60 Appendix A, and the applicable performance specification test of 40 C.F.R. Part 60 Appendices B and F. This CEMS will be used to demonstrate compliance with the NSPS SO2 emission limit. | Y | U110, OS1, Boiler B5 firing RFG, Ref. # 18 2/25/2011 - pg. 378/504 | H2S: <=120 ppmv(wet) [40 CFR 60.104(a)(1)] H2S: Monitored by fuel sampling (e.g. gas) continuously, based on a 3 hour rolling average. Install, calibrate, maintain, and operated an instrument for continuously monitoring and recording the concentration (dry basis) of H2S in fuel gases before being burned in any fuel gas combustion device. (i) The span value for this instrument is 425 mg/dscm H2S. (ii) Fuel gas combustion devices having a common source of fuel gas may be monitored at only one location, if monitoring at this location accurately represents the concentration of H2S in the fuel gas being burned. (iii) The performance evaluations for this H 2S monitor under 40 CFR 60.13(c) shall use Performance Specification 7. Method 11 shall be used for conducting the relative accuracy evaluations in accordance with 40 CFR 60.106(e). [40 CFR 60.105(a)(4)] |  | See also U110, OS Summary, Ref. # 39 in the OS Summary conditions for 5, 6, 7, 8, below
| 31 | From the Date of Lodging of this Consent Decree, Sunoco shall not burn Fuel Oil [defined as "any liquid fossil fuel with sulfur content of greater than 0.05% by weight"] in any combustion unit except during periods of Natural Gas Curtailment. | Y | U110, OS2 Boiler B5 burning Jet A, Ref. # 14 2/25/2011 - pg. 382/504 | Sulfur Content in Fuel <= 0.025 weight %. [N.J.A.C. 7:27-22.16(e)] Sulfur Content in Fuel: Monitored by fuel sampling (e.g. oil) once per bulk fuel shipment. Analyze the fuel sample by a certified laboratory. [N.J.A.C. 7:27-22.16(e)]
| 31A | U110 Boiler B5: PM10 Emissions. By no later than the Date of Entry, Sunoco shall comply with an emission limit of 0.00427 pounds of total PM10 per million BTU heat input on a 1-hour average basis, as measured by individual 1 hour runs of EPA Methods 201 (or alternative method as approved by EPA) and 202, at Boilers 5, 6, 7 and 8. | Y | U110, OS1 Boiler B5 firing RFG, Ref. # 24 2/25/2011 - pg. 379/504 | PM-10 (Total) <= 0.00427 lb/MMBTU. (From EPA Consent Decree). [N.J.A.C. 7:27-22.16(a)]. Monitored by stack emission testing once initially, based on each of three Department validated stack test runs using EPA Methods 5 and 202 by no later than the date the Consent Decree is entered by the United States District Court. [N.J.A.C. 7:27-22.16(o)]
Boiler 6 | 21 | U110 Boiler B6: Sunoco will implement a three-year program to reduce NOX emissions from the heaters and boilers at the Refinery. Reductions will be accomplished through the installation of NOX controls and the acceptance and establishment of federally-enforceable emission limits on all heaters and boilers listed in Appendix D so that the weighted average of individual heater and boiler permitted emissions at the Refinery are < 0.040 lb/mmBTU. Compliance with these emission limits will be determined through source testing or the use of CEMS. | Y | U110, OS3 Boiler B6 firing RFG, Ref. # 15 2/25/2011 - pg. 386/504 | NOx (Total) <= 0.0033 lb/MMBTU except during start-up, shutdown, and fuel transfer periods. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack testing requirements. [N.J.A.C. 7:27-22.16(e)] |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
|  |  | Y | U110, OS4 Boiler B6 firing Jet A, Ref. # 16 2/25/2011 - pg. 391/504 | NOx (Total) <= 0.009 lb/MMBTU, except during start up, shut down, and fuel transfer period. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack test requirements. [N.J.A.C. 7:27-22.16(o)] |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
| 30 | Sunoco shall maintain and operate a fuel gas CEMS in accordance with the requirements of 40 C.F.R. §§ 60.11, 60.13 and Part 60 Appendix A, and the applicable performance specification test of 40 C.F.R. Part 60 Appendices B and F. This CEMS will be used to demonstrate compliance with the NSPS SO2 emission limit. | Y | U110, OS3 Boiler B6 firing RFG, Ref. # 18 2/25/2011 - pg. 387/504 | H2S: <=120 ppmv(wet) [40 CFR 60.104(a)(1)] H2S: Monitored by fuel sampling (e.g. gas) continuously, based on a 3 hour rolling average. Install, calibrate, maintain, and operated an instrument for continuously monitoring and recording the concentration (dry basis) of H2S in fuel gases before being burned in any fuel gas combustion device. (i) The span value for this instrument is 425 mg/dscm H2S. (ii) Fuel gas combustion devices having a common source of fuel gas may be monitored at only one location, if monitoring at this location accurately represents the concentration of H2S in the fuel gas being burned. (iii) The performance evaluations for this H 2S monitor under 40 CFR 60.13(c) shall use Performance Specification 7. Method 11 shall be used for conducting the relative accuracy evaluations in accordance with 40 CFR 60.106(e). [40 CFR 60.105(a)(4)] |  | See also U110, OS Summary, Ref. # 39 in the OS Summary conditions for 5, 6, 7, 8, below
| 31 | From the Date of Lodging of this Consent Decree, Sunoco shall not burn Fuel Oil [defined as "any liquid fossil fuel with sulfur content of greater than 0.05% by weight"] in any combustion unit except during periods of Natural Gas Curtailment. | Y | U110, OS4 Boiler B6 burning Jet A, Ref. # 14 2/25/2011 - pg. 391/504 | Sulfur Content in Fuel <= 0.025 weight %. [N.J.A.C. 7:27-22.16(e)] Sulfur Content in Fuel: Monitored by fuel sampling (e.g. oil) once per bulk fuel shipment. Analyze the fuel sample by a certified laboratory. [N.J.A.C. 7:27-22.16(e)]
| 31A | U110 Boiler B6: PM10 Emissions. By no later than the Date of Entry, Sunoco shall comply with an emission limit of 0.00427 pounds of total PM10 per million BTU heat input on a 1-hour average basis, as measured by individual 1 hour runs of EPA Methods 201 (or alternative method as approved by EPA) and 202, at Boilers 5, 6, 7 and 8. | Y | U110, OS3 Boiler B6 firing RFG, Ref. # 24 2/25/2011 - pg. 388/504 | PM-10 (Total) <= 0.00427 lb/MMBTU. (From EPA Consent Decree). [N.J.A.C. 7:27-22.16(a)]. Monitored by stack emission testing once initially, based on each of three Department validated stack test runs using EPA Methods 5 and 202 by no later than the date the Consent Decree is entered by the United States District Court. [N.J.A.C. 7:27-22.16(o)]
Boiler 7 | 21 | U110 Boiler B7: Sunoco will implement a three-year program to reduce NOX emissions from the heaters and boilers at the Refinery. Reductions will be accomplished through the installation of NOX controls and the acceptance and establishment of federally-enforceable emission limits on all heaters and boilers listed in Appendix D so that the weighted average of individual heater and boiler permitted emissions at the Refinery are < 0.040 lb/mmBTU. Compliance with these emission limits will be determined through source testing or the use of CEMS. | Y | U110, OS5 Boiler B7 burning RFG and Jet A fuel, Ref. # 15 2/25/2011 - pg. 395/504 | NOx (Total) <= 0.0033 lb/MMBTU except during start-up, shutdown, and fuel transfer periods. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack testing requirements. [N.J.A.C. 7:27-22.16(e)]. |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
|  |  | Y | U110, OS5 Boiler B7 firing RFG, Ref. # 17 2/25/2011 - pg. 395/504 | NOx (Total) <= 0.2 lb/MMBTU. [N.J.A.C. 7:27-19.7(c)]. NOx (Total): Monitored by continuous emission monitor continuously, based on a 3 hour rolling average based on a 1 hour block average. [N.J.A.C. 7:27-19.7(d)] |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
| 30 | Sunoco shall maintain and operate a fuel gas CEMS in accordance with the requirements of 40 C.F.R. §§ 60.11, 60.13 and Part 60 Appendix A, and the applicable performance specification test of 40 C.F.R. Part 60 Appendices B and F. This CEMS will be used to demonstrate compliance with the NSPS SO2 emission limit. | Y | U110, OS5 Boiler B7 firing RFG, Ref. # 18 2/25/2011 - pg. 396/504 | H2S: <=120 ppmv(wet) [40 CFR 60.104(a)(1)] H2S: Monitored by fuel sampling (e.g. gas) continuously, based on a 3 hour rolling average. Install, calibrate, maintain, and operated an instrument for continuously monitoring and recording the concentration (dry basis) of H2S in fuel gases before being burned in any fuel gas combustion device. (i) The span value for this instrument is 425 mg/dscm H2S. (ii) Fuel gas combustion devices having a common source of fuel gas may be monitored at only one location, if monitoring at this location accurately represents the concentration of H2S in the fuel gas being burned. (iii) The performance evaluations for this H 2S monitor under 40 CFR 60.13(c) shall use Performance Specification 7. Method 11 shall be used for conducting the relative accuracy evaluations in accordance with 40 CFR 60.106(e). [40 CFR 60.105(a)(4)] |  | See also U110, OS Summary, Ref. # 39 in the OS Summary conditions for 5, 6, 7, 8, below
| 31A | U110 Boiler B7: PM10 Emissions. By no later than the Date of Entry, Sunoco shall comply with an emission limit of 0.00427 pounds of total PM10 per million BTU heat input on a 1-hour average basis, as measured by individual 1 hour runs of EPA Methods 201 (or alternative method as approved by EPA) and 202, at Boilers 5, 6, 7 and 8. | Y | U110, OS5 Boiler B7 burning RFG and Jet A fuel, Ref. # 24 2/25/2011 - pg. 397/504 | PM-10 (Total) <= 0.00427 lb/MMBTU. (From EPA Consent Decree). [N.J.A.C. 7:27-22.16(a)]. Monitored by stack emission testing once initially, based on each of three Department validated stack test runs using EPA Methods 5 and 202 by no later than the date the Consent Decree is entered by the United States District Court. [N.J.A.C. 7:27-22.16(o)]
Boiler 8 | 21 | U110 Boiler B8: Sunoco will implement a three-year program to reduce NOX emissions from the heaters and boilers at the Refinery. Reductions will be accomplished through the installation of NOX controls and the acceptance and establishment of federally-enforceable emission limits on all heaters and boilers listed in Appendix D so that the weighted average of individual heater and boiler permitted emissions at the Refinery are < 0.040 lb/mmBTU. Compliance with these emission limits will be determined through source testing or the use of CEMS. | Y | U110, OS7 Boiler B8 burning RFG and Jet A fuel, Ref. # 15 2/25/2011 - pg. 400/504 | NOx (Total) <= 0.0033 lb/MMBTU except during start-up, shutdown, and fuel transfer periods. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack testing requirements. [N.J.A.C. 7:27-22.16(e)]. |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
|  |  | Y | U110, OS8 Boiler B8 firing Jet A, Ref. # 16 2/25/2011 - pg. 405/504 | NOx (Total) <= 0.009 lb/MMBTU , except during start up, shut down, and fuel transfer period. [N.J.A.C. 7:27-22.16(e)]. Monitored by stack emission testing prior to permit renewal, based on each of three Department validated stack test runs. See OS Summary for stack test requirements. [N.J.A.C. 7:27-22.16(o)] |  | Also monitored via CEMS pursuant to U110, OS Summary, Refs. # 20 and 21 (see OS Summary conditions for boilers 5, 6, 7, 8, below).
| 30 | Sunoco shall maintain and operate a fuel gas CEMS in accordance with the requirements of 40 C.F.R. §§ 60.11, 60.13 and Part 60 Appendix A, and the applicable performance specification test of 40 C.F.R. Part 60 Appendices B and F. This CEMS will be used to demonstrate compliance with the NSPS SO2 emission limit. | Y | U110 Four Boilers burning RFG and Jet A fuel, 350 MMBtu/hr each, OS7 Boiler B8 firing RFG, Ref. # 18 2/25/2011 - pg. 401/504 | H2S: <=120 ppmv(wet) [40 CFR 60.104(a)(1)] H2S: Monitored by fuel sampling (e.g. gas) continuously, based on a 3 hour rolling average. Install, calibrate, maintain, and operated an instrument for continuously monitoring and recording the concentration (dry basis) of H2S in fuel gases before being burned in any fuel gas combustion device. (i) The span value for this instrument is 425 mg/dscm H2S. (ii) Fuel gas combustion devices having a common source of fuel gas may be monitored at only one location, if monitoring at this location accurately represents the concentration of H2S in the fuel gas being burned. (iii) The performance evaluations for this H 2S monitor under 40 CFR 60.13(c) shall use Performance Specification 7. Method 11 shall be used for conducting the relative accuracy evaluations in accordance with 40 CFR 60.106(e). [40 CFR 60.105(a)(4)] |  | See also U110, OS Summary, Ref. # 39 in the OS Summary conditions for 5, 6, 7, 8, below
| 31 | From the Date of Lodging of this Consent Decree, Sunoco shall not burn Fuel Oil [defined as "any liquid fossil fuel with sulfur content of greater than 0.05% by weight"] in any combustion unit except during periods of Natural Gas Curtailment. | Y | U110, OS8 Boiler B8 burning Jet A, Ref. # 14 2/25/2011 - pg. 405/504 | Sulfur Content in Fuel <= 0.025 weight %. [N.J.A.C. 7:27-22.16(e)] Sulfur Content in Fuel: Monitored by fuel sampling (e.g. oil) once per bulk fuel shipment. Analyze the fuel sample by a certified laboratory. [N.J.A.C. 7:27-22.16(e)]
| 31A | U110 Boiler B8: PM10 Emissions. By no later than the Date of Entry, Sunoco shall comply with an emission limit of 0.00427 pounds of total PM10 per million BTU heat input on a 1-hour average basis, as measured by individual 1 hour runs of EPA Methods 201 (or alternative method as approved by EPA) and 202, at Boilers 5, 6, 7 and 8. | Y | U110, OS7 Boiler B8 burning RFG and Jet A fuel, Ref. # 24 2/25/2011 - pg. 402/504 | PM-10 (Total) <= 0.00427 lb/MMBTU. (From EPA Consent Decree). [N.J.A.C. 7:27-22.16(a)]. Monitored by stack emission testing once initially, based on each of three Department validated stack test runs using EPA Methods 5 and 202 by no later than the date the Consent Decree is entered by the United States District Court. [N.J.A.C. 7:27-22.16(o)]
Boilers 5, 6, 7, 8 | 25 | Sunoco shall monitor the Controlled Heaters and Boilers to meet the requirements of Paragraph 21 as follows: (i) For heaters and boilers with a capacity greater than 100 mmBTU/hr (HHV), install or continue to operate NOX, CO and oxygen CEMs; and (ii) For heaters and boilers with a capacity of less than or equal to 100 mmBTU/hr (HHV), conduct an initial NOX, CO and oxygen performance test. The results of this testing shall be reported based upon the average of three (3) one hour testing periods. | Y | U110, OS Summary, Refs. # 20 and 21 2/25/2011 - pg. 366/504 | The owner or operator shall install, calibrate, maintain and operate a continuous monitoring system for measuring oxygen emissions. [40 CFR 60.45(a)]; The owner or operator shall install, calibrate, maintain and operate a continuous monitoring system for measuring NOx and CO emissions. [40 CFR 60.45(a)]; Monitored by continuous emission monitor continuously, based on a 30 day rolling average. [40 CFR 60.45(a)].
| 30 | Sunoco shall maintain and operate a fuel gas CEMS in accordance with the requirements of 40 C.F.R. §§ 60.11, 60.13 and Part 60 Appendix A, and the applicable performance specification test of 40 C.F.R. Part 60 Appendices B and F. This CEMS will be used to demonstrate compliance with the NSPS SO2 emission limit. | Y | U110, OS Summary, Ref. # 39 2/25/2011 - pg. 371/504 | All continuous monitoring systems or monitoring devices shall be installed such that representative measurements of emissions or process parameters from the affected facility are obtained. Procedures for location of continuous monitoring systems contained in the applicable Performance Specifications of Appendix B of 40 CFR Part 60 shall be used. [40 CFR 60.13(f)]