## Rapid Assessment Tool
GENERAL
Assessor's name: | [5 empty] | Date:
Address: | [5 empty] | PIN #
Year built: |  | pre-1900 | pre-1930 | pre-1950 | pre-1978 | post-1978
Occupied: |  | Yes | No
Approx. size:
Number of stories: |  | 1 | 1 ½ | 2 | 3 | more
Number of bedrooms: |  | 1 | 2 | 3 | 4 | 5+
Number of bathrooms: |  | 1 | 2 | 3 | 4
SITE OBSERVATIONS & HAZARDS
Is the structure currently secured to prevent unwanted entry? |  |  | Fully | Partly | No
Is there room around the structure to serve as staging area? |  |  | Yes | No
Presence of exterior trash? |  |  | No Trash | Limited Trash (Scattered Debris) | Significant Trash (Piles of Trash) | Large Appliances/ Bulky Furniture | Impassable/Entry Restricted
Presence of interior trash? |  |  | No Trash | Limited Trash (Scattered Debris on Floors) | Significant Trash (Piles of Trash) | Large Appliances/ Bulky Furniture | Impassable/Entry Restricted
Were any of the following observed on-site? |  |  | Tires | Abandoned cars | Graffiti | Signs of Drug-Use | Containers of Chemicals / Oil
If observed, how many tires are present?
Were hazards present on-site? |  |  | Dogs | Bees/Wasps | Excessive Dumping | Excessive Mold | Basement Flooding
Is structural evaluation recommended? (Collapse, partial collapse, or building off foundation) |  |  | Yes | No
DAMAGE & DETERIORATION
Major cracking of brick, wood rotting: | [5 empty] | Yes | No
Broken or missing windows: | [5 empty] | Yes | No
Missing brick and siding: | [5 empty] | Yes | No
Roof damage: |  |  | Small open hole | Large open hole(s) | Portion of roof missing | Significant portion or entire roof missing
Evidence of major fire damage: |  |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
Evidence of major water damage: |  |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
Are gutters/downspout operable to control water? | [5 empty] | Yes | No
MATERIALS INVENTORY
Roof type: |  |  | Flat | Pitched
Siding type: | Brick |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
| Wood |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
| Stone |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
| Vinyl/Synthetic |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
| Aluminum |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
| Other: ______________ Specify: |  | 1 (little) | 2 | 3 | 4 | 5 (lots)
Wood flooring (number of rooms): -Do not count rooms with glued overlayer. |  |  | 1 | 2 | 3 | 4 | Specify:
Have additional layers of flooring been adhered to the wood in the past? |  |  | Yes | No
Are dimensional ceiling or floor joists observed? (can be viewed from basement or attic) |  |  | Yes | No
Dimensional lumber larger than 4x4: |  |  | Yes | No
Are walls plaster or drywall? (total should equal 100%) |  |  | Plaster | Partly (< 25%) | Some (25-50%) | Mostly (50-99%) | All (100%)
|  |  | Drywall | Partly (< 25%) | Some (25-50%) | Mostly (50-99%) | All (100%)
| Crown moulding |  | None | Some | A Lot
| Casing around doors and windows (number of rooms) |  | 1 | 2 | 3 | 4 | Specify:
| Baseboard moulding (number of rooms) |  | 1 | 2 | 3 | 4 | Specify:
| Chair railing moulding (number of rooms) |  | 1 | 2 | 3 | 4 | Specify:
Foundation: |  |  | Monolithic concrete | Concrete block | Combination, specify:
Basement: |  |  | Yes | No | Partial
SPECIAL CONSIDERATION FOR ARCHITECTURAL FEATURES
Interior: | Is a fire place mantel present and intact? |  | Yes |  | Decorative architectural wrought iron |  | Yes
| Stair treads/railings |  | Yes |  | Lighting fixtures |  | Yes
| Other architectural woodwork (cornices, etc.) |  | Yes |  | Radiators |  | Yes
| Interior stone details (counter, fireplace) |  | Yes |  | Registers |  | Yes
| Stained / leaded glass |  | Yes |  | Sinks |  | Yes
| Solid wood doors |  | Yes |  | Claw foot tub |  | Yes
|  | Door hardware | Yes |  |  | 1st floor | 2nd floor
| Wood framed windows |  | Yes |  | Old appliances (oven, refrigerator, etc.) |  | Yes
| Built-in wood cabinetry |  | Yes |  | Countertops |  | Yes
Exterior: | Exterior stone details (cornerstones, window sills, walkways, etc.) |  | Yes
| Iron gates/fencing |  | Yes
| Metal roofing |  | Yes
ADDITIONAL COMMENTS & NOTES
Deconstruction Rapid Assessment Tool for Structures
City name and/or seal. This is an opportunity for your organization to use this base form, customize it for your needs, and brand it accordingly.