EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                     Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   918867.   932181.  1002998.  1082657.  1190768.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      19631.    46566.    34404.    22787.    26678.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       938498.   978747.  1037402.  1105444.  1217446.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 723109.   808532.   878717.   950425.  1042804.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     20032.    47516.    35106.    23252.    27223.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                743141.   856048.   913823.   973677.  1070027.

3. Reserve Margin Annual [%]               26.29     14.33     13.52     13.53     13.78

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3952385.  4388267.  4772434.  5167982.  5675608.

Inter-Region Transmission [GWh]     -10166.    -9371.    -8238.    -7977.    -8647.

Pumping & Storage Losses [GWh]       13357.    15368.    15547.    16733.    19092.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3928862.  4363528.  4748648.  5143272.  5647869.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3928862.  4363528.  4748648.  5143272.  5647869.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3928862.  4363528.  4748648.  5143272.  5647869.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3928862.  4363528.  4748648.  5143272.  5647869.

Less T&D Losses [GWh]               301763.   335148.   364728.   395038.   433794.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3627099.  4028380.  4383920.  4748234.  5214075.

Capacity Avoided Costs [US$/kW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                      1.97     12.40     33.82     46.98     43.38

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27267.    32665.    91738.   139239.   229894.

Scrubbed Coal                  2          56938.    54238.    52703.    51110.    50875.

Unscrubbed Coal_NOx            3          48577.    44281.    42753.    42512.    41427.

Unscrubbed Coal                4         121611.   103626.    96888.    91432.    84045.

Oil/Gas Steam                  5          88682.    86472.    86472.    86460.    85997.

Oil/Gas Steam_Nox              6          10847.     5138.     5138.     5138.     5138.

Nuclear                        7          99087.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         132826.   132826.   141865.   147271.   148081.

IGCC                          10            612.      612.      612.      612.      612.

Turbine                       11         130301.   131630.   133817.   160167.   176786.

Biomass                       12           1347.     1482.     1550.     1588.     1588.

Geothermal                    13           2943.     3086.     3223.     3223.     3223.

Landfill Gas                  14            502.      670.      858.     1003.     1532.

Wind                          15           5078.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.

Solar                         17            413.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3992.     3992.     3992.     3992.     3805.

Cgn_Gas                       23          42371.    42371.    42248.    42248.    42235.

Cgn_Oil                       24           1069.     1069.     1069.     1069.     1069.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      138.      138.      138.      138.

Rep.O/G-CC                    35              0.    11519.    11519.    11542.    11542.

Rep.Coal-IGCC                 36              0.      244.      244.      244.      244.

Ret.Scrubber                  37           4055.     4713.     3856.     5244.     5097.

Ret.ExistSCR & Scrub          38            697.     4645.     6093.     6329.     7392.

Ret.ExistSNCR & Scrub         39              0.      139.      186.      186.      186.

Ret.SCR                       40          26967.    36979.    39114.    42102.    45185.

Ret.ExistScrub & SCR          41          15523.    17797.    19209.    20588.    20588.

Ret.SNCR                      42             97.     1738.     2622.     3671.     8062.

Ret.ExistScrub & SNCR         43            176.      601.      725.      938.     1173.

Ret.SCR+Scrb                  44            174.     5649.    10146.    10147.    10392.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     2160.     2160.     2160.     2160.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            760.      760.      760.      760.     3370.

CC Early Retirement           71           2135.     2135.     2258.     2258.     3920.

O/G Early Retirement          72          31099.    31099.    31099.    31099.    31563.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    983362.   997095.  1068326.  1148187.  1261033.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.     5398.    59073.    47501.    90655.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.        0.     9039.     5407.     2459.

IGCC                          10              0.        0.        0.        0.        0.

Turbine                       11            491.     1329.     2187.    26350.    19229.

Biomass                       12              0.      135.       68.       38.        0.

Geothermal                    13              0.      143.      138.        0.        0.

Landfill Gas                  14              0.      168.      188.      146.      528.

Wind                          15              0.      624.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              0.        3.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      138.        0.        0.        0.

Rep.O/G-CC                    35              0.    11519.        0.       24.        0.

Rep.Coal-IGCC                 36              0.      244.        0.        0.        0.

Ret.Scrubber                  37           4055.     1147.     1688.     1389.       97.

Ret.ExistSCR & Scrub          38            697.     3948.     1448.      236.     1062.

Ret.ExistSNCR & Scrub         39              0.      139.       47.        0.        0.

Ret.SCR                       40          26967.    10868.     2465.     2988.     3083.

Ret.ExistScrub & SCR          41          15523.     2275.     1412.     1379.        0.

Ret.SNCR                      42             97.     1641.      884.     1049.     4391.

Ret.ExistScrub & SNCR         43            176.      425.      124.      213.      235.

Ret.SCR+Scrb                  44            174.     5474.     4498.        1.      245.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     2160.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            760.        0.        0.        0.     2610.

CC Early Retirement           71           2135.        0.      123.        0.     1662.

O/G Early Retirement          72          31099.        0.        0.        0.      464.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     82175.    47777.    83839.    87050.   126720.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         201822.   242931.   683074.  1036946.  1702634.

Scrubbed Coal                  2         409791.   400916.   390073.   376595.   363657.

Unscrubbed Coal_NOx            3         346372.   323509.   314105.   312104.   301673.

Unscrubbed Coal                4         796262.   731096.   698020.   659276.   596225.

Oil/Gas Steam                  5          36258.    55632.    28933.    22496.    13882.

Oil/Gas Steam_Nox              6          26397.     2723.     1416.     1160.      333.

Nuclear                        7         785779.   790910.   792019.   786984.   775818.

Hydro                          8         269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         474863.   641793.   611364.   631980.   535277.

IGCC                          10           4702.     4702.     4702.     4702.     4702.

Turbine                       11          16285.    30396.    33512.    65351.    78878.

Biomass                       12           8888.     9895.    11371.    10441.    11910.

Geothermal                    13          22429.    23518.    24571.    24571.    24571.

Landfill Gas                  14           3958.     5206.     6609.     7694.    11627.

Wind                          15          14310.    16026.    17327.    18272.    18272.

Fuel Cell                     16             28.       45.       42.       40.       58.

Solar                         17            886.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.

Pump Storage                  20           9913.    11317.    11480.    12337.    13973.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          27897.    28780.    28488.    28761.    26105.

Cgn_Gas                       23          80761.   114626.   100141.    98440.    72558.

Cgn_Oil                       24           3162.     4452.     4605.     3818.     3115.

Cgn_Other                     25           7112.     7082.     7082.     6998.     7068.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.     1093.     1093.     1093.     1093.

Rep.O/G-CC                    35              0.    91225.    91225.    91411.    91411.

Rep.Coal-IGCC                 36              0.     1875.     1875.     1875.     1875.

Ret.Scrubber                  37          30197.    35098.    28566.    37288.    35934.

Ret.ExistSCR & Scrub          38           5190.    34585.    45370.    47130.    55039.

Ret.ExistSNCR & Scrub         39              0.     1035.     1386.     1386.     1386.

Ret.SCR                       40         189611.   265927.   283185.   307598.   325527.

Ret.ExistScrub & SCR          41         113652.   130591.   139430.   149088.   146262.

Ret.SNCR                      42            543.    12085.    17732.    25814.    55445.

Ret.ExistScrub & SNCR         43           1103.     4097.     5080.     6646.     8057.

Ret.SCR+Scrb                  44           1298.    42062.    75553.    75561.    77298.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     5769.     2277.     2277.     2093.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   3952385.  4388267.  4772434.  5167982.  5675608.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            689.      829.     2331.     3538.     5809.

Scrubbed Coal                  2           1398.     1368.     1331.     1285.     1241.

Unscrubbed Coal_NOx            3           1182.     1104.     1072.     1065.     1029.

Unscrubbed Coal                4           2717.     2494.     2382.     2249.     2034.

Oil/Gas Steam                  5            124.      190.       99.       77.       47.

Oil/Gas Steam_Nox              6             90.        9.        5.        4.        1.

Nuclear                        7           2681.     2699.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1620.     2190.     2086.     2156.     1826.

IGCC                          10             16.       16.       16.       16.       16.

Turbine                       11             56.      104.      114.      223.      269.

Biomass                       12             30.       34.       39.       36.       41.

Geothermal                    13             77.       80.       84.       84.       84.

Landfill Gas                  14             14.       18.       23.       26.       40.

Wind                          15             49.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.

Pump Storage                  20             34.       39.       39.       42.       48.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             95.       98.       97.       98.       89.

Cgn_Gas                       23            276.      391.      342.      336.      248.

Cgn_Oil                       24             11.       15.       16.       13.       11.

Cgn_Other                     25             24.       24.       24.       24.       24.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        4.        4.        4.        4.

Rep.O/G-CC                    35              0.      311.      311.      312.      312.

Rep.Coal-IGCC                 36              0.        6.        6.        6.        6.

Ret.Scrubber                  37            103.      120.       97.      127.      123.

Ret.ExistSCR & Scrub          38             18.      118.      155.      161.      188.

Ret.ExistSNCR & Scrub         39              0.        4.        5.        5.        5.

Ret.SCR                       40            647.      907.      966.     1050.     1111.

Ret.ExistScrub & SCR          41            388.      446.      476.      509.      499.

Ret.SNCR                      42              2.       41.       61.       88.      189.

Ret.ExistScrub & SNCR         43              4.       14.       17.       23.       27.

Ret.SCR+Scrb                  44              4.      144.      258.      258.      264.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.       20.        8.        8.        7.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13486.    14973.    16284.    17633.    19365.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.5      84.9      85.0      85.0      84.5

Scrubbed Coal                  2            82.2      84.4      84.5      84.1      81.6

Unscrubbed Coal_NOx            3            81.4      83.4      83.9      83.8      83.1

Unscrubbed Coal                4            74.7      80.5      82.2      82.3      81.0

Oil/Gas Steam                  5             4.7       7.3       3.8       3.0       1.8

Oil/Gas Steam_Nox              6            27.8       6.1       3.1       2.6       0.7

Nuclear                        7            90.5      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            40.8      55.2      49.2      49.0      41.3

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             1.4       2.6       2.9       4.7       5.1

Biomass                       12            75.3      76.2      83.8      75.1      85.6

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      88.8      87.9      87.5      86.7

Wind                          15            32.2      32.1      32.1      32.1      32.1

Fuel Cell                     16            18.6      30.3      28.0      27.1      39.2

Solar                         17            24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             5.0       5.7       5.7       6.2       7.0

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            79.8      82.3      81.5      82.2      78.3

Cgn_Gas                       23            21.8      30.9      27.1      26.6      19.6

Cgn_Oil                       24            33.8      47.5      49.2      40.8      33.3

Cgn_Other                     25            75.5      75.2      75.2      74.3      75.1

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A      90.4      90.4      90.4      90.4

Rep.O/G-CC                    35             N/A      90.4      90.4      90.4      90.4

Rep.Coal-IGCC                 36             N/A      87.7      87.7      87.7      87.7

Ret.Scrubber                  37            85.0      85.0      84.6      81.2      80.5

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A      85.0      85.0      85.0      85.0

Ret.SCR                       40            80.3      82.1      82.6      83.4      82.2

Ret.ExistScrub & SCR          41            83.6      83.8      82.9      82.7      81.1

Ret.SNCR                      42            63.9      79.4      77.2      80.3      78.5

Ret.ExistScrub & SNCR         43            71.6      77.8      80.0      80.9      78.4

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      84.9

Ret.SNCR+Scrub                45             N/A       N/A       N/A       N/A       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             N/A       N/A       N/A       N/A       N/A

Ret.O/G SNCR                  66             N/A      30.5      12.0      12.0      11.1

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             N/A       N/A       N/A       N/A       N/A

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     45.9      50.2      51.0      51.4      51.4

15. Total Annual Production Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6115.8    7030.1    8373.9    9593.5   11442.7

Fixed O&M                                28814.4   30066.8   33115.4   36163.0   38825.0

Fuel                                     46113.5   57161.8   60815.9   62304.5   66579.1

Capital                                    446.9    2770.6   13601.7   23343.1   39611.7

--------------------------------------  --------  --------  --------  --------  --------

Total                                    81490.7   97029.3  115906.9  131404.1  156458.4

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6115.8    7030.1    8373.9    9593.5   11442.7

Fixed O&M                                28814.4   30066.8   33115.4   36163.0   38825.0

Fuel Total                               44554.0   55612.6   58921.9   60380.4   63736.3

Fuel Elect.+Steam                        44554.0   55612.6   58921.9   60380.4   63736.3

Capital                                    446.9    2770.6   13601.7   23343.1   39611.7

--------------------------------------  --------  --------  --------  --------  --------

Total IPM                                79931.2   95480.1  114012.9  129480.0  153615.6

Total Elec.+Steam                        79931.2   95480.1  114012.9  129480.0  153615.6

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                          10463.2915     9747.1013     9225.9003     8957.4638     8957.0537

NOX    [MTons]                           3950.1111     4018.5880     4184.6388     4330.9658     4541.3103

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2262.2171     2511.3632     2851.0744     3158.7290     3620.3364

Carbon [MMTonnes]                         616.9683      684.9172      777.5658      861.4716      987.3645

MER    [Tons]                              54.0497       53.2642       53.6388       55.9157       58.2625

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                   21151.7  22458.7  26466.6  29547.0  34971.8

Oil                        0.9     10.2     14.4     10.4     10.2

Nuclear                 8282.4   8334.5   8347.1   8293.7   8175.7

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5047.6   7433.1   6768.8   7069.9   6136.1

Other                     72.7     84.9     99.0    109.8    149.2

None                     799.9    835.2    869.3    869.3    869.3

Biomass                  105.9    114.1    127.2    117.7    131.8

Grand Total            35461.1  39270.7  42692.5  46017.7  50444.1

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2010     2015     2020     2026

Coal                   24725.3  25134.0  29009.2  30692.1  35358.1

Oil                        2.8     34.2     50.2     37.1     38.1

Nuclear                 3354.4   3433.8   3397.3   3367.2   3319.3

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    17877.5  28393.4  28154.1  28032.4  27648.4

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  153.4    166.4    205.1    175.6    215.2

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                      1.17     1.12     1.10     1.04     1.01

Oil                       3.24     3.35     3.47     3.58     3.73

Nuclear                   0.40     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       3.54     3.82     4.16     3.97     4.51

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.45     1.46     1.61     1.49     1.63

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint                         Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1161E+05  9098.      8813.      8813.      8813.

-Emissions at Affected Plants [MTons]       0.1032E+05  9603.      9081.      8813.      8813.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              1288.      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000     -504.6     -268.1      0.000      0.000

Total [MTons]                                0.1161E+05  9098.      8813.      8813.      8813.

TBtu Consumed                                0.2165E+05 0.2301E+05 0.2673E+05 0.2975E+05 0.3511E+05

Rate - [lb/MMBtu]                            0.9535     0.8348     0.6795     0.5925     0.5020

TWh Generated                                 2183.      2318.      2746.      3094.      3719.

TWh Generated Qualifying                      2183.      2318.      2746.      3094.      3719.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             289.4      355.7      461.4      478.6      498.8

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  2

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.9289E+05 0.9118E+05 0.9185E+05 0.9647E+05 0.1011E+06

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.9289E+05 0.9118E+05 0.9185E+05 0.9647E+05 0.1011E+06

TBtu Consumed                                0.2097E+05 0.2227E+05 0.2628E+05 0.2936E+05 0.3478E+05

Rate - [lb/MMBtu]                            0.4430E-05 0.4094E-05 0.3495E-05 0.3286E-05 0.2908E-05

TWh Generated                                 2111.      2242.      2699.      3053.      3684.

TWh Generated Qualifying                      2111.      2242.      2699.      3053.      3684.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  3

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        44.67      7.289      7.289      6.926      7.516

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000     0.3629      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000    -0.2268

Total [MTons]                                 44.67      7.289      7.289      7.289      7.289

TBtu Consumed                                 42.58      41.87      41.87      41.21      42.28

Rate - [lb/MMBtu]                             2.098     0.3482     0.3482     0.3361     0.3555

TWh Generated                                 4.304      4.173      4.173      4.114      4.211

TWh Generated Qualifying                      4.304      4.173      4.173      4.114      4.211

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1017.      1317.      1264.      1764.

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   4

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        81.61      75.03      45.17      45.16      44.86

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.61      75.03      45.17      45.16      44.86

TBtu Consumed                                 210.8      214.4      200.8      200.7      199.4

Rate - [lb/MMBtu]                            0.7744     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 20.98      21.25      19.84      19.84      19.71

TWh Generated Qualifying                      20.98      21.25      19.84      19.84      19.71

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1066.      2056.      1462.      466.9

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   5

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        584.8      205.0      130.0      130.0      130.0

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 584.8      205.0      130.0      130.0      130.0

TBtu Consumed                                 842.9      875.1      877.0      881.6      875.4

Rate - [lb/MMBtu]                             1.387     0.4685     0.2965     0.2949     0.2970

TWh Generated                                 88.15      90.75      90.70      91.16      90.57

TWh Generated Qualifying                      88.15      90.75      90.70      91.16      90.57

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      801.7      1110.      748.8      776.8

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   6

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        81.08      18.82      20.21      19.46      19.43

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.08      18.82      20.21      19.46      19.43

TBtu Consumed                                 113.4      134.1      142.8      140.1      139.9

Rate - [lb/MMBtu]                             1.430     0.2807     0.2830     0.2778     0.2777

TWh Generated                                 11.80      14.45      15.38      15.06      15.04

TWh Generated Qualifying                      11.80      14.45      15.38      15.06      15.04

Constraint Shadow Price [US$/Ton]             0.000      683.5      1035.      335.1      311.7

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        111.2      111.2      102.6      23.62      23.62

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 111.2      111.2      102.6      23.62      23.62

TBtu Consumed                                 255.2      370.8      332.7      278.6      246.4

Rate - [lb/MMBtu]                            0.8712     0.5996     0.6170     0.1696     0.1917

TWh Generated                                 24.48      35.79      32.01      26.72      23.54

TWh Generated Qualifying                      24.48      35.79      32.01      26.72      23.54

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             198.7      44.86      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  8

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.0      503.0      503.0      503.0      503.0

-Emissions at Affected Plants [MTons]        503.0      503.0      503.0      503.0      503.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.0      503.0      503.0      503.0      503.0

TBtu Consumed                                 5751.      6557.      7115.      7555.      8107.

Rate - [lb/MMBtu]                            0.1749     0.1534     0.1414     0.1332     0.1241

TWh Generated                                 604.9      692.7      755.8      807.0      870.7

TWh Generated Qualifying                      604.9      692.7      755.8      807.0      870.7

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1972.      2073.      2155.      2219.      2456.

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10.  9

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      119.6      110.9      107.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      119.6      110.9      107.0

TBtu Consumed                                 1400.      1545.      1388.      1345.      1289.

Rate - [lb/MMBtu]                            0.1764     0.1599     0.1724     0.1648     0.1659

TWh Generated                                 143.0      158.2      139.9      137.1      131.8

TWh Generated Qualifying                      143.0      158.2      139.9      137.1      131.8

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1315.      3878.      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 10

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      1.851     0.5639

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      1.851     0.5639

TBtu Consumed                                 24.62      32.05      27.16      23.67      8.651

Rate - [lb/MMBtu]                            0.1758     0.1350     0.1593     0.1564     0.1304

TWh Generated                                 2.452      3.170      2.694      2.354     0.8678

TWh Generated Qualifying                      2.452      3.170      2.694      2.354     0.8678

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             196.5      6290.      774.0      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 192.0      204.3      188.7      190.3      189.7

Rate - [lb/MMBtu]                            0.4905E-01 0.4611E-01 0.4993E-01 0.4951E-01 0.4965E-01

TWh Generated                                 21.06      22.74      20.40      19.95      20.16

TWh Generated Qualifying                      21.06      22.74      20.40      19.95      20.16

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.3357E+05 0.6766E+05 0.5927E+05 0.4354E+05 0.3799E+05

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        36.35      46.50      43.71      36.71      33.54

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 36.35      46.50      43.71      36.71      33.54

TBtu Consumed                                 255.2      370.8      332.7      278.6      246.4

Rate - [lb/MMBtu]                            0.2848     0.2508     0.2628     0.2635     0.2722

TWh Generated                                 24.48      35.79      32.01      26.72      23.54

TWh Generated Qualifying                      24.48      35.79      32.01      26.72      23.54

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        10.22      17.67      8.993      6.910      5.808

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 10.22      17.67      8.993      6.910      5.808

TBtu Consumed                                 45.15      86.11      45.30      33.11      25.40

Rate - [lb/MMBtu]                            0.4526     0.4105     0.3970     0.4173     0.4573

TWh Generated                                 4.611      8.610      4.520      3.325      2.589

TWh Generated Qualifying                      4.611      8.610      4.520      3.325      2.589

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1300.      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      43.74      44.16      43.95      43.95

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000     0.2126      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000    -0.2126      0.000      0.000

Total [MTons]                                 43.95      43.95      43.95      43.95      43.95

TBtu Consumed                                 323.2      387.1      409.7      406.5      405.2

Rate - [lb/MMBtu]                            0.2719     0.2260     0.2156     0.2162     0.2169

TWh Generated                                 31.64      38.02      40.01      39.82      39.67

TWh Generated Qualifying                      31.64      38.02      40.01      39.82      39.67

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1158.      1227.      1592.      1976.      628.5

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        11.40      3.112      3.112      3.021      3.169

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.40      3.112      3.112      3.021      3.169

TBtu Consumed                                 42.58      41.87      41.87      41.21      42.28

Rate - [lb/MMBtu]                            0.5355     0.1486     0.1486     0.1466     0.1499

TWh Generated                                 4.304      4.173      4.173      4.114      4.211

TWh Generated Qualifying                      4.304      4.173      4.173      4.114      4.211

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  17

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        34.88      26.80      15.06      15.05      14.95

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 34.88      26.80      15.06      15.05      14.95

TBtu Consumed                                 210.8      214.4      200.8      200.7      199.4

Rate - [lb/MMBtu]                            0.3310     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 20.98      21.25      19.84      19.84      19.71

TWh Generated Qualifying                      20.98      21.25      19.84      19.84      19.71

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1376.      1848.      1906.      1906.

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  18

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        152.2      56.00      55.12      56.00      55.01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 152.2      56.00      55.12      56.00      55.01

TBtu Consumed                                 842.9      875.1      877.0      881.6      875.4

Rate - [lb/MMBtu]                            0.3611     0.1280     0.1257     0.1270     0.1257

TWh Generated                                 88.15      90.75      90.70      91.16      90.57

TWh Generated Qualifying                      88.15      90.75      90.70      91.16      90.57

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1432.      0.000      215.9      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 19

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  19

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        8.851      8.880      9.471      9.391      9.387

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 8.851      8.880      9.471      9.391      9.387

TBtu Consumed                                 113.4      134.1      142.8      140.1      139.9

Rate - [lb/MMBtu]                            0.1561     0.1324     0.1326     0.1341     0.1342

TWh Generated                                 11.80      14.45      15.38      15.06      15.04

TWh Generated Qualifying                      11.80      14.45      15.38      15.06      15.04

Constraint Shadow Price [US$/Ton]             2836.      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 20

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  20

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           871.9      945.3      851.3      850.7      836.9

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    871.9      945.3      851.3      850.7      836.9

TBtu Consumed                                 210.8      214.4      200.8      200.7      199.4

Rate - [lb/MMBtu]                            0.4137E-05 0.4409E-05 0.4240E-05 0.4239E-05 0.4198E-05

TWh Generated                                 20.98      21.25      19.84      19.84      19.71

TWh Generated Qualifying                      20.98      21.25      19.84      19.84      19.71

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 21

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        4371.      4298.      4298.      4230.      4340.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4371.      4298.      4298.      4230.      4340.

TBtu Consumed                                 42.58      41.87      41.87      41.21      42.28

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3

TWh Generated                                 4.304      4.173      4.173      4.114      4.211

TWh Generated Qualifying                      4.304      4.173      4.173      4.114      4.211

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 22

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  22

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1163E+05 0.1300E+05 0.1383E+05 0.1355E+05 0.1354E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      7.644      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000    -0.6139     -4.394

Total [MTons]                                0.1163E+05 0.1300E+05 0.1384E+05 0.1355E+05 0.1354E+05

TBtu Consumed                                 113.4      134.1      142.8      140.1      139.9

Rate - [lb/MMBtu]                             205.1      193.9      193.6      193.5      193.5

TWh Generated                                 11.80      14.45      15.38      15.06      15.04

TWh Generated Qualifying                      11.80      14.45      15.38      15.06      15.04

Constraint Shadow Price [US$/Ton]             0.000      11.44      4.564      5.920      8.265

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 23

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  23

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.155      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.155      1.155      1.155      1.155      1.155

TBtu Consumed                                 15.40      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.573      1.573      1.573      1.573      1.573

TWh Generated Qualifying                      1.573      1.573      1.573      1.573      1.573

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             2475.      2404.      4216.      0.000      2164.

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 24

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  24

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 25

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1475.      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 26

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 27

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 28

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 29

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      548.0      648.1      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 30

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.087

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.087

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.22

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.528

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.528

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 31

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 32

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 33

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000     0.3365E-01 0.3365E-01  0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000     0.3365E-01 0.3365E-01  0.000

TBtu Consumed                                 0.000      0.000     0.8411     0.8411      0.000

Rate - [lb/MMBtu]                             0.000      0.000     0.8000E-01 0.8000E-01  0.000

TWh Generated                                 0.000      0.000     0.7696E-01 0.7696E-01  0.000

TWh Generated Qualifying                      0.000      0.000     0.7696E-01 0.7696E-01  0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 34

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.1502E+05  0.000      0.000      4294.      4102.

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 35

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        4.558      4.558      4.558      4.558      4.558

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.558      4.558      4.558      4.558      4.558

TBtu Consumed                                 27.63      27.63      27.63      27.63      27.63

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.3300     0.3300

TWh Generated                                 2.823      2.823      2.823      2.823      2.823

TWh Generated Qualifying                      2.823      2.823      2.823      2.823      2.823

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1122.      1358.      0.000      1666.      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 36

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 37

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 38

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 39

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 40

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 41

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_c5c -- EPA Base Case for 2003 Analyses Using Alternate Assumptions for Natural Gas Price and Electricity Demand                                         Page: 10. 42

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.717      1.725      1.725      1.725      1.725

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.717      1.725      1.725      1.725      1.725

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.2487     0.2500     0.2500     0.2500     0.2500

TWh Generated                                 1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000