EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand    Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   919048.   930673.  1002834.  1082521.  1190482.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      19426.    45718.    33313.    21920.    26627.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       938475.   976392.  1036147.  1104441.  1217109.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 723109.   808532.   878717.   950425.  1042804.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     19823.    46651.    33993.    22368.    27170.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                742932.   855183.   912710.   972793.  1069974.

3. Reserve Margin Annual [%]               26.32     14.17     13.52     13.53     13.75

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3948399.  4387488.  4772509.  5165944.  5674526.

Inter-Region Transmission [GWh]      -9901.    -9295.    -8172.    -7594.    -8305.

Pumping & Storage Losses [GWh]        9636.    14664.    15689.    15078.    18352.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3928862.  4363528.  4748648.  5143272.  5647869.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3928862.  4363528.  4748648.  5143272.  5647869.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3928862.  4363528.  4748648.  5143272.  5647869.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3928862.  4363528.  4748648.  5143272.  5647869.

Less T&D Losses [GWh]               301763.   335148.   364728.   395038.   433794.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3627099.  4028380.  4383920.  4748234.  5214075.

Capacity Avoided Costs [US$/kW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                      1.90     13.42     33.80     48.07     42.92

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27476.    32898.    90029.   126100.   201379.

Scrubbed Coal                  2          57422.    45889.    41630.    41630.    41630.

Unscrubbed Coal_NOx            3          46394.    19826.    14862.     5417.     2351.

Unscrubbed Coal                4         129080.    80623.    54304.    44710.    27734.

Oil/Gas Steam                  5          89636.    84910.    84910.    84695.    84695.

Oil/Gas Steam_Nox              6          10914.     5196.     5196.     5196.     5196.

Nuclear                        7          99087.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         132850.   132850.   142872.   151322.   152793.

IGCC                          10            612.      612.      612.     5302.    19462.

Turbine                       11         130148.   130984.   133732.   162601.   177066.

Biomass                       12           1347.     1482.     1785.     1823.     1823.

Geothermal                    13           2943.     3086.     3223.     3223.     3223.

Landfill Gas                  14            502.      670.      858.     1003.     1532.

Wind                          15           5078.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.

Solar                         17            413.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3914.     3261.     2875.     2875.     2774.

Cgn_Gas                       23          42371.    42371.    42248.    42248.    42248.

Cgn_Oil                       24           1069.     1069.     1069.     1024.     1024.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      138.      138.      138.      138.

Rep.O/G-CC                    35              0.    11787.    11787.    12307.    12307.

Rep.Coal-IGCC                 36              0.        0.     3514.     6997.    12376.

Ret.Scrubber                  37           2232.    10521.     7321.    14364.    29016.

Ret.ExistSCR & Scrub          38           2834.    25628.    29477.    36957.    38361.

Ret.ExistSNCR & Scrub         39              0.     3217.     3736.     5503.     6486.

Ret.SCR                       40          21370.    27154.    40395.    18639.     6029.

Ret.ExistScrub & SCR          41          14231.    25591.    28234.    28234.    28234.

Ret.SNCR                      42              0.      669.     1510.     1510.     1510.

Ret.ExistScrub & SNCR         43            412.      585.      826.      826.      826.

Ret.SCR+Scrb                  44              0.    33405.    49081.    71025.    83418.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     4551.     4551.     4551.     4551.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            705.      705.      705.      705.     3371.

CC Early Retirement           71           2111.     2111.     2234.     2234.     2938.

O/G Early Retirement          72          30078.    30078.    30078.    30078.    30078.

Coal Early Retirement         73            916.      916.      916.      916.      916.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    983359.   995402.  1067978.  1147866.  1259196.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            209.     5422.    57131.    36071.    75279.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.        0.    10022.     8450.     2174.

IGCC                          10              0.        0.        0.     4690.    14160.

Turbine                       11            282.      836.     2749.    28868.    17131.

Biomass                       12              0.      135.      303.       38.        0.

Geothermal                    13              0.      143.      138.        0.        0.

Landfill Gas                  14              0.      168.      188.      146.      528.

Wind                          15              0.      624.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              0.        3.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      138.        0.        0.        0.

Rep.O/G-CC                    35              0.    11787.        0.      520.        0.

Rep.Coal-IGCC                 36              0.        0.     3514.     3483.     5378.

Ret.Scrubber                  37           2232.    11850.     5938.     7043.    14700.

Ret.ExistSCR & Scrub          38           2834.    22794.     3849.     7480.     1404.

Ret.ExistSNCR & Scrub         39              0.     3217.      519.     1767.      983.

Ret.SCR                       40          21370.    17337.    16801.        0.        0.

Ret.ExistScrub & SCR          41          14231.    11360.     2643.        0.        0.

Ret.SNCR                      42              0.      669.      841.        0.        0.

Ret.ExistScrub & SNCR         43            412.      173.      241.        0.        0.

Ret.SCR+Scrb                  44              0.    33405.    15676.    21944.    12393.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     4551.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            705.        0.        0.        0.     2666.

CC Early Retirement           71           2111.        0.      123.        0.      703.

O/G Early Retirement          72          30078.        0.        0.        0.        0.

Coal Early Retirement         73            916.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     75379.   124611.   121134.   120830.   147500.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         204407.   244664.   670338.   938747.  1489275.

Scrubbed Coal                  2         420833.   338301.   308328.   307723.   299195.

Unscrubbed Coal_NOx            3         326552.   142710.   106864.    38449.    16433.

Unscrubbed Coal                4         818958.   561484.   381996.   310474.   181511.

Oil/Gas Steam                  5          36228.    54280.    24413.    20030.    11673.

Oil/Gas Steam_Nox              6          26310.     3879.     1672.     1324.     1076.

Nuclear                        7         785586.   790720.   791824.   786799.   775648.

Hydro                          8         269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         493909.   648321.   622761.   680243.   559154.

IGCC                          10           4702.     4702.     4702.    40724.   149481.

Turbine                       11          16690.    28644.    33533.    69715.    80751.

Biomass                       12           8889.    10166.    13377.    12666.    13870.

Geothermal                    13          22429.    23518.    24571.    24571.    24571.

Landfill Gas                  14           3958.     5206.     6609.     7694.    11627.

Wind                          15          14310.    16026.    17327.    18272.    18272.

Fuel Cell                     16             28.       50.       65.       65.       60.

Solar                         17            886.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.

Pump Storage                  20           7187.    10807.    11592.    11125.    13473.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          27018.    23098.    20267.    20201.    19089.

Cgn_Gas                       23          93425.   120066.   106904.    99873.    85211.

Cgn_Oil                       24           3162.     4452.     4605.     2760.     1858.

Cgn_Other                     25           7173.     7004.     7118.     7082.     7082.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.     1093.     1093.     1093.     1093.

Rep.O/G-CC                    35              0.    93346.    93064.    96331.    95776.

Rep.Coal-IGCC                 36              0.        0.    26997.    53759.    95079.

Ret.Scrubber                  37          16621.    78345.    54312.   106757.   211724.

Ret.ExistSCR & Scrub          38          21102.   190726.   219494.   275085.   284568.

Ret.ExistSNCR & Scrub         39              0.    23887.    27751.    40627.    46704.

Ret.SCR                       40         146853.   187061.   287345.   129887.    40255.

Ret.ExistScrub & SCR          41         105313.   189440.   206853.   206695.   196864.

Ret.SNCR                      42              0.     3891.     9279.     9241.     8945.

Ret.ExistScrub & SNCR         43           2951.     3971.     5601.     5601.     5446.

Ret.SCR+Scrb                  44              0.   248741.   365421.   525751.   612523.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.    11616.     5703.     4730.     4388.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   3948399.  4387488.  4772509.  5165944.  5674526.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            697.      835.     2287.     3203.     5081.

Scrubbed Coal                  2           1436.     1154.     1052.     1050.     1021.

Unscrubbed Coal_NOx            3           1114.      487.      365.      131.       56.

Unscrubbed Coal                4           2794.     1916.     1303.     1059.      619.

Oil/Gas Steam                  5            124.      185.       83.       68.       40.

Oil/Gas Steam_Nox              6             90.       13.        6.        5.        4.

Nuclear                        7           2680.     2698.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1685.     2212.     2125.     2321.     1908.

IGCC                          10             16.       16.       16.      139.      510.

Turbine                       11             57.       98.      114.      238.      276.

Biomass                       12             30.       35.       46.       43.       47.

Geothermal                    13             77.       80.       84.       84.       84.

Landfill Gas                  14             14.       18.       23.       26.       40.

Wind                          15             49.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.

Pump Storage                  20             25.       37.       40.       38.       46.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             92.       79.       69.       69.       65.

Cgn_Gas                       23            319.      410.      365.      341.      291.

Cgn_Oil                       24             11.       15.       16.        9.        6.

Cgn_Other                     25             24.       24.       24.       24.       24.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        4.        4.        4.        4.

Rep.O/G-CC                    35              0.      318.      318.      329.      327.

Rep.Coal-IGCC                 36              0.        0.       92.      183.      324.

Ret.Scrubber                  37             57.      267.      185.      364.      722.

Ret.ExistSCR & Scrub          38             72.      651.      749.      939.      971.

Ret.ExistSNCR & Scrub         39              0.       82.       95.      139.      159.

Ret.SCR                       40            501.      638.      980.      443.      137.

Ret.ExistScrub & SCR          41            359.      646.      706.      705.      672.

Ret.SNCR                      42              0.       13.       32.       32.       31.

Ret.ExistScrub & SNCR         43             10.       14.       19.       19.       19.

Ret.SCR+Scrb                  44              0.      849.     1247.     1794.     2090.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.       40.       19.       16.       15.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13472.    14970.    16284.    17626.    19361.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.9      84.9      85.0      85.0      84.4

Scrubbed Coal                  2            83.7      84.2      84.5      84.4      82.0

Unscrubbed Coal_NOx            3            80.3      82.2      82.1      81.0      79.8

Unscrubbed Coal                4            72.4      79.5      80.3      79.3      74.7

Oil/Gas Steam                  5             4.6       7.3       3.3       2.7       1.6

Oil/Gas Steam_Nox              6            27.5       8.5       3.7       2.9       2.4

Nuclear                        7            90.5      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            42.4      55.7      49.8      51.3      41.8

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             1.5       2.5       2.9       4.9       5.2

Biomass                       12            75.3      78.3      85.6      79.3      86.8

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      88.8      87.9      87.5      86.7

Wind                          15            32.2      32.1      32.1      32.1      32.1

Fuel Cell                     16            18.6      33.7      43.3      43.3      40.1

Solar                         17            24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             3.6       5.4       5.8       5.6       6.7

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            78.8      80.8      80.5      80.2      78.5

Cgn_Gas                       23            25.2      32.3      28.9      27.0      23.0

Cgn_Oil                       24            33.8      47.5      49.2      30.8      20.7

Cgn_Other                     25            76.2      74.4      75.6      75.2      75.2

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A      90.4      90.4      90.4      90.4

Rep.O/G-CC                    35             N/A      90.4      90.1      89.4      88.8

Rep.Coal-IGCC                 36             N/A       N/A      87.7      87.7      87.7

Ret.Scrubber                  37            85.0      85.0      84.7      84.8      83.3

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      84.7

Ret.ExistSNCR & Scrub         39             N/A      84.8      84.8      84.3      82.2

Ret.SCR                       40            78.4      78.6      81.2      79.5      76.2

Ret.ExistScrub & SCR          41            84.5      84.5      83.6      83.6      79.6

Ret.SNCR                      42             N/A      66.4      70.1      69.9      67.6

Ret.ExistScrub & SNCR         43            81.9      77.5      77.4      77.4      75.3

Ret.SCR+Scrb                  44             N/A      85.0      85.0      84.5      83.8

Ret.SNCR+Scrub                45             N/A       N/A       N/A       N/A       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             N/A       N/A       N/A       N/A       N/A

Ret.O/G SNCR                  66             N/A      29.1      14.3      11.9      11.0

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             0.0       0.0       0.0       0.0       0.0

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     45.8      50.3      51.0      51.4      51.4

15. Total Annual Production Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6080.7    8183.3    9798.9   11267.7   13221.5

Fixed O&M                                28805.4   30537.4   33727.3   37092.3   40213.5

Fuel                                     47036.0   57066.6   60291.3   62550.3   67041.2

Capital                                    420.2    4277.6   15956.0   26514.2   44446.0

--------------------------------------  --------  --------  --------  --------  --------

Total                                    82342.2  100064.9  119773.5  137424.6  164922.2

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6080.7    8183.3    9798.9   11267.7   13221.5

Fixed O&M                                28805.4   30537.4   33727.3   37092.3   40213.5

Fuel Total                               45513.8   55528.1   58474.3   60467.3   63681.0

Fuel Elect.+Steam                        45513.8   55528.1   58474.3   60467.3   63681.0

Capital                                    420.2    4277.6   15956.0   26514.2   44446.0

--------------------------------------  --------  --------  --------  --------  --------

Total IPM                                80820.0   98526.4  117956.5  135341.5  161562.0

Total Elec.+Steam                        80820.0   98526.4  117956.5  135341.5  161562.0

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                           8480.7436     6015.0042     5514.8336     4169.7102     3285.4729

NOX    [MTons]                           3825.8244     2588.7808     2403.3894     2509.6876     2688.0023

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2245.1642     2507.4485     2841.5161     3124.4624     3581.3821

Carbon [MMTonnes]                         612.3175      683.8496      774.9589      852.1261      976.7406

MER    [Tons]                              50.2149       42.0853       41.5179       40.1703       43.3634

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                   20823.0  22357.1  26308.1  28982.7  34373.3

Oil                        0.8     10.2     14.4      2.1      0.0

Nuclear                 8280.4   8332.5   8345.1   8291.7   8173.9

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5289.1   7577.2   6908.5   7505.0   6459.8

Other                     73.0     84.9     99.2    109.8    149.2

None                     799.9    835.2    869.3    869.3    869.3

Biomass                  105.9    115.8    143.6    136.8    148.0

Grand Total            35372.2  39312.9  42688.3  45897.5  50173.5

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2010     2015     2020     2026

Coal                   24835.6  24519.5  27904.0  29290.0  34434.5

Oil                        2.8     34.2     50.2      7.4      0.0

Nuclear                 3353.5   3433.0   3396.5   3366.4   3318.6

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    18689.1  28909.7  28725.5  29689.1  29054.3

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  155.1    170.2    215.2    197.3    233.8

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                      1.19     1.10     1.06     1.01     1.00

Oil                       3.24     3.35     3.47     3.58     0.00

Nuclear                   0.40     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       3.53     3.82     4.16     3.96     4.50

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.46     1.47     1.50     1.44     1.58

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint                         Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1161E+05  6465.      3690.      3150.      3150.

-Emissions at Affected Plants [MTons]        8335.      5872.      5370.      4027.      3150.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              3273.      593.1      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000     -1680.     -877.0      0.000

Total [MTons]                                0.1161E+05  6465.      3690.      3150.      3150.

TBtu Consumed                                0.2131E+05 0.2296E+05 0.2658E+05 0.2919E+05 0.3453E+05

Rate - [lb/MMBtu]                            0.7822     0.5114     0.4041     0.2759     0.1825

TWh Generated                                 2150.      2306.      2726.      3034.      3676.

TWh Generated Qualifying                      2150.      2306.      2726.      3034.      3676.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             701.6      862.4      1119.      1451.      1914.

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  2

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.8527E+05 0.6882E+05 0.6757E+05 0.6498E+05 0.7129E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.8527E+05 0.6882E+05 0.6757E+05 0.6498E+05 0.7129E+05

TBtu Consumed                                0.2064E+05 0.2217E+05 0.2612E+05 0.2879E+05 0.3419E+05

Rate - [lb/MMBtu]                            0.4132E-05 0.3104E-05 0.2587E-05 0.2257E-05 0.2086E-05

TWh Generated                                 2078.      2223.      2678.      2992.      3639.

TWh Generated Qualifying                      2078.      2223.      2678.      2992.      3639.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  3

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        44.14      6.945      7.633      6.896      7.535

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000     0.3443      0.000     0.3929      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000    -0.3443      0.000    -0.2455

Total [MTons]                                 44.14      7.289      7.289      7.289      7.289

TBtu Consumed                                 41.62      41.25      42.50      41.16      42.32

Rate - [lb/MMBtu]                             2.121     0.3367     0.3592     0.3351     0.3561

TWh Generated                                 4.217      4.117      4.230      4.109      4.214

TWh Generated Qualifying                      4.217      4.117      4.230      4.109      4.214

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      201.5      261.4      90.65      126.6

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   4

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        81.58      74.10      46.28      46.28      44.40

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.58      74.10      46.28      46.28      44.40

TBtu Consumed                                 211.2      211.7      205.7      205.7      197.3

Rate - [lb/MMBtu]                            0.7726     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 21.02      21.02      20.29      20.29      19.52

TWh Generated Qualifying                      21.02      21.02      20.29      20.29      19.52

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      603.8      1001.      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   5

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        569.2      205.0      130.0      117.3      56.20

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 569.2      205.0      130.0      117.3      56.20

TBtu Consumed                                 822.6      883.0      887.9      902.5      892.1

Rate - [lb/MMBtu]                             1.384     0.4643     0.2928     0.2601     0.1260

TWh Generated                                 86.35      90.83      92.23      95.16      93.93

TWh Generated Qualifying                      86.35      90.83      92.23      95.16      93.93

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      121.3      266.5      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   6

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        72.86      17.45      20.22      9.264      8.148

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 72.86      17.45      20.22      9.264      8.148

TBtu Consumed                                 102.8      119.9      129.1      116.7      114.7

Rate - [lb/MMBtu]                             1.417     0.2912     0.3132     0.1587     0.1421

TWh Generated                                 10.81      12.50      13.48      11.94      11.69

TWh Generated Qualifying                      10.81      12.50      13.48      11.94      11.69

Constraint Shadow Price [US$/Ton]             0.000      0.000      66.64      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        25.97      25.97      25.97      23.62      23.62

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 25.97      25.97      25.97      23.62      23.62

TBtu Consumed                                 255.4      434.6      319.0      273.8      238.8

Rate - [lb/MMBtu]                            0.2034     0.1195     0.1629     0.1726     0.1978

TWh Generated                                 24.37      41.99      30.53      26.26      22.79

TWh Generated Qualifying                      24.37      41.99      30.53      26.26      22.79

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  8

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.2      1580.      1300.      1300.      1300.

-Emissions at Affected Plants [MTons]        503.2      1580.      1300.      1300.      1300.

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.2      1580.      1300.      1300.      1300.

TBtu Consumed                                 5662.     0.2276E+05 0.2423E+05 0.2538E+05 0.2654E+05

Rate - [lb/MMBtu]                            0.1777     0.1388     0.1073     0.1024     0.9797E-01

TWh Generated                                 598.4      2419.      2585.      2733.      2883.

TWh Generated Qualifying                      598.4      2419.      2585.      2733.      2883.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1941.      1321.      1592.      1540.      1519.

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10.  9

Environmental Measures Report

Constraint Name: NOx SIP CALL Dummy Constraint                      Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07

-Emissions at Affected Plants [MTons]        2071.      1112.      989.9      982.3      978.5

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2071.      1112.      989.9      982.3      978.5

TBtu Consumed                                0.1320E+05 0.1601E+05 0.1724E+05 0.1811E+05 0.1940E+05

Rate - [lb/MMBtu]                            0.3139     0.1389     0.1148     0.1085     0.1009

TWh Generated                                 1387.      1679.      1820.      1933.      2101.

TWh Generated Qualifying                      1387.      1679.      1820.      1933.      2101.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 10

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      63.60      60.28      53.24

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      63.60      60.28      53.24

TBtu Consumed                                 1362.      1633.      1412.      1351.      1248.

Rate - [lb/MMBtu]                            0.1814     0.1513     0.9006E-01 0.8923E-01 0.8531E-01

TWh Generated                                 139.4      169.4      145.1      138.8      128.2

TWh Generated Qualifying                      139.4      169.4      145.1      138.8      128.2

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1315.      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      1.760      1.540     0.9944

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      1.760      1.540     0.9944

TBtu Consumed                                 24.61      35.63      27.02      24.66      17.54

Rate - [lb/MMBtu]                            0.1759     0.1215     0.1303     0.1249     0.1134

TWh Generated                                 2.452      3.422      2.680      2.457      1.755

TWh Generated Qualifying                      2.452      3.422      2.680      2.457      1.755

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             423.4      5158.      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 185.2      211.2      185.1      190.6      188.5

Rate - [lb/MMBtu]                            0.5087E-01 0.4461E-01 0.5089E-01 0.4941E-01 0.4997E-01

TWh Generated                                 20.55      23.66      20.09      20.29      19.54

TWh Generated Qualifying                      20.55      23.66      20.09      20.29      19.54

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2847E+05 0.6895E+05 0.4902E+05 0.3764E+05 0.4133E+05

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        36.37      49.96      17.29      14.11      10.45

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 36.37      49.96      17.29      14.11      10.45

TBtu Consumed                                 255.4      434.6      319.0      273.8      238.8

Rate - [lb/MMBtu]                            0.2848     0.2299     0.1084     0.1031     0.8754E-01

TWh Generated                                 24.37      41.99      30.53      26.26      22.79

TWh Generated Qualifying                      24.37      41.99      30.53      26.26      22.79

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        9.886      17.67      12.19      7.201      6.683

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 9.886      17.67      12.19      7.201      6.683

TBtu Consumed                                 43.91      86.00      59.07      35.11      31.39

Rate - [lb/MMBtu]                            0.4502     0.4110     0.4126     0.4102     0.4257

TWh Generated                                 4.470      8.645      5.906      3.517      3.163

TWh Generated Qualifying                      4.470      8.645      5.906      3.517      3.163

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      726.4      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      29.82      28.13      29.52      27.59

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 43.95      29.82      28.13      29.52      27.59

TBtu Consumed                                 333.8      370.4      392.3      409.7      389.8

Rate - [lb/MMBtu]                            0.2634     0.1610     0.1434     0.1441     0.1415

TWh Generated                                 32.63      36.42      38.23      39.72      37.80

TWh Generated Qualifying                      32.63      36.42      38.23      39.72      37.80

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1227.      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        11.27      3.025      3.198      3.013      3.173

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.27      3.025      3.198      3.013      3.173

TBtu Consumed                                 41.62      41.25      42.50      41.16      42.32

Rate - [lb/MMBtu]                            0.5416     0.1467     0.1505     0.1464     0.1500

TWh Generated                                 4.217      4.117      4.230      4.109      4.214

TWh Generated Qualifying                      4.217      4.117      4.230      4.109      4.214

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  18

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        35.10      26.47      15.43      15.43      14.80

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 35.10      26.47      15.43      15.43      14.80

TBtu Consumed                                 211.2      211.7      205.7      205.7      197.3

Rate - [lb/MMBtu]                            0.3324     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 21.02      21.02      20.29      20.29      19.52

TWh Generated Qualifying                      21.02      21.02      20.29      20.29      19.52

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      55.17      388.6      195.0      387.2

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 19

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  19

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        148.4      56.00      47.28      43.16      41.86

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 148.4      56.00      47.28      43.16      41.86

TBtu Consumed                                 822.6      883.0      887.9      902.5      892.1

Rate - [lb/MMBtu]                            0.3609     0.1268     0.1065     0.9564E-01 0.9385E-01

TWh Generated                                 86.35      90.83      92.23      95.16      93.93

TWh Generated Qualifying                      86.35      90.83      92.23      95.16      93.93

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      102.6      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 20

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  20

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        8.107      9.175      5.837      5.603      5.555

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 8.107      9.175      5.837      5.603      5.555

TBtu Consumed                                 102.8      133.4      142.6      135.4      133.3

Rate - [lb/MMBtu]                            0.1577     0.1376     0.8184E-01 0.8277E-01 0.8334E-01

TWh Generated                                 10.81      14.37      15.35      14.53      14.27

TWh Generated Qualifying                      10.81      14.37      15.35      14.53      14.27

Constraint Shadow Price [US$/Ton]             934.9      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 21

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           873.3      940.1      888.6      888.6      940.0

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    873.3      940.1      888.6      888.6      940.0

TBtu Consumed                                 211.2      211.7      205.7      205.7      197.3

Rate - [lb/MMBtu]                            0.4135E-05 0.4440E-05 0.4320E-05 0.4320E-05 0.4764E-05

TWh Generated                                 21.02      21.02      20.29      20.29      19.52

TWh Generated Qualifying                      21.02      21.02      20.29      20.29      19.52

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 22

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  22

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        4272.      4234.      4362.      4225.      4344.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4272.      4234.      4362.      4225.      4344.

TBtu Consumed                                 41.62      41.25      42.50      41.16      42.32

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3

TWh Generated                                 4.217      4.117      4.230      4.109      4.214

TWh Generated Qualifying                      4.217      4.117      4.230      4.109      4.214

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 23

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  23

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1054E+05 0.1293E+05 0.1382E+05 0.1304E+05 0.1286E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      30.33      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000     -18.95

Total [MTons]                                0.1054E+05 0.1293E+05 0.1382E+05 0.1307E+05 0.1284E+05

TBtu Consumed                                 102.8      133.4      142.6      135.4      133.3

Rate - [lb/MMBtu]                             205.0      194.0      193.8      192.7      193.0

TWh Generated                                 10.81      14.37      15.35      14.53      14.27

TWh Generated Qualifying                      10.81      14.37      15.35      14.53      14.27

Constraint Shadow Price [US$/Ton]             0.000      11.14      3.291      3.842      5.364

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 24

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  24

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             2154.      3698.      3208.      3302.      3339.

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 25

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      1.155      1.155      1.155      1.155

TBtu Consumed                                 0.000      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                             0.000     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 0.000      1.573      1.573      1.564      1.564

TWh Generated Qualifying                      0.000      1.573      1.573      1.564      1.564

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1419.      1650.      3526.      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 26

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 27

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 28

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 29

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 30

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      934.1      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 31

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             3681.      0.000      0.000      79.69      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 32

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.090

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.090

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.37

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.547

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.547

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 33

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 34

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 35

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000     0.3365E-01 0.4152E-01 0.3365E-01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000     0.3365E-01 0.4152E-01 0.3365E-01

TBtu Consumed                                 0.000      0.000     0.8411      1.038     0.8411

Rate - [lb/MMBtu]                             0.000      0.000     0.8000E-01 0.8000E-01 0.8000E-01

TWh Generated                                 0.000      0.000     0.7696E-01 0.9497E-01 0.7696E-01

TWh Generated Qualifying                      0.000      0.000     0.7696E-01 0.9497E-01 0.7696E-01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 36

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.035     0.7592     0.7592     0.7592     0.7592

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.035     0.7592     0.7592     0.7592     0.7592

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.1500     0.1100     0.1100     0.1100     0.1100

TWh Generated                                 1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 37

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      4.558      4.558     0.6077     0.6077

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      4.558      4.558     0.6077     0.6077

TBtu Consumed                                 0.000      27.63      27.63      27.62      27.62

Rate - [lb/MMBtu]                             0.000     0.3300     0.3300     0.4400E-01 0.4400E-01

TWh Generated                                 0.000      2.823      2.823      2.807      2.807

TWh Generated Qualifying                      0.000      2.823      2.823      2.807      2.807

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1387.      491.1      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 38

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 39

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 40

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 41

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 42

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_HI_G+E_2003 -- Proposed IAQR Using Alternate Assumptions for Natural Gas Price and Electricity Demand                        Page: 10. 43

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  43

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000