{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["March","ESRI_ATTRIBUTES_SHEET","ESRI_FEATURES_SHEET","ESRI_STATUS_SHEET","ESRI_MAPINFO_SHEET"],"read":"whole","date_system":"1900"}

{"sheet":"March","index":0,"n_rows":126,"n_cols":21,"rows_kept":126}
["JUNE"]
[null,"Site ID #","propertyzip","sampledate","sampletime","Total THMs","Chloroform","Bromodichloromethane","Dibromochloromethane","Bromoform","Total Haloacetic acids (HAA5)","Total Haloacetic acids (HAA9)","Monochloroacetic acid","Dichloroacetic acid","Trichloroacetic acid","Bromodichloroacetic acid","Bromochloroacetic acid","Chlorodibromoacetic acid","Tribromoacetic acid","Dibromoacetic acid","Monobromoacetic acid"]
[null,1,"48505","2016-06-02","11:01:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":21.46,"d":"21.5"}},11.8,{"v":7.16,"d":"7.2"},2.5,"BDL",{"$f":"SUM(M3,N3,O3,T3,U3)","v":{"v":14.33,"d":"14.3"}},{"$f":"SUM(M3:U3)","v":{"v":19.270000000000003,"d":"19.3"}},"BDL",{"v":9.51,"d":"9.5"},{"v":4.82,"d":"4.8"},{"v":2.86,"d":"2.9"},{"v":2.08,"d":"2.1"},"BDL","BDL","BDL","BDL"]
[null,5,"48506","2016-06-02","10:33:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":17.8},{"v":9.77,"d":"9.8"},{"v":5.78,"d":"5.8"},{"v":2.25,"d":"2.3"},"BDL",{"v":10.600000000000001,"d":"10.6"},{"v":15.030000000000001,"d":"15.0"},"BDL",{"v":7.15,"d":"7.2"},{"v":3.45,"d":"3.5"},{"v":2.43,"d":"2.4"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,10,"48503","2016-06-02","09:49:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":19.85,"d":"19.9"}},11.2,{"v":6.32,"d":"6.3"},{"v":2.33,"d":"2.3"},"BDL",{"v":12.669999999999998,"d":"12.7"},{"v":17.31,"d":"17.3"},"BDL",{"v":8.45,"d":"8.5"},{"v":4.22,"d":"4.2"},{"v":2.64,"d":"2.6"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,9,"48503","2016-06-02","09:24:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":24.24,"d":"24.2"}},14.4,{"v":7.32,"d":"7.3"},{"v":2.52,"d":"2.5"},"BDL",{"v":14.41,"d":"14.4"},{"v":19.22,"d":"19.2"},"BDL",{"v":9.64,"d":"9.6"},{"v":4.77,"d":"4.8"},{"v":2.67,"d":"2.7"},{"v":2.14,"d":"2.1"},"BDL","BDL","BDL","BDL"]
[null,8,"48506","2016-06-01","16:49:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":20.46,"d":"20.5"}},11.9,{"v":6.29,"d":"6.3"},{"v":2.27,"d":"2.3"},"BDL",{"v":12.97,"d":"13.0"},{"v":17.66,"d":"17.7"},"BDL",{"v":8.56,"d":"8.6"},{"v":4.41,"d":"4.4"},{"v":2.67,"d":"2.7"},{"v":2.02,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,6,"48506","2016-06-01","16:15:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":27.18,"d":"27.2"}},16.9,{"v":7.82,"d":"7.8"},{"v":2.46,"d":"2.5"},"BDL",{"v":16.33,"d":"16.3"},{"v":21.479999999999997,"d":"21.5"},"BDL",10.7,{"v":5.63,"d":"5.6"},{"v":2.97,"d":"3.0"},{"v":2.18,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,4,"48503","2016-06-01","15:31:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":26.91,"d":"26.9"}},16.3,{"v":8.17,"d":"8.2"},{"v":2.44,"d":"2.4"},"BDL",{"v":16.86,"d":"16.9"},{"v":22.16,"d":"22.2"},"BDL",10.9,{"v":5.96,"d":"6.0"},{"v":3.05,"d":"3.1"},{"v":2.25,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,3,"48504","2016-06-01","15:01:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":26.78,"d":"26.8"}},16.1,{"v":8.18,"d":"8.2"},2.5,"BDL",{"v":19.130000000000003,"d":"19.1"},{"v":24.910000000000004,"d":"24.9"},"BDL",12.4,{"v":6.73,"d":"6.7"},{"v":3.41,"d":"3.4"},{"v":2.37,"d":"2.4"},"BDL","BDL","BDL","BDL"]
[null,2,"48505","2016-06-01","14:26:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":31.88,"d":"31.9"}},20.4,9.1,{"v":2.38,"d":"2.4"},"BDL",{"v":20.03,"d":"20.0"},{"v":26.020000000000003,"d":"26.0"},"BDL",12.9,{"v":7.13,"d":"7.1"},3.6,{"v":2.39,"d":"2.4"},"BDL","BDL","BDL","BDL"]
[null,7,"48506","2016-06-01","13:09:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":26.21,"d":"26.2"}},15.9,{"v":7.88,"d":"7.9"},{"v":2.43,"d":"2.4"},"BDL",{"v":15.129999999999999,"d":"15.1"},{"v":19.99,"d":"20.0"},"BDL",{"v":9.77,"d":"9.8"},{"v":5.36,"d":"5.4"},{"v":2.86,"d":"2.9"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,21,"48505","2016-06-01","11:11:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":27.540000000000003,"d":"27.5"}},15.9,{"v":8.77,"d":"8.8"},{"v":2.87,"d":"2.9"},"BDL",{"v":16.15,"d":"16.2"},{"v":21.509999999999998,"d":"21.5"},"BDL",10.4,{"v":5.75,"d":"5.8"},{"v":3.07,"d":"3.1"},{"v":2.29,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,24,"48505","2016-06-01","10:40:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":24.95,"d":"25.0"}},{"v":14,"d":"14.0"},{"v":8.08,"d":"8.1"},{"v":2.87,"d":"2.9"},"BDL",{"v":14,"d":"14.0"},{"v":19.130000000000003,"d":"19.1"},"BDL",{"v":9.11,"d":"9.1"},{"v":4.89,"d":"4.9"},{"v":2.92,"d":"2.9"},{"v":2.21,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,23,"48505","2016-06-01","10:03:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":43.56,"d":"43.6"}},29.4,11.1,{"v":3.06,"d":"3.1"},"BDL",{"v":19.09,"d":"19.1"},{"v":24.95,"d":"25.0"},"BDL",12.1,{"v":6.99,"d":"7.0"},{"v":3.55,"d":"3.6"},{"v":2.31,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,22,"48506","2016-06-01","09:40:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":25.439999999999998,"d":"25.4"}},14.6,{"v":8.03,"d":"8.0"},{"v":2.81,"d":"2.8"},"BDL",{"v":13.57,"d":"13.6"},{"v":18.46,"d":"18.5"},"BDL",{"v":8.87,"d":"8.9"},4.7,{"v":2.71,"d":"2.7"},{"v":2.18,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,20,"48504","2016-06-01","09:06:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":39,"d":"39.0"}},25.5,10.5,{"v":3,"d":"3.0"},"BDL",{"v":23.14,"d":"23.1"},{"v":29.06,"d":"29.1"},"BDL",15.5,{"v":7.64,"d":"7.6"},{"v":3.33,"d":"3.3"},{"v":2.59,"d":"2.6"},"BDL","BDL","BDL","BDL"]
[null,14,"48507","2016-05-31","15:20:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":39.099999999999994,"d":"39.1"}},26.1,10.2,2.8,"BDL",{"v":19.65,"d":"19.7"},{"v":25.689999999999998,"d":"25.7"},"BDL",12.6,{"v":7.05,"d":"7.1"},3.5,{"v":2.54,"d":"2.5"},"BDL","BDL","BDL","BDL"]
[null,13,"48507","2016-05-31","14:31:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":33.31,"d":"33.3"}},20.7,{"v":9.66,"d":"9.7"},{"v":2.95,"d":"3.0"},"BDL",{"v":19.42,"d":"19.4"},{"v":25.540000000000003,"d":"25.5"},"BDL",12.4,{"v":7.02,"d":"7.0"},{"v":3.64,"d":"3.6"},{"v":2.48,"d":"2.5"},"BDL","BDL","BDL","BDL"]
[null,19,"48504","2016-05-31","13:55:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":39.25,"d":"39.3"}},25.5,10.8,{"v":2.95,"d":"3.0"},"BDL",20.4,{"v":23.72,"d":"23.7"},"BDL",{"v":13,"d":"13.0"},7.4,{"v":3.32,"d":"3.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,18,"48505","2016-05-31","13:18:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":32.25,"d":"32.3"}},19.3,{"v":9.88,"d":"9.9"},{"v":3.07,"d":"3.1"},"BDL",{"v":16.41,"d":"16.4"},{"v":19.76,"d":"19.8"},"BDL",9.9,{"v":6.51,"d":"6.5"},{"v":3.35,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,17,"48504","2016-05-31","11:51:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":37.1},24.6,{"v":9.52,"d":"9.5"},{"v":2.98,"d":"3.0"},"BDL",{"v":22.95,"d":"23.0"},{"v":29.619999999999997,"d":"29.6"},"BDL",15.4,{"v":7.55,"d":"7.6"},{"v":3.81,"d":"3.8"},{"v":2.86,"d":"2.9"},"BDL","BDL","BDL","BDL"]
[null,16,"48503","2016-05-31","11:19:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":35.66,"d":"35.7"}},23.2,{"v":9.71,"d":"9.7"},{"v":2.75,"d":"2.8"},"BDL",{"v":21.009999999999998,"d":"21.0"},{"v":27.33,"d":"27.3"},"BDL",13.7,{"v":7.31,"d":"7.3"},{"v":3.75,"d":"3.8"},{"v":2.57,"d":"2.6"},"BDL","BDL","BDL","BDL"]
[null,15,"48507","2016-05-31","10:44:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":31.83,"d":"31.8"}},{"v":20,"d":"20.0"},{"v":9.22,"d":"9.2"},{"v":2.61,"d":"2.6"},"BDL",{"v":18.72,"d":"18.7"},{"v":24.49,"d":"24.5"},"BDL",11.7,{"v":7.02,"d":"7.0"},{"v":3.57,"d":"3.6"},2.2,"BDL","BDL","BDL","BDL"]
[null,12,"48507","2016-05-31","09:53:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":30.009999999999998,"d":"30.0"}},{"v":19,"d":"19.0"},{"v":8.58,"d":"8.6"},{"v":2.43,"d":"2.4"},"BDL",{"v":18.99,"d":"19.0"},{"v":24.74,"d":"24.7"},"BDL",11.7,{"v":7.29,"d":"7.3"},{"v":3.71,"d":"3.7"},{"v":2.04,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,11,"48507","2016-05-31","09:17:00",{"$f":"SUM(Table17[[#This Row],[Chloroform]:[Bromoform]])","v":{"v":30.590000000000003,"d":"30.6"}},19.1,{"v":8.92,"d":"8.9"},{"v":2.57,"d":"2.6"},"BDL",{"v":17.18,"d":"17.2"},{"v":20.52,"d":"20.5"},"BDL",10.3,{"v":6.88,"d":"6.9"},{"v":3.34,"d":"3.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,"Notes:"]
[null,"(1) All units in micrograms per liter (µg/L), also commonly called parts per billion (ppb) "]
[null,"(2) BDL = Below Detection Limit"]
[null,"(3) The analytical laboratory has not completed the quality assurance/quality control data package, therefore, June data is still considered preliminary."]
[]
["MAY"]
[null,"Site ID #","propertyzip","sampledate","sampletime","Total THMs","Chloroform","Bromodichloromethane","Dibromochloromethane","Bromoform","Total Haloacetic acids (HAA5)","Total Haloacetic acids (HAA9)","Monochloroacetic acid","Dichloroacetic acid","Trichloroacetic acid","Bromodichloroacetic acid","Bromochloroacetic acid","Chlorodibromoacetic acid","Tribromoacetic acid","Dibromoacetic acid","Monobromoacetic acid"]
[null,24,"48505","2016-05-04","11:11:00",{"$f":"SUM(G34:J34)","v":{"v":19.79,"d":"19.8"}},{"v":11,"d":"11.0"},{"v":6.55,"d":"6.6"},{"v":2.24,"d":"2.2"},"BDL",{"$f":"SUM(M34,N34,O34,T34,U34)","v":{"v":12.66,"d":"12.7"}},{"$f":"SUM(M34:U34)","v":{"v":14.92,"d":"14.9"}},"BDL",{"v":8.35,"d":"8.4"},{"v":4.31,"d":"4.3"},{"v":2.26,"d":"2.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,23,"48505","2016-05-04","10:41:00",{"v":23.91,"d":"23.9"},14.3,{"v":7.17,"d":"7.2"},{"v":2.44,"d":"2.4"},"BDL",{"v":13.61,"d":"13.6"},{"v":15.77,"d":"15.8"},"BDL",9.1,{"v":4.51,"d":"4.5"},{"v":2.16,"d":"2.2"},"BDL","BDL","BDL","BDL","BDL"]
[null,22,"48506","2016-05-04","10:00:00",{"v":19.29,"d":"19.3"},10.6,{"v":6.51,"d":"6.5"},{"v":2.18,"d":"2.2"},"BDL",12.8,{"v":17.29,"d":"17.3"},"BDL",{"v":8.47,"d":"8.5"},{"v":4.33,"d":"4.3"},{"v":2.29,"d":"2.3"},2.2,"BDL","BDL","BDL","BDL"]
[null,21,"48505","2016-05-04","09:37:00",{"v":20.02,"d":"20.0"},11.2,{"v":6.64,"d":"6.6"},{"v":2.18,"d":"2.2"},"BDL",{"v":13.02,"d":"13.0"},17.4,"BDL",8.7,{"v":4.32,"d":"4.3"},{"v":2.22,"d":"2.2"},{"v":2.16,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,20,"48504","2016-05-04","09:07:00",{"v":26.89,"d":"26.9"},16.7,{"v":7.89,"d":"7.9"},2.3,"BDL",{"v":18.16,"d":"18.2"},{"v":23.150000000000002,"d":"23.2"},"BDL",12.5,{"v":5.66,"d":"5.7"},{"v":2.64,"d":"2.6"},{"v":2.35,"d":"2.4"},"BDL","BDL","BDL","BDL"]
[null,14,"48507","2016-05-04","08:16:00",{"v":23.43,"d":"23.4"},13.8,7.3,{"v":2.33,"d":"2.3"},"BDL",{"v":14.690000000000001,"d":"14.7"},{"v":19.14,"d":"19.1"},"BDL",{"v":10,"d":"10.0"},{"v":4.69,"d":"4.7"},{"v":2.22,"d":"2.2"},{"v":2.23,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,13,"48507","2016-05-03","15:27:00",{"v":21.97,"d":"22.0"},12.8,{"v":6.91,"d":"6.9"},{"v":2.26,"d":"2.3"},"BDL",{"v":14.24,"d":"14.2"},{"v":18.91,"d":"18.9"},"BDL",9.5,{"v":4.74,"d":"4.7"},{"v":2.63,"d":"2.6"},{"v":2.04,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,19,"48504","2016-05-03","14:57:00",{"v":25.44,"d":"25.4"},15.5,{"v":7.53,"d":"7.5"},{"v":2.41,"d":"2.4"},"BDL",{"v":17.03,"d":"17.0"},{"v":21.95,"d":"22.0"},"BDL",11.6,{"v":5.43,"d":"5.4"},{"v":2.65,"d":"2.7"},{"v":2.27,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,17,"48504","2016-05-03","14:29:00",{"v":25.22,"d":"25.2"},15.2,{"v":7.64,"d":"7.6"},{"v":2.38,"d":"2.4"},"BDL",18.6,{"v":23.85,"d":"23.9"},"BDL",12.8,5.8,{"v":2.73,"d":"2.7"},{"v":2.52,"d":"2.5"},"BDL","BDL","BDL","BDL"]
[null,18,"48505","2016-05-03","13:53:00",{"v":21.97,"d":"22.0"},12.8,{"v":6.86,"d":"6.9"},{"v":2.31,"d":"2.3"},"BDL",{"v":13.860000000000001,"d":"13.9"},{"v":18.150000000000002,"d":"18.2"},"BDL",{"v":9.13,"d":"9.1"},{"v":4.73,"d":"4.7"},{"v":2.29,"d":"2.3"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,16,"48503","2016-05-03","11:35:00",{"v":20.490000000000002,"d":"20.5"},11.5,{"v":6.75,"d":"6.8"},{"v":2.24,"d":"2.2"},"BDL",{"v":14.969999999999999,"d":"15.0"},{"v":19.74,"d":"19.7"},"BDL",{"v":10,"d":"10.0"},{"v":4.97,"d":"5.0"},{"v":2.55,"d":"2.6"},{"v":2.22,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,15,"48507","2016-05-03","10:56:00",{"v":21.930000000000003,"d":"21.9"},12.3,{"v":7.28,"d":"7.3"},{"v":2.35,"d":"2.4"},"BDL",{"v":14.41,"d":"14.4"},{"v":18.97,"d":"19.0"},"BDL",{"v":9.61,"d":"9.6"},4.8,2.5,{"v":2.06,"d":"2.1"},"BDL","BDL","BDL","BDL"]
[null,12,"48507","2016-05-03","10:01:00",{"v":22.169999999999998,"d":"22.2"},{"v":13,"d":"13.0"},{"v":6.77,"d":"6.8"},2.4,"BDL",{"v":15.25,"d":"15.3"},{"v":18.16,"d":"18.2"},"BDL",10.2,{"v":5.05,"d":"5.1"},{"v":2.91,"d":"2.9"},"BDL","BDL","BDL","BDL","BDL"]
[null,11,"48507","2016-05-03","09:25:00",{"v":21.61,"d":"21.6"},12.5,{"v":6.85,"d":"6.9"},{"v":2.26,"d":"2.3"},"BDL",14.5,{"v":17.259999999999998,"d":"17.3"},"BDL",{"v":9.65,"d":"9.7"},{"v":4.85,"d":"4.9"},{"v":2.76,"d":"2.8"},"BDL","BDL","BDL","BDL","BDL"]
[null,10,"48503","2016-05-02","16:38:00",{"v":24.29,"d":"24.3"},14.9,{"v":7.05,"d":"7.1"},{"v":2.34,"d":"2.3"},"BDL",{"v":19.57,"d":"19.6"},{"v":25.37,"d":"25.4"},"BDL",13.4,{"v":6.17,"d":"6.2"},{"v":3.32,"d":"3.3"},{"v":2.48,"d":"2.5"},"BDL","BDL","BDL","BDL"]
[null,9,"48503","2016-05-02","16:17:00",{"v":19.599999999999998,"d":"19.6"},11.3,6.1,2.2,"BDL",{"v":14.24,"d":"14.2"},{"v":19.08,"d":"19.1"},"BDL",{"v":9.56,"d":"9.6"},{"v":4.68,"d":"4.7"},{"v":2.76,"d":"2.8"},{"v":2.08,"d":"2.1"},"BDL","BDL","BDL","BDL"]
[null,8,"48506","2016-05-02","15:40:00",{"v":18.53,"d":"18.5"},10.5,{"v":5.94,"d":"5.9"},{"v":2.09,"d":"2.1"},"BDL",{"v":13.05,"d":"13.1"},{"v":17.64,"d":"17.6"},"BDL",{"v":8.65,"d":"8.7"},4.4,{"v":2.59,"d":"2.6"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,7,"48506","2016-05-02","15:21:00",{"v":23.31,"d":"23.3"},14.2,{"v":6.77,"d":"6.8"},{"v":2.34,"d":"2.3"},"BDL",{"v":13.850000000000001,"d":"13.9"},{"v":16.55,"d":"16.6"},"BDL",{"v":9.24,"d":"9.2"},{"v":4.61,"d":"4.6"},2.7,"BDL","BDL","BDL","BDL","BDL"]
[null,6,"48506","2016-05-02","14:38:00",{"v":19.82,"d":"19.8"},11.3,{"v":6.32,"d":"6.3"},2.2,"BDL",{"v":13.870000000000001,"d":"13.9"},{"v":18.400000000000002,"d":"18.4"},"BDL",{"v":9.33,"d":"9.3"},{"v":4.54,"d":"4.5"},{"v":2.43,"d":"2.4"},2.1,"BDL","BDL","BDL","BDL"]
[null,5,"48506","2016-05-02","14:10:00",{"v":17.77,"d":"17.8"},{"v":9.82,"d":"9.8"},{"v":5.88,"d":"5.9"},{"v":2.07,"d":"2.1"},"BDL",{"v":12.98,"d":"13.0"},{"v":15.77,"d":"15.8"},"BDL",{"v":8.45,"d":"8.5"},{"v":4.53,"d":"4.5"},{"v":2.79,"d":"2.8"},"BDL","BDL","BDL","BDL","BDL"]
[null,4,"48503","2016-05-02","11:31:00",{"v":23.189999999999998,"d":"23.2"},13.7,7.1,{"v":2.39,"d":"2.4"},"BDL",{"v":14.18,"d":"14.2"},{"v":18.99,"d":"19.0"},"BDL",{"v":9.64,"d":"9.6"},{"v":4.54,"d":"4.5"},{"v":2.77,"d":"2.8"},{"v":2.04,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,3,"48504","2016-05-02","10:59:00",{"v":20.18,"d":"20.2"},11.4,{"v":6.43,"d":"6.4"},{"v":2.35,"d":"2.4"},"BDL",{"v":16.13,"d":"16.1"},{"v":20.759999999999998,"d":"20.8"},"BDL",11.5,{"v":4.63,"d":"4.6"},{"v":2.62,"d":"2.6"},{"v":2.01,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,2,"48505","2016-05-02","10:17:00",{"v":19.43,"d":"19.4"},{"v":11,"d":"11.0"},{"v":6.26,"d":"6.3"},{"v":2.17,"d":"2.2"},"BDL",{"v":14.27,"d":"14.3"},{"v":19.009999999999998,"d":"19.0"},"BDL",{"v":9.77,"d":"9.8"},4.5,{"v":2.72,"d":"2.7"},{"v":2.02,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,1,"48505","2016-05-02","09:43:00",{"v":18.840000000000003,"d":"18.8"},10.3,{"v":6.33,"d":"6.3"},{"v":2.21,"d":"2.2"},"BDL",{"v":12.870000000000001,"d":"12.9"},{"v":15.440000000000001,"d":"15.4"},"BDL",{"v":8.75,"d":"8.8"},{"v":4.12,"d":"4.1"},{"v":2.57,"d":"2.6"},"BDL","BDL","BDL","BDL","BDL"]
[null,"Notes:"]
[null,"(1) All units in micrograms per liter (µg/L), also commonly called parts per billion (ppb) "]
[null,"(2) BDL = Below Detection Limit"]
[null,"(3) 1,2-Dichloroethane-d4 surrogate recovery (for THM analysis) was above acceptance limits of 130% for sample Site ID# 24 (at 132%). The sample was rerun out of a second container resulting in a similar high bias for the surrogate.  Sample Site ID# 24 THMs may have a high bias."]
[null,"(4) The recovery for Monochloroacetic acid was just below the acceptance limit of 70% (at 67.5% and 65.4%, respectively) for the matrix spike and matrix spike duplicate for one of two MS/MSD samples in this run. The analysis was accepted based on acceptable ICV, CCV and HCV recoveries. Inadequate sample was available for reanalysis.  The result is generally inconsequential because monochloracetic acid is BDL in all analyses."]
[]
["APRIL"]
[null,"Site ID #","propertyzip","sampledate","sampletime","Total THMs","Chloroform","Bromodichloromethane","Dibromochloromethane","Bromoform","Total Haloacetic acids (HAA5)","Total Haloacetic acids (HAA9)","Monochloroacetic acid","Dichloroacetic acid","Trichloroacetic acid","Bromodichloroacetic acid","Bromochloroacetic acid","Chlorodibromoacetic acid","Tribromoacetic acid","Dibromoacetic acid","Monobromoacetic acid"]
[null,21,"48505","2016-04-06","11:45:00",{"$f":"SUM(G66:J66)","v":{"v":14.64,"d":"14.6"}},{"v":7.56,"d":"7.6"},{"v":5.04,"d":"5.0"},{"v":2.04,"d":"2.0"},"BDL",{"$f":"SUM(M66,N66,O66,T66,U66)","v":{"v":10.02,"d":"10.0"}},{"$f":"SUM(M66:U66)","v":{"v":12.25,"d":"12.3"}},"BDL",{"v":6.71,"d":"6.7"},{"v":3.31,"d":"3.3"},{"v":2.23,"d":"2.2"},"BDL","BDL","BDL","BDL","BDL"]
[null,24,"48505","2016-04-06","11:07:00",{"$f":"SUM(G67:J67)","v":{"v":14.799999999999999,"d":"14.8"}},{"v":7.21,"d":"7.2"},5.4,{"v":2.19,"d":"2.2"},"BDL",{"$f":"SUM(M67,N67,O67,T67,U67)","v":{"v":9.48,"d":"9.5"}},{"$f":"SUM(M67:U67)","v":{"v":11.530000000000001,"d":"11.5"}},"BDL",{"v":6.35,"d":"6.4"},{"v":3.13,"d":"3.1"},{"v":2.05,"d":"2.1"},"BDL","BDL","BDL","BDL","BDL"]
[null,23,"48505","2016-04-06","10:40:00",{"v":19.08,"d":"19.1"},10.3,{"v":6.27,"d":"6.3"},{"v":2.51,"d":"2.5"},"BDL",{"v":10.780000000000001,"d":"10.8"},{"v":13.120000000000001,"d":"13.1"},"BDL",{"v":7.28,"d":"7.3"},3.5,{"v":2.34,"d":"2.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,22,"48506","2016-04-06","09:40:00",{"v":16.13,"d":"16.1"},{"v":8.29,"d":"8.3"},{"v":5.61,"d":"5.6"},{"v":2.23,"d":"2.2"},"BDL",{"v":10.07,"d":"10.1"},{"v":12.45,"d":"12.5"},"BDL",{"v":6.68,"d":"6.7"},{"v":3.39,"d":"3.4"},{"v":2.38,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,20,"48504","2016-04-06","09:09:00",25.5,{"v":16,"d":"16.0"},{"v":7.04,"d":"7.0"},{"v":2.46,"d":"2.5"},"BDL",{"v":18.119999999999997,"d":"18.1"},{"v":23.159999999999997,"d":"23.2"},"BDL",12.7,{"v":5.42,"d":"5.4"},{"v":2.73,"d":"2.7"},{"v":2.31,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,17,"48504","2016-04-06","08:38:00",{"v":17.68,"d":"17.7"},{"v":9.87,"d":"9.9"},{"v":5.74,"d":"5.7"},{"v":2.07,"d":"2.1"},"BDL",{"v":12.100000000000001,"d":"12.1"},{"v":14.650000000000002,"d":"14.7"},"BDL",{"v":8.22,"d":"8.2"},{"v":3.88,"d":"3.9"},{"v":2.55,"d":"2.6"},"BDL","BDL","BDL","BDL","BDL"]
[null,15,"48507","2016-04-05","16:39:00",{"v":15.91,"d":"15.9"},{"v":8.22,"d":"8.2"},{"v":5.56,"d":"5.6"},{"v":2.13,"d":"2.1"},"BDL",{"v":11,"d":"11.0"},{"v":13.42,"d":"13.4"},"BDL",{"v":7.41,"d":"7.4"},{"v":3.59,"d":"3.6"},{"v":2.42,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,16,"48503","2016-04-05","15:57:00",{"v":25.37,"d":"25.4"},15.3,{"v":7.46,"d":"7.5"},{"v":2.61,"d":"2.6"},"BDL",{"v":10.25,"d":"10.3"},{"v":12.28,"d":"12.3"},"BDL",6.2,{"v":4.05,"d":"4.1"},{"v":2.03,"d":"2.0"},"BDL","BDL","BDL","BDL","BDL"]
[null,19,"48504","2016-04-05","15:09:00",{"v":22.189999999999998,"d":"22.2"},13.2,{"v":6.63,"d":"6.6"},{"v":2.36,"d":"2.4"},"BDL",{"v":16.48,"d":"16.5"},{"v":21.56,"d":"21.6"},"BDL",11.3,{"v":5.18,"d":"5.2"},2.9,{"v":2.18,"d":"2.2"},"BDL","BDL","BDL","BDL"]
[null,18,"48505","2016-04-05","13:25:00",{"v":23.43,"d":"23.4"},{"v":14,"d":"14.0"},{"v":7.06,"d":"7.1"},{"v":2.37,"d":"2.4"},"BDL",{"v":11.629999999999999,"d":"11.6"},{"v":14.059999999999999,"d":"14.1"},"BDL",{"v":7.41,"d":"7.4"},{"v":4.22,"d":"4.2"},{"v":2.43,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,14,"48507","2016-04-05","11:56:00",{"v":16.35,"d":"16.4"},{"v":8.81,"d":"8.8"},5.4,{"v":2.14,"d":"2.1"},"BDL",{"v":11.74,"d":"11.7"},{"v":14.27,"d":"14.3"},"BDL",{"v":7.97,"d":"8.0"},{"v":3.77,"d":"3.8"},{"v":2.53,"d":"2.5"},"BDL","BDL","BDL","BDL","BDL"]
[null,13,"48507","2016-04-05","11:01:00",15.3,{"v":8.05,"d":"8.1"},{"v":5.16,"d":"5.2"},{"v":2.09,"d":"2.1"},"BDL",{"v":11.24,"d":"11.2"},{"v":13.79,"d":"13.8"},"BDL",{"v":7.57,"d":"7.6"},{"v":3.67,"d":"3.7"},{"v":2.55,"d":"2.6"},"BDL","BDL","BDL","BDL","BDL"]
[null,12,"48507","2016-04-05","09:32:00",{"v":16.169999999999998,"d":"16.2"},{"v":8.87,"d":"8.9"},{"v":5.28,"d":"5.3"},{"v":2.02,"d":"2.0"},"BDL",{"v":11.91,"d":"11.9"},{"v":14.35,"d":"14.4"},"BDL",{"v":8.07,"d":"8.1"},{"v":3.84,"d":"3.8"},{"v":2.44,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,11,"48507","2016-04-05","08:51:00",{"v":15.01,"d":"15.0"},{"v":7.98,"d":"8.0"},{"v":5.04,"d":"5.0"},{"v":1.99,"d":"2.0"},"BDL",{"v":11.66,"d":"11.7"},{"v":14.07,"d":"14.1"},"BDL",{"v":7.96,"d":"8.0"},3.7,{"v":2.41,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,10,"48503","2016-04-04","16:21:00",{"v":26.29,"d":"26.3"},15.6,{"v":7.73,"d":"7.7"},{"v":2.96,"d":"3.0"},"BDL",{"v":17.84,"d":"17.8"},{"v":23.229999999999997,"d":"23.2"},"BDL",{"v":12,"d":"12.0"},{"v":5.84,"d":"5.8"},{"v":3.06,"d":"3.1"},{"v":2.33,"d":"2.3"},"BDL","BDL","BDL","BDL"]
[null,7,"48506","2016-04-04","14:10:00",{"v":20.299999999999997,"d":"20.3"},11.2,{"v":6.47,"d":"6.5"},{"v":2.63,"d":"2.6"},"BDL",{"v":10.11,"d":"10.1"},{"v":12.44,"d":"12.4"},"BDL",{"v":6.66,"d":"6.7"},{"v":3.45,"d":"3.5"},{"v":2.33,"d":"2.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,9,"48503","2016-04-04","15:52:00",{"v":18.869999999999997,"d":"18.9"},{"v":9.77,"d":"9.8"},{"v":6.43,"d":"6.4"},{"v":2.67,"d":"2.7"},"BDL",{"v":12.03,"d":"12.0"},{"v":14.629999999999999,"d":"14.6"},"BDL",{"v":8.11,"d":"8.1"},{"v":3.92,"d":"3.9"},2.6,"BDL","BDL","BDL","BDL","BDL"]
[null,8,"48506","2016-04-04","15:12:00",{"v":16.38,"d":"16.4"},{"v":8.29,"d":"8.3"},{"v":5.56,"d":"5.6"},{"v":2.53,"d":"2.5"},"BDL",{"v":9.76,"d":"9.8"},{"v":12.059999999999999,"d":"12.1"},"BDL",{"v":6.54,"d":"6.5"},{"v":3.22,"d":"3.2"},2.3,"BDL","BDL","BDL","BDL","BDL"]
[null,6,"48506","2016-04-04","13:36:00",16.6,{"v":8.37,"d":"8.4"},{"v":5.82,"d":"5.8"},{"v":2.41,"d":"2.4"},"BDL",{"v":10.45,"d":"10.5"},{"v":12.84,"d":"12.8"},"BDL",{"v":7,"d":"7.0"},{"v":3.45,"d":"3.5"},{"v":2.39,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,5,"48506","2016-04-04","13:01:00",{"v":14.170000000000002,"d":"14.2"},{"v":6.73,"d":"6.7"},{"v":5.14,"d":"5.1"},2.3,"BDL",{"v":9.61,"d":"9.6"},{"v":11.959999999999999,"d":"12.0"},"BDL",{"v":6.37,"d":"6.4"},{"v":3.24,"d":"3.2"},{"v":2.35,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,4,"48503","2016-04-04","12:28:00",{"v":17.22,"d":"17.2"},{"v":8.86,"d":"8.9"},{"v":5.85,"d":"5.9"},{"v":2.51,"d":"2.5"},"BDL",{"v":12.649999999999999,"d":"12.7"},{"v":17.36,"d":"17.4"},"BDL",{"v":8.51,"d":"8.5"},{"v":4.14,"d":"4.1"},{"v":2.71,"d":"2.7"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,3,"48504","2016-04-04","11:45:00",{"v":17.61,"d":"17.6"},{"v":9.03,"d":"9.0"},{"v":6.09,"d":"6.1"},{"v":2.49,"d":"2.5"},"BDL",{"v":12.23,"d":"12.2"},{"v":14.88,"d":"14.9"},"BDL",{"v":8.21,"d":"8.2"},{"v":4.02,"d":"4.0"},{"v":2.65,"d":"2.7"},"BDL","BDL","BDL","BDL","BDL"]
[null,2,"48505","2016-04-04","10:49:00",{"v":17.27,"d":"17.3"},{"v":8.88,"d":"8.9"},{"v":6.01,"d":"6.0"},{"v":2.38,"d":"2.4"},"BDL",{"v":12.36,"d":"12.4"},{"v":14.98,"d":"15.0"},"BDL",{"v":8.35,"d":"8.4"},{"v":4.01,"d":"4.0"},{"v":2.62,"d":"2.6"},"BDL","BDL","BDL","BDL","BDL"]
[null,1,"48505","2016-04-04","09:50:00",{"v":15.22,"d":"15.2"},{"v":7.49,"d":"7.5"},5.4,{"v":2.33,"d":"2.3"},"BDL",{"v":10.81,"d":"10.8"},{"v":13.23,"d":"13.2"},"BDL",{"v":7.29,"d":"7.3"},{"v":3.52,"d":"3.5"},{"v":2.42,"d":"2.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,"Notes:"]
[null,"(1) All units in micrograms per liter (µg/L), also commonly called parts per billion (ppb) "]
[null,"(2) BDL = Below Detection Limit"]
[null,"(3) The relative percent difference for Dichloroacetic acid between the primary and secondary confirmation columns was greater than 40% in all of the samples, possibly due to matrix interference. Method 552.3 does not specify a limit for data confirmation. Data results are reported from the primary column, using the secondary column only to confirm analyte detection."]
[]
["MARCH"]
[null,"Site ID #","propertyzip","sampledate","sampletime","Total THMs","Chloroform","Bromodichloromethane","Dibromochloromethane","Bromoform","Total Haloacetic acids (HAA5)","Total Haloacetic acids (HAA9)","Monochloroacetic acid","Dichloroacetic acid","Trichloroacetic acid","Bromodichloroacetic acid","Bromochloroacetic acid","Chlorodibromoacetic acid","Tribromoacetic acid","Dibromoacetic acid","Monobromoacetic acid"]
[null,21,"48505","2016-03-09","11:40:00",{"$f":"SUM(G97:J97)","v":{"v":12.020000000000001,"d":"12.0"}},{"v":5.66,"d":"5.7"},{"v":4.37,"d":"4.4"},{"v":1.99,"d":"2.0"},"BDL",{"$f":"SUM(M97,N97,O97,T97,U97)","v":{"v":9.32,"d":"9.3"}},{"$f":"SUM(M97:U97)","v":{"v":12.08,"d":"12.1"}},"BDL",{"v":6.07,"d":"6.1"},{"v":3.25,"d":"3.3"},{"v":2.76,"d":"2.8"},"BDL","BDL","BDL","BDL","BDL"]
[null,24,"48505","2016-03-09","11:09:00",{"v":12.030000000000001,"d":"12.0"},{"v":5.69,"d":"5.7"},{"v":4.38,"d":"4.4"},{"v":1.96,"d":"2.0"},"BDL",{"v":7.04,"d":"7.0"},{"$f":"SUM(M98:U98)","v":{"v":9.16,"d":"9.2"}},"BDL",{"v":4.53,"d":"4.5"},{"v":2.51,"d":"2.5"},{"v":2.12,"d":"2.1"},"BDL","BDL","BDL","BDL","BDL"]
[null,23,"48505","2016-03-09","09:59:00",{"v":13.860000000000001,"d":"13.9"},{"v":7.05,"d":"7.1"},{"v":4.73,"d":"4.7"},{"v":2.08,"d":"2.1"},"BDL",10.1,{"v":12.99,"d":"13.0"},"BDL",{"v":6.58,"d":"6.6"},{"v":3.52,"d":"3.5"},{"v":2.89,"d":"2.9"},"BDL","BDL","BDL","BDL","BDL"]
[null,22,"48506","2016-03-09","09:37:00",{"v":12.46,"d":"12.5"},{"v":5.88,"d":"5.9"},{"v":4.49,"d":"4.5"},{"v":2.09,"d":"2.1"},"BDL",9.3,{"v":14.09,"d":"14.1"},"BDL",{"v":5.98,"d":"6.0"},{"v":3.32,"d":"3.3"},{"v":2.79,"d":"2.8"},{"v":2,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,20,"48504","2016-03-09","09:04:00",{"$f":"SUM(G101:J101)","v":{"v":15.14,"d":"15.1"}},{"v":7.81,"d":"7.8"},{"v":5.17,"d":"5.2"},{"v":2.16,"d":"2.2"},"BDL",{"v":12.649999999999999,"d":"12.7"},{"v":15.689999999999998,"d":"15.7"},"BDL",8.6,{"v":4.05,"d":"4.1"},{"v":3.04,"d":"3.0"},"BDL","BDL","BDL","BDL","BDL"]
[null,19,"48504","2016-03-08","15:21:00",{"v":15.96,"d":"16.0"},{"v":8.71,"d":"8.7"},{"v":5.16,"d":"5.2"},{"v":2.09,"d":"2.1"},"BDL",{"v":14.84,"d":"14.8"},{"v":20.58,"d":"20.6"},"BDL",{"v":9.75,"d":"9.8"},{"v":5.09,"d":"5.1"},{"v":3.73,"d":"3.7"},{"v":2.01,"d":"2.0"},"BDL","BDL","BDL","BDL"]
[null,18,"48505","2016-03-08","14:43:00",{"v":17.25,"d":"17.3"},{"v":9.73,"d":"9.7"},{"v":5.36,"d":"5.4"},{"v":2.16,"d":"2.2"},"BDL",{"v":13.47,"d":"13.5"},{"v":16.93,"d":"16.9"},"BDL",8.4,{"v":5.07,"d":"5.1"},{"v":3.46,"d":"3.5"},"BDL","BDL","BDL","BDL","BDL"]
[null,17,"48504","2016-03-08","14:20:00",{"v":23.380000000000003,"d":"23.4"},13.9,{"v":6.79,"d":"6.8"},{"v":2.69,"d":"2.7"},"BDL",{"v":17.89,"d":"17.9"},{"v":24.16,"d":"24.2"},"BDL",11.8,{"v":6.09,"d":"6.1"},{"v":3.91,"d":"3.9"},{"v":2.36,"d":"2.4"},"BDL","BDL","BDL","BDL"]
[null,16,"48503","2016-03-08","13:42:00",{"v":23.669999999999998,"d":"23.7"},13.6,{"v":7.21,"d":"7.2"},{"v":2.86,"d":"2.9"},"BDL",{"v":6.31,"d":"6.3"},{"v":6.31,"d":"6.3"},"BDL",{"v":4.22,"d":"4.2"},{"v":2.09,"d":"2.1"},"BDL","BDL","BDL","BDL","BDL","BDL"]
[null,15,"48507","2016-03-08","12:51:00",{"v":13.82,"d":"13.8"},6.9,{"v":4.84,"d":"4.8"},{"v":2.08,"d":"2.1"},"BDL",{"v":12.71,"d":"12.7"},{"v":16.240000000000002,"d":"16.2"},"BDL",{"v":8.18,"d":"8.2"},{"v":4.53,"d":"4.5"},{"v":3.53,"d":"3.5"},"BDL","BDL","BDL","BDL","BDL"]
[null,14,"48507","2016-03-08","12:27:00",{"v":14.020000000000001,"d":"14.0"},7.2,{"v":4.76,"d":"4.8"},{"v":2.06,"d":"2.1"},"BDL",{"v":12.33,"d":"12.3"},{"v":15.77,"d":"15.8"},"BDL",{"v":7.94,"d":"7.9"},{"v":4.39,"d":"4.4"},{"v":3.44,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,13,"48507","2016-03-08","11:37:00",{"v":13.089999999999998,"d":"13.1"},{"v":6.64,"d":"6.6"},{"v":4.51,"d":"4.5"},{"v":1.94,"d":"1.9"},"BDL",{"v":11.95,"d":"12.0"},{"v":15.44,"d":"15.4"},"BDL",{"v":7.71,"d":"7.7"},{"v":4.24,"d":"4.2"},{"v":3.49,"d":"3.5"},"BDL","BDL","BDL","BDL","BDL"]
[null,12,"48507","2016-03-08","10:10:00",{"v":14.91,"d":"14.9"},{"v":8.03,"d":"8.0"},4.9,{"v":1.98,"d":"2.0"},"BDL",{"v":13.95,"d":"14.0"},{"v":17.48,"d":"17.5"},"BDL",{"v":9.15,"d":"9.2"},4.8,{"v":3.53,"d":"3.5"},"BDL","BDL","BDL","BDL","BDL"]
[null,11,"48507","2016-03-08","09:30:00",{"v":13.99,"d":"14.0"},{"v":7.45,"d":"7.5"},{"v":4.64,"d":"4.6"},1.9,"BDL",{"v":13.98,"d":"14.0"},{"v":17.69,"d":"17.7"},"BDL",{"v":8.98,"d":"9.0"},{"v":5,"d":"5.0"},{"v":3.71,"d":"3.7"},"BDL","BDL","BDL","BDL","BDL"]
[null,10,"48503","2016-03-07","15:14:00",{"$f":"SUM(G111:J111)","v":{"v":20.03,"d":"20.0"}},11.5,{"v":6.09,"d":"6.1"},{"v":2.44,"d":"2.4"},"BDL",{"$f":"SUM(M111,N111,O111,T111,U111)","v":{"v":19.73,"d":"19.7"}},{"$f":"SUM(M111:U111)","v":{"v":26.57,"d":"26.6"}},"BDL",12.9,{"v":6.83,"d":"6.8"},{"v":4.37,"d":"4.4"},{"v":2.47,"d":"2.5"},"BDL","BDL","BDL","BDL"]
[null,9,"48503","2016-03-07","14:27:00",{"$f":"SUM(G112:J112)","v":{"v":13.14,"d":"13.1"}},{"v":6.72,"d":"6.7"},{"v":4.54,"d":"4.5"},{"v":1.88,"d":"1.9"},"BDL",{"$f":"SUM(M112,N112,O112,T112,U112)","v":{"v":12,"d":"12.0"}},{"$f":"SUM(M112:U112)","v":{"v":15.370000000000001,"d":"15.4"}},"BDL",{"v":7.65,"d":"7.7"},{"v":4.35,"d":"4.4"},{"v":3.37,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,8,"48506","2016-03-07","13:40:00",{"v":13.97,"d":"14.0"},{"v":7.66,"d":"7.7"},{"v":4.48,"d":"4.5"},{"v":1.83,"d":"1.8"},"BDL",{"v":12.469999999999999,"d":"12.5"},{"v":15.829999999999998,"d":"15.8"},"BDL",8.1,{"v":4.37,"d":"4.4"},{"v":3.36,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,7,"48506","2016-03-07","12:54:00",{"v":14.46,"d":"14.5"},{"v":7.71,"d":"7.7"},{"v":4.82,"d":"4.8"},{"v":1.93,"d":"1.9"},"BDL",{"v":12.350000000000001,"d":"12.4"},{"v":15.55,"d":"15.6"},"BDL",{"v":7.82,"d":"7.8"},{"v":4.53,"d":"4.5"},3.2,"BDL","BDL","BDL","BDL","BDL"]
[null,6,"48506","2016-03-07","12:26:00",{"v":14.94,"d":"14.9"},{"v":8.02,"d":"8.0"},{"v":4.99,"d":"5.0"},{"v":1.93,"d":"1.9"},"BDL",{"v":13.719999999999999,"d":"13.7"},{"v":17.16,"d":"17.2"},"BDL",{"v":8.75,"d":"8.8"},{"v":4.97,"d":"5.0"},{"v":3.44,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,5,"48506","2016-03-07","11:15:00",{"v":11.650000000000002,"d":"11.7"},{"v":5.74,"d":"5.7"},{"v":4.11,"d":"4.1"},1.8,"BDL",{"v":10.780000000000001,"d":"10.8"},{"v":14.06,"d":"14.1"},"BDL",{"v":6.86,"d":"6.9"},{"v":3.92,"d":"3.9"},{"v":3.28,"d":"3.3"},"BDL","BDL","BDL","BDL","BDL"]
[null,4,"48503","2016-03-07","10:40:00",{"v":14.149999999999999,"d":"14.2"},7.3,{"v":4.81,"d":"4.8"},{"v":2.04,"d":"2.0"},"BDL",{"v":12.66,"d":"12.7"},15.9,"BDL",{"v":8.14,"d":"8.1"},{"v":4.52,"d":"4.5"},{"v":3.24,"d":"3.2"},"BDL","BDL","BDL","BDL","BDL"]
[null,3,"48504","2016-03-07","10:15:00",{"v":13.16,"d":"13.2"},{"v":6.83,"d":"6.8"},{"v":4.52,"d":"4.5"},{"v":1.81,"d":"1.8"},"BDL",{"v":13.04,"d":"13.0"},{"v":16.41,"d":"16.4"},"BDL",{"v":8.28,"d":"8.3"},{"v":4.76,"d":"4.8"},{"v":3.37,"d":"3.4"},"BDL","BDL","BDL","BDL","BDL"]
[null,2,"48505","2016-03-07","09:40:00",{"v":13.66,"d":"13.7"},{"v":7.08,"d":"7.1"},{"v":4.68,"d":"4.7"},1.9,"BDL",13.5,{"v":17.09,"d":"17.1"},"BDL",{"v":8.47,"d":"8.5"},{"v":5.03,"d":"5.0"},{"v":3.59,"d":"3.6"},"BDL","BDL","BDL","BDL","BDL"]
[null,1,"48505","2016-03-07","09:18:00",{"v":12.39,"d":"12.4"},{"v":6.22,"d":"6.2"},4.4,{"v":1.77,"d":"1.8"},"BDL",{"v":13.13,"d":"13.1"},{"v":16.73,"d":"16.7"},"BDL",{"v":8.31,"d":"8.3"},{"v":4.82,"d":"4.8"},3.6,"BDL","BDL","BDL","BDL","BDL"]
[null,"Notes:"]
[null,"(1) All units in micrograms per liter (µg/L), also commonly called parts per billion (ppb) "]
[null,"(2) BDL = Below Detection Limit"]
[null,"(3) Samples were received on ice at the lab, however the temperature of the samples was above receipt criteria of ≤ 6 °C. All other criteria met SOP requirements for sample receipt. Samples received on 3/8/2016 were 12.5 °C, samples received on 3/9.2016 were 10.2 °C, and samples received on 3/10/2016 were 9.2 °C. Samples were analyzed based on the cooler still having sufficient ice when received at the laboratory as per the method requirement."]
[null,"(4) The recoveries for Trichloroacetic acid, Chlorodibromoacetic acid and Tribromoacetic acid were outside of acceptance limits for Matrix Spike/Matrix Spike Duplicate. The analysis was accepted by the lab based on acceptable LCV, CCV and HCV recoveries.  Results for these analytes are suspect due to matrix effects."]
[null,"(5) The relative percent difference for Dichloroacetic acid between the primary and secondary confirmation columns was greater than 40% in all of the samples, possibly due to matrix interference. Method 552.3 does not specify a limit for data confirmation. Data results are reported from the primary column, using the secondary column only to confirm analyte detection."]

{"sheet":"ESRI_ATTRIBUTES_SHEET","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true}

{"sheet":"ESRI_FEATURES_SHEET","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true}

{"sheet":"ESRI_STATUS_SHEET","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true}

{"sheet":"ESRI_MAPINFO_SHEET","index":4,"n_rows":1,"n_cols":1,"rows_kept":1,"hidden":true}
["{\"extentsLinked\":false,\"version\":1,\"maps\":[]}"]