## GA Emissions
[7 empty] | From EPA Table | [6 empty] | Ratio | [6 empty] | 2017 SEMAP Emissions
State | Plant | ORIS ID | BOILER ID | Action | Approach | Inventory Year | CO Emissions | NH3 Emissions | NOx Emissions | PM10 Emissions | PM2.5 Emissions | SO2 Emissions | VOC Emissions | CO Ratio | NH3 Ratio | NOx Ratio | PM10 Ratio | PM2.5 Ratio | SO2 Ratio | VOC Ratio | CO Emissions | NH3 Emissions | NOx Emissions | PM10 Emissions | PM2.5 Emissions | SO2 Emissions | VOC Emissions
GA | Plant Bowen | 703 | 1BLR | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 174.6455 | 8.1021 | 723.8882 | 114.5765 | 114.2412 | 344.5958 | 16.279 | 1.9806 | 1.0092 | 2.2697 | 2.685 | 2.062 | 3.8103 | 2.5462 | 345.905 | 8.177 | 1643 | 307.642 | 235.562 | 1313 | 41.45
GA | Plant Bowen | 703 | 2BLR | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 175.8599 | 8.1585 | 765.8724 | 115.3732 | 115.0356 | 346.992 | 16.3922 | 1.9004 | 1.0029 | 1.9285 | 0.78779 | 0.69587 | 4.3747 | 2.4428 | 334.196 | 8.182 | 1477 | 90.89 | 80.05 | 1518 | 40.043
GA | Plant Bowen | 703 | 3BLR | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 215.061 | 9.9771 | 539.5296 | 141.0911 | 140.6783 | 424.3402 | 20.0462 | 1.9516 | 0.92522 | 3.0879 | 1.4681 | 1.174 | 5.201 | 2.5067 | 419.714 | 9.231 | 1666 | 207.13 | 165.16 | 2207 | 50.25
GA | Plant Bowen | 703 | 4BLR | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 207.1901 | 9.612 | 641.1387 | 135.9274 | 135.5297 | 408.81 | 19.3126 | 2.526 | 1.272 | 3.5453 | 2.0044 | 1.5989 | 5.2983 | 3.2493 | 523.353 | 12.226 | 2273 | 272.45 | 216.7 | 2166 | 62.753
GA | Plant Hammond | 708 | 1 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 210.8222 | 6.5724 | 693.5234 | 152.9348 | 112.1824 | 970.8477 | 13.3359 | 0.080556 | 0.0025866 | 0.26099 | 0.16458 | 0.18167 | 0.032961 | 0.15005 | 16.983 | 0.017 | 181 | 25.17 | 20.38 | 32 | 2.001
GA | Plant Hammond | 708 | 2 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 208.5245 | 6.5008 | 692.448 | 151.2679 | 110.9597 | 960.2665 | 13.1906 | 0.10363 | 0.0036919 | 0.40725 | 0.24784 | 0.26595 | 0.302 | 0.19385 | 21.61 | 0.024 | 282 | 37.49 | 29.51 | 290 | 2.557
GA | Plant Hammond | 708 | 3 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 207.0516 | 6.4549 | 667.8298 | 148.9782 | 109.6129 | 840.236 | 13.0974 | 0.10666 | 0.0034083 | 0.35638 | 0.2205 | 0.24212 | 0.070218 | 0.19676 | 22.085 | 0.022 | 238 | 32.85 | 26.54 | 59 | 2.577
GA | Plant Hammond | 708 | 4 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 939.5817 | 29.2916 | 2857.4901 | 721.192 | 511.8105 | 5026.765 | 59.4349 | 0.077332 | 0.0023898 | 0.27052 | 0.14895 | 0.17 | 0.028846 | 0.14539 | 72.66 | 0.07 | 773 | 107.42 | 87.01 | 145 | 8.641
GA | Plant Wansley | 6052 | 1 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 1153.887 | 45.7692 | 2042.5079 | 613.0124 | 610.7114 | 3490.9537 | 92.2763 | 0.25459 | 0.41423 | 0.58751 | 0.22039 | 0.18269 | 0.40848 | 0.3813 | 293.766 | 18.959 | 1200 | 135.101 | 111.571 | 1426 | 35.185
GA | Plant Wansley | 6052 | 2 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 1147.8717 | 45.5306 | 1865.2131 | 609.8166 | 607.5277 | 3472.7549 | 91.7953 | 0.18658 | 0.31921 | 0.43963 | 0.26131 | 0.20663 | 0.29285 | 0.27926 | 214.165 | 14.534 | 820 | 159.352 | 125.532 | 1017 | 25.635
GA | Plant Scherer | 6257 | 1 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 787.8733 | 36.7922 | 2890.0632 | 1117.6239 | 795.5455 | 2440.2654 | 73.914 | 1.0524 | 0.052864 | 1.2917 | 0.12703 | 0.10693 | 0.11023 | 1.3459 | 829.15 | 1.945 | 3733 | 141.97 | 85.07 | 269 | 99.479
GA | Plant Scherer | 6257 | 2 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 793.3666 | 37.0487 | 3090.6568 | 1125.4164 | 801.0924 | 2457.2798 | 74.4293 | 0.91457 | 0.045535 | 0.92925 | 0.12664 | 0.10335 | 0.080577 | 1.1692 | 725.586 | 1.687 | 2872 | 142.521 | 82.791 | 198 | 87.026
GA | Plant Scherer | 6257 | 3 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 812.7178 | 37.9524 | 2491.1423 | 1040.1267 | 886.1158 | 2517.216 | 76.2447 | 1.6306 | 0.045821 | 1.4387 | 0.13538 | 0.092415 | 0.10051 | 1.1634 | 1325.243 | 1.739 | 3584 | 140.81 | 81.89 | 253 | 88.7
GA | Plant Scherer | 6257 | 4 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 793.3336 | 37.0472 | 2983.0856 | 1015.3186 | 864.981 | 2457.1776 | 74.4262 | 1.2435 | 0.045483 | 1.0596 | 0.1091 | 0.074637 | 0.09808 | 1.0759 | 986.487 | 1.685 | 3161 | 110.77 | 64.56 | 241 | 80.075
GA | Plant Yates | 728 | Y6BR | Use GAEPD's submission for 2017 emissions | Scale 2011 emissions | 2011 | 177.388 | 2.7 | 2282.5 | 301.0341 | 213.9661 | 18878 | 23.06 | 0.44593 | 0 | 0.23373 | 0.11383 | 0.16015 | 0.0001433 | 0.12804 | 79.1028 | 0 | 533.484 | 34.2671 | 34.2671 | 2.7053 | 2.9526
GA | Plant Yates | 728 | Y7BR | Use GAEPD's submission for 2017 emissions | Scale 2011 emissions | 2011 | 126.477 | 1.913 | 1534.9 | 175.0443 | 133.8603 | 12512 | 16.629 | 0.62543 | 0 | 0.42248 | 0.19576 | 0.25599 | 0.00021622 | 0.17755 | 79.1028 | 0 | 648.459 | 34.2671 | 34.2671 | 2.7053 | 2.9526
GA | Plant McIntosh | 6124 | 1 | Use GAEPD's submission for 2017 emissions | Scale 2011 emissions | 2011 | 8.212 | 0.50984 | 257.53 | 7.951 | 4.697 | 691.6 | 0.976 | 4.4347 | 0 | 4.0617 | 4.9704 | 4.5178 | 3.2779 | 4.4447 | 36.418 | 0 | 1046 | 39.52 | 21.22 | 2267 | 4.338
GA | Mid-Georgia Co-gen | 55040 | 1 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 225.5753 | 17.6164 | 173.1397 | 0.85236 | 0.52242 | 0 | 5.6394 | 0.042558 | 0.020265 | 0.10396 | 6.7225 | 10.9683 | 0 | 0.41494 | 9.6 | 0.357 | 18 | 5.73 | 5.73 | 0 | 2.34
GA | Mid-Georgia Co-gen | 55040 | 2 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 225.5753 | 17.6164 | 173.1397 | 0.85236 | 0.52242 | 0 | 5.6394 | 0.047523 | 0.022593 | 0.10974 | 7.5437 | 12.3082 | 0 | 0.4575 | 10.72 | 0.398 | 19 | 6.43 | 6.43 | 0 | 2.58
GA | Mid-Georgia Co-gen | 55040 | ST1 | Use GAEPD's submission for 2017 emissions | Scale 2017 emissions | 2017 | 219.1911 | 17.1178 | 168.2395 | 0.82824 | 0.50763 | 0 | 5.4798 | 0.02564 | 0 | 0.023776 | 0.67613 | 1.1032 | 0 | 0.10219 | 5.62 | 0 | 4 | 0.56 | 0.56 | 0 | 0.56

## 2017 Emissions
Facility Name | ORIS Facility Code | ORIS Boiler ID | FACILITYSITEID | EMISSIONSUNITID | CO | NH3 | NOX | PM10-PRI | PM25-PRI | SO2 | VOC | Method
Bowen | 703 | 1BLR | 01500011 | SG01 | 345.905 | 8.177 | 1643 | 307.642 | 235.562 | 1313 | 41.45 | GAEPD 2014
Bowen | 703 | 2BLR | 01500011 | SG02 | 334.196 | 8.182 | 1477 | 90.89 | 80.05 | 1518 | 40.043 | GAEPD 2014
Bowen | 703 | 3BLR | 01500011 | SG03 | 419.714 | 9.231 | 1666 | 207.13 | 165.16 | 2207 | 50.25 | GAEPD 2014
Bowen | 703 | 4BLR | 01500011 | SG04 | 523.353 | 12.226 | 2273 | 272.45 | 216.7 | 2166 | 62.753 | GAEPD 2014
Hammond | 708 | 1 | 11500003 | SG01 | 16.983 | 0.017 | 181 | 25.17 | 20.38 | 32 | 2.001 | GAEPD 2014
Hammond | 708 | 2 | 11500003 | SG02 | 21.61 | 0.024 | 282 | 37.49 | 29.51 | 290 | 2.557 | GAEPD 2014
Hammond | 708 | 3 | 11500003 | SG03 | 22.085 | 0.022 | 238 | 32.85 | 26.54 | 59 | 2.577 | GAEPD 2014
Hammond | 708 | 4 | 11500003 | SG04 | 72.66 | 0.07 | 773 | 107.42 | 87.01 | 145 | 8.641 | GAEPD 2014
Wansley | 6052 | 1 | 14900001 | SG01 | 293.766 | 18.959 | 1200 | 135.101 | 111.571 | 1426 | 35.185 | GAEPD 2014
Wansley | 6052 | 2 | 14900001 | SG02 | 214.165 | 14.534 | 820 | 159.352 | 125.532 | 1017 | 25.635 | GAEPD 2014
McIntosh | 6124 | 1 | 10300003 | SG01 | 36.418 |  | 1046 | 39.52 | 21.22 | 2267 | 4.338 | GAEPD 2014
Scherer | 6257 | 1 | 20700008 | SG01 | 829.15 | 1.945 | 3733 | 141.97 | 85.07 | 269 | 99.479 | GAEPD 2014 for NOx; scaling 2014 SO2 emissions with ratio of NOx to SO2 of Unit2-4 in 2014; applied 50% reduction for PMs
Scherer | 6257 | 2 | 20700008 | SG02 | 725.586 | 1.687 | 2872 | 142.521 | 82.791 | 198 | 87.026 | GAEPD 2014
Scherer | 6257 | 3 | 20700008 | SG03 | 1325.243 | 1.739 | 3584 | 140.81 | 81.89 | 253 | 88.7 | GAEPD 2014
Scherer | 6257 | 4 | 20700008 | SG04 | 986.487 | 1.685 | 3161 | 110.77 | 64.56 | 241 | 80.075 | GAEPD 2014
Mid-Georgia Co-gen | 55040 | 1 | 15300042 | T1 | 9.6 | 0.357 | 18 | 5.73 | 5.73 | 1 | 2.34 | GAEPD 2014
Mid-Georgia Co-gen | 55040 | 2 | 15300042 | T2 | 10.72 | 0.398 | 19 | 6.43 | 6.43 | 1 | 2.58 | GAEPD 2014
Mid-Georgia Co-gen | 55040 | ST1 | 15300042 | B1 | 5.62 |  | 4 | 0.56 | 0.56 | 1 | 0.56 | GAEPD 2014
Yates | 728 | Y6BR | 07700001 | SG06 | 79.1028 |  | 533.484 | 34.2671 | 34.2671 | 2.7053 | 2.9526 | Calculated based on anticipated utilization (25%) and measured NOx, CO, and VOC rate
Yates | 728 | Y7BR | 07700001 | SG07 | 79.1028 |  | 648.459 | 34.2671 | 34.2671 | 2.7053 | 2.9526 | Calculated based on anticipated utilization (25%) and measured NOx, CO, and VOC rate
EPD's NODA Comment
EPD's draft 2014 Point Source EI
EPD's estimation (see the tab "Yates 6&7")

## EPD draft 2014
FACILITYSITEID | EMISSIONSUNITID | CO | NH3 | NOX | PM10-PRI | PM25-PRI | SO2 | VOC
01500011 | SG01 | 345.905 | 8.177 | 1642.601 | 307.642 | 235.562 | 1312.601 | 41.45
01500011 | SG02 | 334.196 | 8.182 | 1477.05 | 90.89 | 80.05 | 1518.32 | 40.043
01500011 | SG03 | 419.714 | 9.231 | 1665.69 | 207.13 | 165.16 | 2207.37 | 50.25
01500011 | SG04 | 523.353 | 12.226 | 2273.4 | 272.45 | 216.7 | 2165.7 | 62.753
11500003 | SG01 | 16.983 | 0.017 | 181.48 | 25.17 | 20.38 | 32.07 | 2.001
11500003 | SG02 | 21.61 | 0.024 | 282.23 | 37.49 | 29.51 | 290.2 | 2.557
11500003 | SG03 | 22.085 | 0.022 | 237.75 | 32.85 | 26.54 | 59.33 | 2.577
11500003 | SG04 | 72.66 | 0.07 | 772.94 | 107.42 | 87.01 | 144.93 | 8.641
14900001 | SG01 | 293.766 | 18.959 | 1200.401 | 135.101 | 111.571 | 1426.101 | 35.185
14900001 | SG02 | 214.165 | 14.534 | 820.091 | 159.352 | 125.532 | 1016.701 | 25.635
10300003 | SG01 | 36.418 |  | 1045.7 | 39.52 | 21.22 | 2266.8 | 4.338
20700008 | SG01 | 829.15 | 1.945 | 3732.6 | 283.94 | 170.14 | 4483.58 | 99.479
20700008 | SG02 | 725.586 | 1.687 | 2871.801 | 142.521 | 82.791 | 197.731 | 87.026
20700008 | SG03 | 1325.243 | 1.739 | 3584.37 | 140.81 | 81.89 | 252.73 | 88.7
20700008 | SG04 | 986.487 | 1.685 | 3160.5 | 110.77 | 64.56 | 241.48 | 80.075
15300042 | T1 | 9.6 | 0.357 | 18.3 | 5.73 | 5.73 | 0.6 | 2.34
15300042 | T2 | 10.72 | 0.398 | 18.6 | 6.43 | 6.43 | 0.5 | 2.58
15300042 | B1 | 5.62 |  | 4.2 | 0.56 | 0.56 | 0.67 | 0.56
07700001 | SG06
07700001 | SG07

## Yates 6&7
Facility | Unit | Capacity | Capacity Factor | MWh | mmBtu
Yates | 6 | 350 | 0.25 | 766500 | 9198000
Yates | 7 | 350 | 0.25 | 766500 | 9198000
Boiler-Gas, Tangential Fired
nominal_heat_rate (btu/kWh) | 12000 | from ERTAC UAF
nominal_heat_rate (mmBtu/MWh) | 12
Controlled NOx Rate (lbs/mmBtu) | 0.15 | from ERTAC Control File; it does not necessarily mean Yates 6&7 has controls.
from http://www3.epa.gov/ttn/chief/ap42/ch01/final/c01s04.pdf
*To convert from lb/10^6 scf to 1b/MMBtu, divide by 1,020
Species | EF (lb/10^6 scf) | EF (lb/mmBtu)
NOx (Tangential-Fired, Uncontrolled) | 170 | 0.16667 | Based on ERTAC info and actual rates derived from CAMD data, it looks like we need to use uncontrolled EF because controlled EF is about half of the uncontrolled.
CO (Tangential-Fired, Uncontrolled) | 24 | 0.023529 | Based on ERTAC info and actual rates derived from CAMD data, it looks like we need to use uncontrolled EF because controlled EF is about half of the uncontrolled.
CO2 | 120000 | 117.6471
Lead | 0.0005 | 4.902e-07
N2O(Uncontrolled) | 2.2 | 0.0021569
N2O(Controlled-low-NOx Burner) | 0.64 | 0.00062745
PM (Total) | 7.6 | 0.007451
PM (Condensable) | 5.7 | 0.0055882
PM (Filterable) | 1.9 | 0.0018627
SO2 | 0.6 | 0.00058824
TOC | 11 | 0.010784
Methan | 2.3 | 0.0022549
VOC | 5.5 | 0.0053922
| Unit 6 |  |  |  | Unit 7
| Final EF (lb/mmBtu) | Comment | TPY |  | Final EF (lb/mmBtu) | Comment | TPY
NOx (Tangential-Fired, Uncontrolled) | 0.116 | Averaged Data From 2015 CMAD | 533.484 | NOx (Tangential-Fired, Uncontrolled) | 0.141 | Averaged Data From 2015 CMAD | 648.459
CO | 0.0172 | Highest of May (Unit 7) and June (Unit 6) 2015 Test from Pierre | 79.1028 | CO (Tangential-Fired, Uncontrolled) | 0.0172 | Highest of May (Unit 7) and June (Unit 6) 2015 Test from Pierre | 79.1028
CO2 | 117.6471 |  | 541058.8235 | CO2 | 117.6471 |  | 541058.8235
Lead | 4.902e-07 |  | 0.0022544 | Lead | 4.902e-07 |  | 0.0022544
N2O(Uncontrolled) | 0.0021569 |  | 9.9194 | N2O(Uncontrolled) | 0.0021569 |  | 9.9194
N2O(Controlled-low-NOx Burner) | 0.00062745 |  | 2.8856 | N2O(Controlled-low-NOx Burner) | 0.00062745 |  | 2.8856
PM (Total) | 0.007451 |  | 34.2671 | PM (Total) | 0.007451 |  | 34.2671
PM (Condensable) | 0.0055882 |  | 25.7003 | PM (Condensable) | 0.0055882 |  | 25.7003
PM (Filterable) | 0.0018627 |  | 8.5668 | PM (Filterable) | 0.0018627 |  | 8.5668
SO2 | 0.00058824 |  | 2.7053 | SO2 | 0.00058824 |  | 2.7053
TOC | 0.010784 |  | 49.5971 | TOC | 0.010784 |  | 49.5971
Methan | 0.0022549 |  | 10.3703 | Methan | 0.0022549 |  | 10.3703
VOC | 0.000642 | Highest of May (Unit 7) and June (Unit 6) 2015 Test from Pierre | 2.9526 | VOC | 0.000642 | Highest of May (Unit 7) and June (Unit 6) 2015 Test from Pierre | 2.9526

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only