Writable Tables from WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities

October 2012

The worksheets provided in this document are writeable version of Tables 1-4, B-1, B-2, B-3, B-4, and B-5 from WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. These worksheets are designed for easy printing and use. Please refer to the full document (http://www.epa.gov/watersense/commercial/docs/watersense_at_work/files/assets/common/downloads/WaterSense-at-Work_FINAL_508c3.pdf) to learn more about how to implement water-efficient products, equipment, and practices in commercial and institutional facilities.

| Action Plan Water Use Reduction Opportunity Checklist |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Water Use Reduction Opportunity/Project | Reference Section |  |  | Already Implemented |  |  | Evaluate/ Consider |  |  | Not Applicable |
|  |  |  |  |  |  |  |  |  |  |  |
| Water Use Monitoring and Education |  |  |  |  |  |  |  |  |  |  |
| Read water meters and record monthly water use. | 2.2 |  |  |  |  |  |  |  |  |  |
| Install submeters on any major water-using equipment, systems, or processes. | 2.2 |  |  |  |  |  |  |  |  |  |
| Implement a leak detection and repair program. | 2.3 |  |  |  |  |  |  |  |  |  |
| Educate facility staff, building occupants, employees, and visitors on water management program goals and initiatives. | 2.4 |  |  |  |  |  |  |  |  |  |
| Review, understand, and utilize information in codes, standards, and voluntary programs for water efficiency. | 2.5 |  |  |  |  |  |  |  |  |  |
| Sanitary Fixtures and Equipment |  |  |  |  |  |  |  |  |  |  |
| Replace old tank-type toilets with WaterSense labeled models. | 3.2 |  |  |  |  |  |  |  |  |  |
| Replace old flushometer-valve toilets flushing greater than 1.6 gallons per flush (gpf) with high-efficiency models, and install retrofit dual-flush conversion devices on 1.6 gpf flushometer valve toilets. | 3.2 |  |  |  |  |  |  |  |  |  |
| Replace old flushing urinals with WaterSense labeled models. | 3.3 |  |  |  |  |  |  |  |  |  |
| Replace lavatory faucets or faucet aerators (for private use) with WaterSense labeled models and install 0.5 gallons per minute (gpm) faucets or aerators in public-use settings. | 3.4 |  |  |  |  |  |  |  |  |  |
| Replace old showerheads with WaterSense labeled models. | 3.5 |  |  |  |  |  |  |  |  |  |
| Wash only full loads of laundry. | 3.6 |  |  |  |  |  |  |  |  |  |
| Replace old single-load clothes washers with ENERGY STAR qualified models or consider the water factor when purchasing larger or more industrial-sized laundry machines. | 3.6 |  |  |  |  |  |  |  |  |  |
| Commercial Kitchen Equipment |  |  |  |  |  |  |  |  |  |  |
| Replace old ice machines with ENERGY STAR qualified models. | 4.2 |  |  |  |  |  |  |  |  |  |
| Replace old steam cookers with ENERGY STAR qualified models. | 4.4 |  |  |  |  |  |  |  |  |  |
| Load steam cookers, steam kettles, and combination ovens to capacity. | 4.3, 4.4, 4.5 |  |  |  |  |  |  |  |  |  |
| Switch to connectionless combination ovens, steam cookers, and steam kettles. | 4.3, 4.4, 4.5 |  |  |  |  |  |  |  |  |  |
| Replace old water-cooled wok stoves with a waterless model. | 4.6 |  |  |  |  |  |  |  |  |  |
| Install in-line flow restrictor to reduce dipper well flow rate to 0.3 gpm. | 4.7 |  |  |  |  |  |  |  |  |  |
| Replace existing pre-rinse spray valves with models that use 1.3 gpm or less. | 4.8 |  |  |  |  |  |  |  |  |  |
| Hand scrape food from dishes or install food strainers and compost food waste. | 4.9 |  |  |  |  |  |  |  |  |  |
| Load dishwashers to capacity. | 4.10 |  |  |  |  |  |  |  |  |  |
| Replace old dishwashers with ENERGY STAR qualified models. | 4.10 |  |  |  |  |  |  |  |  |  |
| Use a broom or mop instead of a water broom or high-pressure hose to clean floors. | 4.11 |  |  |  |  |  |  |  |  |  |
| Outdoor Water Use |  |  |  |  |  |  |  |  |  |  |
| Plant native or drought-tolerant species. | 5.2 |  |  |  |  |  |  |  |  |  |
| Use mulch around trees and plant beds. | 5.2 |  |  |  |  |  |  |  |  |  |
| Install WaterSense labeled weather-based irrigation controllers or consider irrigation controllers with rain or soil moisture sensors. | 5.3 |  |  |  |  |  |  |  |  |  |
| Use drip irrigation to water plant beds. | 5.3 |  |  |  |  |  |  |  |  |  |
| Ensure irrigation schedule is appropriate for climate, soil conditions, plant materials, grading, and season. | 5.3 |  |  |  |  |  |  |  |  |  |
| Have an irrigation professional certified by a WaterSense labeled program conduct an irrigation audit. | 5.3 |  |  |  |  |  |  |  |  |  |
| Check the position and location of spray heads to ensure that they are working properly and water is not being directed onto non-landscaped areas, such as sidewalks. | 5.3 |  |  |  |  |  |  |  |  |  |
| Use pool covers to control evaporation loss. | 5.4 |  |  |  |  |  |  |  |  |  |
| Maintain proper pool chemistry to limit pool cleaning and drainage events. | 5.4 |  |  |  |  |  |  |  |  |  |
| Use friction washing in vehicle washes and consider installing a water reclamation and reuse system. | 5.5 |  |  |  |  |  |  |  |  |  |
| Mechanical Systems |  |  |  |  |  |  |  |  |  |  |
| Eliminate single-pass cooling. | 6.2 |  |  |  |  |  |  |  |  |  |
| Professionally monitor cooling tower and boiler chemistry and maximize cycles of concentration. | 6.2, 6.5 |  |  |  |  |  |  |  |  |  |
| Install cooling tower meters and control systems to control chemical feed and blowdown based on conductivity. | 6.3 |  |  |  |  |  |  |  |  |  |
| Inspect chillers and air handler coils regularly and remove dirt and scale buildup. | 6.4 |  |  |  |  |  |  |  |  |  |
| Regularly check and maintain boilers, steam lines, and steam traps. | 6.5 |  |  |  |  |  |  |  |  |  |
| Laboratory and Medical Equipment |  |  |  |  |  |  |  |  |  |  |
| Use water purification only when necessary. | 7.2 |  |  |  |  |  |  |  |  |  |
| Turn off pumps when not in use. | 7.3 |  |  |  |  |  |  |  |  |  |
| Install thermostatically actuated valves to control the flow of cooling water for steam sterilizer condensate discharge. | 7.4 |  |  |  |  |  |  |  |  |  |
| Replace old steam sterilizers and vacuum pumps with newer models that do not use single-pass cooling or condensate discharge tempering water. | 7.3, 7.4 |  |  |  |  |  |  |  |  |  |
| Replace old fume hoods with a filtration system that does not require water (e.g., activated carbon). | 7.6 |  |  |  |  |  |  |  |  |  |
| Inspect and repair worn cage-and-rack washer valves and rinse nozzles. | 7.7 |  |  |  |  |  |  |  |  |  |
| Run glassware and cage-and-rack washers only when full. | 7.5, 7.7 |  |  |  |  |  |  |  |  |  |
| Consider converting from traditional film to digital X-ray equipment. | 7.8 |  |  |  |  |  |  |  |  |  |
| Onsite Alternative Water Use |  |  |  |  |  |  |  |  |  |  |
| Consider using onsite alternative water for irrigation, cooling tower make-up, toilet and urinal flushing, fume hood scrubbers, and other uses not requiring potable water. |  | 8.0 |  |  |  |  |  |  |  |  |

| Building Water Survey Worksheet |  |  |  |  |
| --- | --- | --- | --- | --- |
| Surveyed by: |  |  |  |  |
| Date: |  |  |  |  |
| General Information |  |  |  |  |
| Name of Building: | Address: |  |  |  |
| Building Contact | Phone: |  |  |  |
| Building Dimensions: | Building wastewater is currently: |  | Is recycled water currently used in any of the following areas? |  |
| Width: | Treated on site |  | Toilets |  |
| Length: | Connected to city water system |  | Urinals |  |
|  | Other |  | Cooling Towers |  |
|  |  |  | Irrigation |  |
| Number of Floors (height): |  |  |  |  |
| Building Occupancy Data |  |  |  |  |
| Average Number of Occupants: | Number of Women: |  | Number of Men: |  |
| Occupancy Schedule |  |  |  |  |
| Weekdays | From | a.m. | To | p.m. |
| Saturdays | From | a.m. | To | p.m. |
| Sundays | From | a.m. | To | p.m. |
| Holidays | From | a.m. | To | p.m. |

| List of Water Meters Worksheet |  |  |  |
| --- | --- | --- | --- |
| Water Account Numbers (for billing) | Meter Numbers | Size/Type of Meter | Meter Locations |

| Water Consumption History Worksheet |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Monthly Consumption by Billing Units: Thousands of Gallons or ccf1 (by water account number) |  |  |  |  |  |  |  |  |  |  |  |
|  | Indoor Uses |  |  |  |  |  | Landscape Uses |  |  |  |  |  |
| Month | Account # | Account # | Account # | Account # | Billed Days | Average GPWD2 | Account # | Account # | Account # | Account # | Billed Days | Average GPWD2 |
| January |  |  |  |  |  |  |  |  |  |  |  |  |
| February |  |  |  |  |  |  |  |  |  |  |  |  |
| March |  |  |  |  |  |  |  |  |  |  |  |  |
| April |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |
| June |  |  |  |  |  |  |  |  |  |  |  |  |
| July |  |  |  |  |  |  |  |  |  |  |  |  |
| August |  |  |  |  |  |  |  |  |  |  |  |  |
| September |  |  |  |  |  |  |  |  |  |  |  |  |
| October |  |  |  |  |  |  |  |  |  |  |  |  |
| November |  |  |  |  |  |  |  |  |  |  |  |  |
| December |  |  |  |  |  |  |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |  |  |  |  |  |  |
| Average |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 The abbreviation ccf represents 100 cubic feet, or roughly 748 gallons. |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 The abbreviation GPWD represents gallons per workday, assuming five days per week. |  |  |  |  |  |  |  |  |  |  |  |  |

| Existing Plumbing Equipment Worksheet |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Use Area | Location | Equipment | # of Units | Type | Mounting (floor/wall) | Make/Model | Average Flow Rate or Consumption | Average Uses per Week per Unit | Comments (leaks, control, etc.) |

| Water Use Inventory Worksheet |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Location | Flow (gallons per minute) | Operating Time (minutes per day) | Flow per Day (gallons per day) | Remarks |