## Sheet1
Year / Month | Comment/Change # | Comment Status | Commenter/Affiliation | Source of Comments (Docket ID, email, or other) | NEEDS Unique ID | Plant Name | Unit Number | State | Data Field of Interest | Current Value in NEEDS | Suggested Value | Commenter notes | Commenter documentation | EPA Notes
2020 Oct | Oct 2020 NEEDS Update: 1 | Do not accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 8223_B_1 | Springerville | 1 | Arizona | Operational Limit | --- | Coal units only operate seasonally starting in 2023 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet | Not enough information to treat it as a firm change yet
2020 Oct | Oct 2020 NEEDS Update: 2 | Do not accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 8223_B_1 | Springerville | 1 | Arizona | Retirement Year | 9999 | 2027 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet | Not enough information to treat it as a firm change yet
2020 Oct | Oct 2020 NEEDS Update: 3 | Do not accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 8223_B_2 | Springerville | 2 | Arizona | Operational Limit | --- | Coal units only operate seasonally starting in 2023 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet | Not enough information to treat it as a firm change yet
2020 Oct | Oct 2020 NEEDS Update: 4 | Do not accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 8223_B_2 | Springerville | 2 | Arizona | Retirement Year | 9999 | 2032 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet | Not enough information to treat it as a firm change yet
2020 Oct | Oct 2020 NEEDS Update: 5 | Accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 2451_B_1 | San Juan | 1 | New Mexico | Retirement Year | 9999 | 2022 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet
2020 Oct | Oct 2020 NEEDS Update: 6 | Accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 492_B_6 | Martin Drake | 6 | Colorado | Retirement Year | 9999 | 2022 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet; regulation in process to formalize this fall; https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/
2020 Oct | Oct 2020 NEEDS Update: 7 | Accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 492_B_7 | Martin Drake | 7 | Colorado | Retirement Year | 9999 | 2022 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet; regulation in process to formalize this fall; https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/
2020 Oct | Oct 2020 NEEDS Update: 8 | Do not accept comment | EPA/ICF | e-mail from Hames Beidler 7/6/20 | 8219_B_1 | Ray Nixon | 1 | Colorado | Retirement Year | 9999 | 2030 | https://www.greentechmedia.com/articles/read/two-more-western-utilities-move-to-close-coal-plants-early-shift-to-renewables-and-storage | IRP, possibly not ripe for inclusion yet; regulation in process to formalize this fall; https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/ | Not enough information to treat it as a firm change yet
2020 Oct | Oct 2020 NEEDS Update: 9 | Accept comment | EPA/ICF | EPA Research | 6257_B_4 | Scherer | 4 | Georgia | Retirement Year | 9999 | 2021 | https://www.utilitydive.com/news/fpl-jea-to-retire-848-mw-unit-of-largest-us-coal-plant/580684/
2020 Oct | Oct 2020 NEEDS Update: 10 | Accept comment | CT DEEP/ Wendy Jacobs |  | 136_B_1 | Seminole (FL) | 1 | Florida | Retirement Year | 9999 | 2023
2020 Oct | Oct 2020 NEEDS Update: 11 | Accept comment | MDE / Steven Lang | e-mail; from Steven Lang / MDE | 1571_B_1 | Chalk Point LLC | 1 | Maryland | Retirement Year | 9999 | 2021 |  | https://www.spglobal.com/marketintelligence/en/news-insights/latest-news-headlines/genon-to-retire-chalk-point-coal-fired-units-in-maryland-59877437
2020 Oct | Oct 2020 NEEDS Update: 12 | Accept comment | MDE / Steven Lang | e-mail; from Steven Lang / MDE | 1571_B_2 | Chalk Point LLC | 2 | Maryland | Retirement Year | 9999 | 2021 |  | https://www.spglobal.com/marketintelligence/en/news-insights/latest-news-headlines/genon-to-retire-chalk-point-coal-fired-units-in-maryland-59877437
2020 Oct | Oct 2020 NEEDS Update: 13 | Accept comment | EPA/ICF | e-mail from Jason Kuhns | 10143_B_ABB01 | Colver Power Project | ABB01 | Pennsylvania | Retirement Year | 2020 | 9999 | Heard they are aiming to restart unit by the end of the year | https://www.tribdem.com/news/colver-power-plant-sold-to-reopen-next-month/article_78457176-e664-11ea-9eb2-4fb3b96fc219.html
2020 Dec | Dec 2020 NEEDS Update: 1 | Do not accept comment | EPA |  | 6137_B_1 | A B Brown | 1 | Indiana | Retirement Year | 9999 |  | EIA Monthly August 2020 |  | Not enough information to treat it as a firm retirement
2020 Dec | Dec 2020 NEEDS Update: 2 | Do not accept comment | EPA |  | 6137_B_2 | A B Brown | 2 | Indiana | Retirement Year | 9999 |  | EIA Monthly August 2020 |  | Not enough information to treat it as a firm retirement
2020 Dec | Dec 2020 NEEDS Update: 3 | Do not accept comment | EPA |  | 1012_B_2 | F B Culley | 2 | Indiana | Retirement Year | 9999 |  | EIA Monthly August 2020 |  | Not enough information to treat it as a firm retirement
2020 Dec | Dec 2020 NEEDS Update: 4 | Accept comment | EPA |  | 3809_B_3 | Yorktown | 3 | Virginia | Retirement Year | 9999 | 2023 | EIA Monthly August 2020
2020 Dec | Dec 2020 NEEDS Update: 5 | Accept comment | EPA |  | 645_B_BB01 | Big Bend | BB01 | Florida | Retirement Year | 2023 | 2020
2020 Dec | Dec 2020 NEEDS Update: 6 | Accept comment | EPA |  | 6004_B_1 | FirstEnergy Pleasants Power Station | 1 | West Virginia | Retirement Year | 2022 | 9999 | Not listed as retiring in PJM tracker anymore
2020 Dec | Dec 2020 NEEDS Update: 7 | Accept comment | EPA |  | 6004_B_2 | FirstEnergy Pleasants Power Station | 2 | West Virginia | Retirement Year | 2022 | 9999 | Not listed as retiring in PJM tracker anymore
2020 Dec | Dec 2020 NEEDS Update: 8 | Do not accept comment | EPA |  | 6177_B_U1B | Coronado | 1 | Arizona | Retirement Year | 9999 |  | Note the SCR and operational limtis | https://media.srpnet.com/srp-selects-operation-plan-for-coronado-generating-station/?fbclid=IwAR271xzV0CXaziTj6RZ2TvHZeeXkpjhWhVbE5jiZO_9v0ZeRNPp1lovr1zY | Not enough information to treat it as a firm retirement
2020 Dec | Dec 2020 NEEDS Update: 9 | Do not accept comment | EPA |  | 6177_B_U2B | Coronado | 2 | Arizona | Retirement Year | 9999 |  | Note the SCR and operational limtis | https://media.srpnet.com/srp-selects-operation-plan-for-coronado-generating-station/?fbclid=IwAR271xzV0CXaziTj6RZ2TvHZeeXkpjhWhVbE5jiZO_9v0ZeRNPp1lovr1zY | Not enough information to treat it as a firm retirement
2020 Dec | Dec 2020 NEEDS Update: 10 | Accept comment | EPA |  | 3140_B_1 | Brunner Island | 1 | Pennsylvania | Fuels | Coal | Burning Gas in OS during 2023 - 2028 | Only Gas in the Ozone Season starting in 2023 | https://www.bayjournal.com/news/energy/brunner-island-power-plant-to-convert-from-coal-to-natural-gas/article_7dd41ba3-7f5c-53e2-ac55-000fabace156.html
2020 Dec | Dec 2020 NEEDS Update: 11 | Accept comment | EPA |  | 6193_B_061B | Harrington | 1 | Texas | C2G | <blank> | C2G in 2024 | convert by end of 2024 | https://www.newschannel10.com/2020/11/10/xcel-energys-harrington-station-will-switch-natural-gas-by/
2020 Dec | Dec 2020 NEEDS Update: 12 | Accept comment | EPA |  | 6193_B_062B | Harrington | 2 | Texas | C2G | <blank> | C2G in 2024 | convert by end of 2024 | https://www.newschannel10.com/2020/11/10/xcel-energys-harrington-station-will-switch-natural-gas-by/
2020 Dec | Dec 2020 NEEDS Update: 13 | Accept comment | EPA |  | 6193_B_063B | Harrington | 3 | Texas | C2G | <blank> | C2G in 2024 | convert by end of 2024 | https://www.newschannel10.com/2020/11/10/xcel-energys-harrington-station-will-switch-natural-gas-by/
2020 Dec | Dec 2020 NEEDS Update: 14 | Accept comment | EPA |  | 54304_B_1A | Birchwood | 1 | Virginia | Retirement Year | 9999 | 2021 | PJM Retirement Tracker |  | Not yet reflected in EPA620_BC_1i
2020 Dec | Dec 2020 NEEDS Update: 15 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6001_G_1 | Joseph M Farley | 1 | Alabama | Capacity (MW) | 874 | 908
2020 Dec | Dec 2020 NEEDS Update: 16 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6001_G_2 | Joseph M Farley | 2 | Alabama | Capacity (MW) | 877 | 920
2020 Dec | Dec 2020 NEEDS Update: 17 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 8037_G_1 | Clifton | 1 | Kansas | Heat Rate (Btu/kWh) | 25000 | 31000
2020 Dec | Dec 2020 NEEDS Update: 18 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 7806_G_8 | Pine Street | 8 | Michigan | On Line Year | 2019 | 2020
2020 Dec | Dec 2020 NEEDS Update: 19 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1047_B_4 | Lansing | 4 | Iowa | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 20 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1572_B_1 | Dickerson | 1 | Maryland | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 21 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1572_B_2 | Dickerson | 2 | Maryland | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 22 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1572_B_3 | Dickerson | 3 | Maryland | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 23 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 165_B_1 | GREC | 1 | Oklahoma | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 24 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2718_B_4 | G G Allen | 4 | North Carolina | Retirement Year | 2029 | 2024
2020 Dec | Dec 2020 NEEDS Update: 25 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2718_B_5 | G G Allen | 5 | North Carolina | Retirement Year | 2029 | 2024
2020 Dec | Dec 2020 NEEDS Update: 26 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 3456_B_3 | Newman | 3 | Texas | Retirement Year | 2024 | 9999
2020 Dec | Dec 2020 NEEDS Update: 27 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 3548_B_1 | Decker Creek | 1 | Texas | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 28 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 492_B_6 | Martin Drake | 6 | Colorado | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 29 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 492_B_7 | Martin Drake | 7 | Colorado | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 30 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | Retirement Year | 2028 | 9999
2020 Dec | Dec 2020 NEEDS Update: 31 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | Retirement Year | 2028 | 9999
2020 Dec | Dec 2020 NEEDS Update: 32 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 7902_B_1 | Pirkey | 1 | Texas | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 33 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 8224_B_1 | North Valmy | 1 | Nevada | Retirement Year | 2026 | 2021
2020 Dec | Dec 2020 NEEDS Update: 34 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 976_B_4 | Marion | 4 | Illinois | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 35 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10298_G_GEN4 | Bayou Cogen Plant | GEN4 | Texas | Retirement Year | 9999 | 2015
2020 Dec | Dec 2020 NEEDS Update: 36 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 104_G_1 | J S Eastwood | 1 | California | Retirement Year | 9999 | 2017
2020 Dec | Dec 2020 NEEDS Update: 37 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10553_G_6033 | Anderson Power Products Division | 6033 | Massachusetts | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 38 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10553_G_6035 | Anderson Power Products Division | 6035 | Massachusetts | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 39 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10553_G_6046 | Anderson Power Products Division | 6046 | Massachusetts | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 40 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2225_G_1 | Campbell Village | 1 | Nebraska | Retirement Year | 9999 | 2004
2020 Dec | Dec 2020 NEEDS Update: 41 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2225_G_2 | Campbell Village | 2 | Nebraska | Retirement Year | 9999 | 2004
2020 Dec | Dec 2020 NEEDS Update: 42 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2225_G_3 | Campbell Village | 3 | Nebraska | Retirement Year | 9999 | 2004
2020 Dec | Dec 2020 NEEDS Update: 43 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2278_G_1 | Spencer Hydro | 1 | Nebraska | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 44 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 2278_G_2 | Spencer Hydro | 2 | Nebraska | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 45 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 320_G_1 | Big Creek 4 | 1 | California | Retirement Year | 9999 | 2017
2020 Dec | Dec 2020 NEEDS Update: 46 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 320_G_2 | Big Creek 4 | 2 | California | Retirement Year | 9999 | 2017
2020 Dec | Dec 2020 NEEDS Update: 47 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 435_G_H4 | White Rock/Slab Creek | H4 | California | Retirement Year | 9999 | 2021
2020 Dec | Dec 2020 NEEDS Update: 48 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 56646_G_1 | Chandler Hills Wind Farm | 1 | Minnesota | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 49 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 568_G_4 | Bridgeport Station | 4 | Connecticut | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 50 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 57843_G_GEN1 | SC Landfill Energy LLC | GEN1 | New Jersey | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 51 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 57846_G_UNIT1 | SX Landfill Energy LLC | UNIT1 | New Jersey | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 52 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 57846_G_UNIT2 | SX Landfill Energy LLC | UNIT2 | New Jersey | Retirement Year | 9999 | 2020
2020 Dec | Dec 2020 NEEDS Update: 53 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6023_G_1 | Byron Generating Station | 1 | Illinois | Retirement Year | 2065 | 2021
2020 Dec | Dec 2020 NEEDS Update: 54 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6023_G_2 | Byron Generating Station | 2 | Illinois | Retirement Year | 2067 | 2021
2020 Dec | Dec 2020 NEEDS Update: 55 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6030_G_4 | Coal Creek | 4 | North Dakota | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 56 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6030_G_5 | Coal Creek | 5 | North Dakota | Retirement Year | 9999 | 2022
2020 Dec | Dec 2020 NEEDS Update: 57 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 61569_G_EGEN3 | Mount Sinai Beth Israel | EGEN3 | New York | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 58 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62665_G_HELD | Novel Solar One CSG LLC | HELD | Minnesota | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 59 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62807_G_12083 | Grove Solar, LLC | 12083 | North Carolina | Retirement Year | 9999 | 2019
2020 Dec | Dec 2020 NEEDS Update: 60 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62859_G_COV-1 | Coventry Clean Energy Corporation | COV-1 | Vermont | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 61 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62859_G_COV-2 | Coventry Clean Energy Corporation | COV-2 | Vermont | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 62 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62859_G_COV-3 | Coventry Clean Energy Corporation | COV-3 | Vermont | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 63 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62859_G_COV-4 | Coventry Clean Energy Corporation | COV-4 | Vermont | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 64 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 62859_G_COV-5 | Coventry Clean Energy Corporation | COV-5 | Vermont | Retirement Year | 9999 | 2024
2020 Dec | Dec 2020 NEEDS Update: 65 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 664_G_8 | John R Kelly | 8 | Florida | Retirement Year | 9999 | 2021
2020 Dec | Dec 2020 NEEDS Update: 66 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 869_G_2 | Dresden Generating Station | 2 | Illinois | Retirement Year | 2050 | 2021
2020 Dec | Dec 2020 NEEDS Update: 67 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 869_G_3 | Dresden Generating Station | 3 | Illinois | Retirement Year | 2051 | 2021
2020 Dec | Dec 2020 NEEDS Update: 68 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 4143_B_1 | Genoa | 1 | Wisconsin | Retirement Year | 2022 | 2021
2020 Dec | Dec 2020 NEEDS Update: 69 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10215_G_1367 | Snowbird Power Plant | 1367 | Utah | Retirement Year | 2020 | 2021
2020 Dec | Dec 2020 NEEDS Update: 70 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10215_G_1391 | Snowbird Power Plant | 1391 | Utah | Retirement Year | 2020 | 2021
2020 Dec | Dec 2020 NEEDS Update: 71 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10215_G_1392 | Snowbird Power Plant | 1392 | Utah | Retirement Year | 2020 | 2021
2020 Dec | Dec 2020 NEEDS Update: 72 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 57930_G_UAST | Arzon Solar UASTP Solar Power Station | UAST | Arizona | Retirement Year | 2011 | 9999
2020 Dec | Dec 2020 NEEDS Update: 73 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 60192_G_NFCP1 | North Fork Community Power | NFCP1 | California | Retirement Year | 2018 | 2020
2020 Dec | Dec 2020 NEEDS Update: 74 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 7806_G_8 | Pine Street | 8 | Michigan | Retirement Year | 2019 | 9999
2020 Dec | Dec 2020 NEEDS Update: 75 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1235_B_3 | Great Bend - Sunflower | 3 | Kansas | Firing | wall | tangential
2020 Dec | Dec 2020 NEEDS Update: 76 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 3140_B_1 | Brunner Island | 1 | Pennsylvania | Modeled Fuels | Bituminous | Bituminous, Natural Gas
2020 Dec | Dec 2020 NEEDS Update: 77 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6101_B_BW91 | Wyodak | BW91 | Wyoming | Scrubber Efficiency | 0.82 | 0.83
2020 Dec | Dec 2020 NEEDS Update: 78 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | NOx Comb Control | LNC2 | LNB + SOFA
2020 Dec | Dec 2020 NEEDS Update: 79 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | NOx Comb Control | LNC2 | LNB + SOFA
2020 Dec | Dec 2020 NEEDS Update: 80 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6641_B_1 | Independence Steam Electric Station | 1 | Arkansas | NOx Comb Control | LNC2 | LNB + SOFA
2020 Dec | Dec 2020 NEEDS Update: 81 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6641_B_2 | Independence Steam Electric Station | 2 | Arkansas | NOx Comb Control | LNC2 | LNB + SOFA
2020 Dec | Dec 2020 NEEDS Update: 82 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10025_B_44 | RED-Rochester, LLC | 44 | New York | Mode 1 NOx Rate (lbs/mmBtu) | 0.1077 | 0.05385
2020 Dec | Dec 2020 NEEDS Update: 83 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10025_B_44 | RED-Rochester, LLC | 44 | New York | Mode 2 NOx Rate (lbs/mmBtu) | 0.1077 | 0.05385
2020 Dec | Dec 2020 NEEDS Update: 84 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10025_B_44 | RED-Rochester, LLC | 44 | New York | Mode 3 NOx Rate (lbs/mmBtu) | 0.1077 | 0.05385
2020 Dec | Dec 2020 NEEDS Update: 85 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | Mode 3 NOx Rate (lbs/mmBtu) | 0.1469 | 0.14692
2020 Dec | Dec 2020 NEEDS Update: 86 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | Mode 3 NOx Rate (lbs/mmBtu) | 0.1469 | 0.15145
2020 Dec | Dec 2020 NEEDS Update: 87 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6641_B_1 | Independence Steam Electric Station | 1 | Arkansas | Mode 3 NOx Rate (lbs/mmBtu) | 0.1469 | 0.16344
2020 Dec | Dec 2020 NEEDS Update: 88 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10025_B_44 | RED-Rochester, LLC | 44 | New York | Mode 4 NOx Rate (lbs/mmBtu) | 0.1077 | 0.05385
2020 Dec | Dec 2020 NEEDS Update: 89 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | Mode 4 NOx Rate (lbs/mmBtu) | 0.1469 | 0.14692
2020 Dec | Dec 2020 NEEDS Update: 90 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | Mode 4 NOx Rate (lbs/mmBtu) | 0.1469 | 0.15145
2020 Dec | Dec 2020 NEEDS Update: 91 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6641_B_1 | Independence Steam Electric Station | 1 | Arkansas | Mode 4 NOx Rate (lbs/mmBtu) | 0.1469 | 0.16344
2020 Dec | Dec 2020 NEEDS Update: 92 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K1 | Phillips 66 Carbon Plant | K1 | California | Hg EMF for BIT | 0.11 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 93 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K2 | Phillips 66 Carbon Plant | K2 | California | Hg EMF for BIT | 0.11 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 94 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR1 | Yellowstone Energy LP | BLR1 | Montana | Hg EMF for BIT | 0.05 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 95 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR2 | Yellowstone Energy LP | BLR2 | Montana | Hg EMF for BIT | 0.05 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 96 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10167_G_GEN1 | Seadrift Coke LP | GEN1 | Texas | Hg EMF for BIT | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 97 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50628_G_GEN4 | Paulsboro Refinery | GEN4 | New Jersey | Hg EMF for BIT | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 98 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1393_B_2A | R S Nelson | 2A | Louisiana | Hg EMF for SUB | 0.1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 99 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K1 | Phillips 66 Carbon Plant | K1 | California | Hg EMF for SUB | 0.1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 100 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K2 | Phillips 66 Carbon Plant | K2 | California | Hg EMF for SUB | 0.1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 101 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR1 | Yellowstone Energy LP | BLR1 | Montana | Hg EMF for SUB | 0.1 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 102 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR2 | Yellowstone Energy LP | BLR2 | Montana | Hg EMF for SUB | 0.1 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 103 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10167_G_GEN1 | Seadrift Coke LP | GEN1 | Texas | Hg EMF for SUB | 0.1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 104 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50628_G_GEN4 | Paulsboro Refinery | GEN4 | New Jersey | Hg EMF for SUB | 0.1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 105 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1393_B_2A | R S Nelson | 2A | Louisiana | Hg EMF for LIG | 0.43 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 106 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K1 | Phillips 66 Carbon Plant | K1 | California | Hg EMF for LIG | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 107 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50388_B_K2 | Phillips 66 Carbon Plant | K2 | California | Hg EMF for LIG | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 108 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR1 | Yellowstone Energy LP | BLR1 | Montana | Hg EMF for LIG | 0.43 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 109 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50931_B_BLR2 | Yellowstone Energy LP | BLR2 | Montana | Hg EMF for LIG | 0.43 | 0.044
2020 Dec | Dec 2020 NEEDS Update: 110 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 10167_G_GEN1 | Seadrift Coke LP | GEN1 | Texas | Hg EMF for LIG | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 111 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 50628_G_GEN4 | Paulsboro Refinery | GEN4 | New Jersey | Hg EMF for LIG | 1 | 0.05
2020 Dec | Dec 2020 NEEDS Update: 112 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 56786_B_1 | Spiritwood Station | 1 | North Dakota | DSI Unit | Yes
2020 Dec | Dec 2020 NEEDS Update: 113 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 56786_B_1 | Spiritwood Station | 1 | North Dakota | DSI Online Year | 2015
2020 Dec | Dec 2020 NEEDS Update: 114 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 113_B_1 | Cholla | 1 | Arizona | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 115 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 113_B_3 | Cholla | 3 | Arizona | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 116 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 117 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 118 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6139_B_1 | Welsh | 1 | Texas | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 119 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6139_B_3 | Welsh | 3 | Texas | C2G | 0 | C2G
2020 Dec | Dec 2020 NEEDS Update: 120 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 113_B_1 | Cholla | 1 | Arizona | C2G Year | 0 | 2025
2020 Dec | Dec 2020 NEEDS Update: 121 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 113_B_3 | Cholla | 3 | Arizona | C2G Year | 0 | 2025
2020 Dec | Dec 2020 NEEDS Update: 122 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_1 | White Bluff | 1 | Arkansas | C2G Year | 0 | 2029
2020 Dec | Dec 2020 NEEDS Update: 123 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6009_B_2 | White Bluff | 2 | Arkansas | C2G Year | 0 | 2029
2020 Dec | Dec 2020 NEEDS Update: 124 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6139_B_1 | Welsh | 1 | Texas | C2G Year | 0 | 2029
2020 Dec | Dec 2020 NEEDS Update: 125 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 6139_B_3 | Welsh | 3 | Texas | C2G Year | 0 | 2029
2020 Dec | Dec 2020 NEEDS Update: 126 | Accept comment | EPA/ICF | August 2020 EIA 860 Monthly and NEEDS review during November 2020 | 1104_B_1 | Burlington (IA) | 1 | Iowa | C2G Year | 2022 | 2021
2021 March | March 2021 NEEDS Update: 1 | Accept comment | EPA | EIA 860 and other communications | 1295_B_2 | Quindaro | 2 | Kansas | Retirement Year | 2019 | 9999 | Unit was mis-reported. It is in long term cold storage, not retired
2021 March | March 2021 NEEDS Update: 2 | Accept comment | EPA | EIA 860 and other communications | 1295_G_ST1 | Quindaro | 1ST | Kansas | Retirement Year | 2019 | 9999 | Unit was mis-reported. It is in long term cold storage, not retired
2021 March | March 2021 NEEDS Update: 3 | Accept comment | EPA | Email from Michael Cohen | 1730 | Hancock |  |  | CAMD Database ID
2021 March | March 2021 NEEDS Update: 4 | Accept comment | EPA | Email from Michael Cohen | 3809_B_3 | Yorktown | 3 | Virginia | Mode 2 NOx Rate |  | 0.152 | higher SNCR optimization rate of 0.152 lb/mmBtu as we think the existing rate is an error. 0.152 is the lowest rate this unit has every achieved for an ozone season.
2021 March | March 2021 NEEDS Update: 5 | Accept comment | EPA | EPA Research | 8023_B_1 | Columbia (WI) | 1 | Wisconsin | Retirement Year | 9999 | 2024 |  | https://www.utilitydive.com/news/alliant-duke-announce-coal-shutdowns-accelerating-nations-transition-to/594476/
2021 March | March 2021 NEEDS Update: 6 | Accept comment | EPA | EPA Research | 8023_B_2 | Columbia (WI) | 2 | Wisconsin | Retirement Year | 9999 | 2025 |  | https://www.utilitydive.com/news/alliant-duke-announce-coal-shutdowns-accelerating-nations-transition-to/594476/
2021 March | March 2021 NEEDS Update: 7 | Accept comment | EPA | EPA Research | 2718_B_3 | G G Allen | 3 | North Carolina | Retirement Year | 2024 | 2021 |  | https://www.utilitydive.com/news/alliant-duke-announce-coal-shutdowns-accelerating-nations-transition-to/594476/
2021 March | March 2021 NEEDS Update: 8 | Do not accept comment | EPA | EPA Research | 2442 | Four Corners | unclear | New Mexico | Operation Constraint |  |  | not yet approved | https://www.eenews.net/climatewire/stories/1063727427 | Not enough information to treat it as a firm commitment
2021 March | March 2021 NEEDS Update: 9 | Accept comment | EPA | EPA Research | 170_B_4 | Lake Catherine | 4 | Arkansas | Retirement Year | 9999 | 2027 |  | https://platform.marketintelligence.spglobal.com/web/client?auth=inherit#news/article?id=63152540
2021 March | March 2021 NEEDS Update: 10 | Do nothing | EPA | EPA Research | 6009_B_1 | White Bluff | 1 | Arkansas | C2G Year |  | 2029 |  | https://platform.marketintelligence.spglobal.com/web/client?auth=inherit#news/article?id=63152540 | Consistent with NEEDS
2021 March | March 2021 NEEDS Update: 11 | Do nothing | EPA | EPA Research | 6009_B_2 | White Bluff | 2 | Arkansas | C2G Year |  | 2029 |  | https://platform.marketintelligence.spglobal.com/web/client?auth=inherit#news/article?id=63152540 | Consistent with NEEDS
2021 March | March 2021 NEEDS Update: 12 | Accept comment | EPA | EPA Research | 6641_B_1 | Independence Steam Electric Station | 1 | Arkansas | C2G Year |  | 2031 | retirement year already 2030 | https://platform.marketintelligence.spglobal.com/web/client?auth=inherit#news/article?id=63152540
2021 March | March 2021 NEEDS Update: 13 | Accept comment | EPA | EPA Research | 6641_B_2 | Independence Steam Electric Station | 2 | Arkansas | C2G Year |  | 2031 | retirement year already 2030 | https://platform.marketintelligence.spglobal.com/web/client?auth=inherit#news/article?id=63152540
2021 March | March 2021 NEEDS Update: 14 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_1A | CPI USA NC Southport | 1A | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 15 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_1B | CPI USA NC Southport | 1B | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 16 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10379_B_1A | CPI USA NC Roxboro | 1A | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 17 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 1081_B_9 | Riverside | 9 | Iowa | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 18 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 1316_G_GT1 | Ottawa | GT1 | Kansas | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 19 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 1327_G_4 | Stockton | 4 | Kansas | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 20 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 1980_G_8 | Hutchinson Plant #1 | 8 | Minnesota | Retirement Year | 9999 | 2019
2021 March | March 2021 NEEDS Update: 21 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 2500_G_GT9 | Ravenswood | GT9 | New York | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 22 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 2521_G_4 | West Babylon | 4 | New York | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 23 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 3484_B_143B | Nichols | 143B | Texas | Retirement Year | 2030 | 2031
2021 March | March 2021 NEEDS Update: 24 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 3507_B_9 | Trinidad (TX) | 9 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 25 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 3507_G_D1 | Trinidad (TX) | D1 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 26 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 3507_G_D2 | Trinidad (TX) | D2 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 27 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 491_G_3 | Center | 3 | Colorado | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 28 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 491_G_5 | Center | 5 | Colorado | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 29 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50157_G_1 | Sanford Dam | 1 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 30 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50157_G_2 | Sanford Dam | 2 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 31 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50157_G_3 | Sanford Dam | 3 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 32 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50158_G_1 | Edenville | 1 | Michigan | Retirement Year | 9999 | 2018
2021 March | March 2021 NEEDS Update: 33 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50158_G_2 | Edenville | 2 | Michigan | Retirement Year | 9999 | 2018
2021 March | March 2021 NEEDS Update: 34 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50159_G_1 | Secord | 1 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 35 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 50160_G_1 | Smallwood | 1 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 36 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 54224_G_DG6 | Franklin Heating Station | DG6 | Minnesota | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 37 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 54224_G_DG7 | Franklin Heating Station | DG7 | Minnesota | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 38 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 54304_B_1A | Birchwood Power | 1A | Virginia | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 39 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 54415_B_101613 | Cadillac Renewable Energy | 101613 | Michigan | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 40 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 54730_G_701 | Yellowhammer Gas Plant | 701 | Alabama | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 41 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_01 | NRG Sterlington Power | 01 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 42 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_02 | NRG Sterlington Power | 02 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 43 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_04 | NRG Sterlington Power | 04 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 44 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_06 | NRG Sterlington Power | 06 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 45 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_07 | NRG Sterlington Power | 07 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 46 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_09 | NRG Sterlington Power | 09 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 47 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55099_G_10 | NRG Sterlington Power | 10 | Louisiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 48 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55999_G_GEN1 | NECCO Co-Generation | GEN1 | Massachusetts | Retirement Year | 9999 | 2018
2021 March | March 2021 NEEDS Update: 49 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55999_G_GEN2 | NECCO Co-Generation | GEN2 | Massachusetts | Retirement Year | 9999 | 2018
2021 March | March 2021 NEEDS Update: 50 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 56266_G_1 | WPPI Hartford DG | 1 | Wisconsin | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 51 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 56365_G_GEN1 | Danville Westover Plant | GEN1 | Virginia | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 52 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57625_G_BOS3 | Bos Dairy, LLC | BOS3 | Indiana | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 53 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57807_G_COK01 | Coca Cola American Canyon | COK01 | California | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 54 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57854_G_2T1 | North Hollywood | 2T1 | California | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 55 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57854_G_2T2 | North Hollywood | 2T2 | California | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 56 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58268_G_LFG1 | UNC-CH LFG Facility | LFG1 | North Carolina | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 57 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58352_B_B-11 | McKinley Paper Co. - Washington Mill | B-11 | Washington | Retirement Year | 2020 | 2021
2021 March | March 2021 NEEDS Update: 58 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58945_G_GEN 1 | Simonds | GEN 1 | Massachusetts | Retirement Year | 9999 | 2019
2021 March | March 2021 NEEDS Update: 59 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58945_G_GEN 2 | Simonds | GEN 2 | Massachusetts | Retirement Year | 9999 | 2019
2021 March | March 2021 NEEDS Update: 60 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58945_G_GEN 3 | Simonds | GEN 3 | Massachusetts | Retirement Year | 9999 | 2019
2021 March | March 2021 NEEDS Update: 61 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58993_G_3201 | Pine Tree Landfill Gas to Energy | 3201 | Maine | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 62 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58993_G_3202 | Pine Tree Landfill Gas to Energy | 3202 | Maine | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 63 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 58993_G_3203 | Pine Tree Landfill Gas to Energy | 3203 | Maine | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 64 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 59281_G_EBY00 | eBay - South Jordan | EBY00 | Utah | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 65 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 59281_G_EBY03 | eBay - South Jordan | EBY03 | Utah | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 66 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6004_B_1 | FirstEnergy Pleasants Power Station | 1 | West Virginia | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 67 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6004_B_2 | FirstEnergy Pleasants Power Station | 2 | West Virginia | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 68 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 60213_G_MPSHG | NA 1(Hagerstown) | MPSHG | Maryland | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 69 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6166_B_MB1 | Rockport | MB1 | Indiana | Retirement Year | 2028 | 2029
2021 March | March 2021 NEEDS Update: 70 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6481_B_1SGA | Intermountain Power Project | 1SGA | Utah | Retirement Year | 2025 | 2027
2021 March | March 2021 NEEDS Update: 71 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6481_B_2SGA | Intermountain Power Project | 2SGA | Utah | Retirement Year | 2025 | 2027
2021 March | March 2021 NEEDS Update: 72 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6565_G_4A | Berlin | 4A | Maryland | Retirement Year | 9999 | 2020
2021 March | March 2021 NEEDS Update: 73 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 7902_B_1 | Pirkey | 1 | Texas | Retirement Year | 2024 | 2023
2021 March | March 2021 NEEDS Update: 74 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 8106_G_3 | Tipton | 3 | Iowa | Retirement Year | 9999 | 2019
2021 March | March 2021 NEEDS Update: 75 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_1C | CPI USA NC Southport | 1C | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 76 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_2A | CPI USA NC Southport | 2A | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 77 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_2B | CPI USA NC Southport | 2B | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 78 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10378_B_2C | CPI USA NC Southport | 2C | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 79 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10379_B_1B | CPI USA NC Roxboro | 1B | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 80 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10379_B_1C | CPI USA NC Roxboro | 1C | North Carolina | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 81 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10553_G_6033 | Anderson Power Products Division | 6033 | Massachusetts | Retirement Year | 2020 | 2021
2021 March | March 2021 NEEDS Update: 82 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10553_G_6035 | Anderson Power Products Division | 6035 | Massachusetts | Retirement Year | 2020 | 2021
2021 March | March 2021 NEEDS Update: 83 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10553_G_6046 | Anderson Power Products Division | 6046 | Massachusetts | Retirement Year | 2020 | 2021
2021 March | March 2021 NEEDS Update: 84 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 2098_B_4 | Lake Road (MO) | 4 | Missouri | Retirement Year | 2025 | 2024
2021 March | March 2021 NEEDS Update: 85 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 3804_B_5 | Possum Point | 5 | Virginia | Retirement Year | 2021 | 2020
2021 March | March 2021 NEEDS Update: 86 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 6099_G_1 | Diablo Canyon | 1 | California | Retirement Year | 2025 | 2024
2021 March | March 2021 NEEDS Update: 87 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57693_G_GAMES | DOE Golden NWTC Research Side | GAMES | Colorado | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 88 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57693_G_GEDOE | DOE Golden NWTC Research Side | GEDOE | Colorado | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 89 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 57693_G_SIEM | DOE Golden NWTC Research Side | SIEM | Colorado | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 90 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 10143_B_ABB01 | Colver Power Project | ABB01 | Pennsylvania | Retirement Year |  | 9999
2021 March | March 2021 NEEDS Update: 91 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 104_G_1 | J S Eastwood | 1 | California | Retirement Year | 2017 | 9999
2021 March | March 2021 NEEDS Update: 92 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 320_G_1 | Big Creek 4 | 1 | California | Retirement Year | 2017 | 9999
2021 March | March 2021 NEEDS Update: 93 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 320_G_2 | Big Creek 4 | 2 | California | Retirement Year | 2017 | 9999
2021 March | March 2021 NEEDS Update: 94 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_CTG3 | Riverside Energy Center | CTG3 | Wisconsin | ORIS Plant Code | 55641 | 64020
2021 March | March 2021 NEEDS Update: 95 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_CTG4 | Riverside Energy Center | CTG4 | Wisconsin | ORIS Plant Code | 55641 | 64020
2021 March | March 2021 NEEDS Update: 96 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_STG2 | Riverside Energy Center | STG2 | Wisconsin | ORIS Plant Code | 55641 | 64020
2021 March | March 2021 NEEDS Update: 97 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 61044_G_WT1 | La Joya NM | WT1 | New Mexico | Unit ID | WT1 | LAJ1
2021 March | March 2021 NEEDS Update: 98 | Accept comment | EPA/ICF | ISO Research - PJM | 3148_G_CTG4 | TalenEnergy Martins Creek | CTG4 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 99 | Accept comment | EPA/ICF | ISO Research - PJM | 3144_G_CTG1 | TalenEnergy Martins Creek LLC Harwood | CTG1 | Pennsylvania | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 100 | Accept comment | EPA/ICF | ISO Research - PJM | 3144_G_CTG2 | TalenEnergy Martins Creek LLC Harwood | CTG2 | Pennsylvania | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 101 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_GT#1 | York Generation Company LLC | GT#1 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 102 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_GT#2 | York Generation Company LLC | GT#2 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 103 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_GT#5 | York Generation Company LLC | GT#5 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 104 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_GT#6 | York Generation Company LLC | GT#6 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 105 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_ST#1 | York Generation Company LLC | ST#1 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 106 | Accept comment | EPA/ICF | ISO Research - PJM | 54693_G_ST#2 | York Generation Company LLC | ST#2 | Pennsylvania | Retirement Year | 9999 | 2022
2021 March | March 2021 NEEDS Update: 107 | Accept comment | EPA/ICF | ISO Research - PJM | 50852_G_GEN1 | Elmwood Park Power LLC | GEN1 | New Jersey | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 108 | Accept comment | EPA/ICF | ISO Research - PJM | 50852_G_GEN2 | Elmwood Park Power LLC | GEN2 | New Jersey | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 109 | Accept comment | EPA/ICF | ISO Research - PJM | 2866_G_A1 | FirstEnergy W H Sammis | A1 | Ohio | Retirement Year | 2021 | 9999
2021 March | March 2021 NEEDS Update: 110 | Accept comment | EPA/ICF | ISO Research - PJM | 2866_G_B1 | FirstEnergy W H Sammis | B1 | Ohio | Retirement Year | 2021 | 9999
2021 March | March 2021 NEEDS Update: 111 | Accept comment | EPA/ICF | ISO Research - PJM | 2866_G_B2 | FirstEnergy W H Sammis | B2 | Ohio | Retirement Year | 2021 | 9999
2021 March | March 2021 NEEDS Update: 112 | Accept comment | EPA/ICF | ISO Research - PJM | 2866_G_B3 | FirstEnergy W H Sammis | B3 | Ohio | Retirement Year | 2021 | 9999
2021 March | March 2021 NEEDS Update: 113 | Accept comment | EPA/ICF | ISO Research - PJM | 2866_G_B4 | FirstEnergy W H Sammis | B4 | Ohio | Retirement Year | 2021 | 9999
2021 March | March 2021 NEEDS Update: 114 | Accept comment | EPA/ICF | ISO Research - ISO-NE | 9038_G_10 | Cherry Street | 10 | Massachusetts | Retirement Year | 9999 | 2024
2021 March | March 2021 NEEDS Update: 115 | Accept comment | EPA/ICF | ISO Research - ISO-NE | 9038_G_11 | Cherry Street | 11 | Massachusetts | Retirement Year | 9999 | 2024
2021 March | March 2021 NEEDS Update: 116 | Accept comment | EPA/ICF | ISO Research - ERCOT | 3631_G_1 | Sam Rayburn | 1 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 117 | Accept comment | EPA/ICF | ISO Research - ERCOT | 3631_G_2 | Sam Rayburn | 2 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 118 | Accept comment | EPA/ICF | ICF Research | 50137_G_GEN1 | Newgulf Cogen | GEN1 | Texas | Retirement Year | 9999 | 2021
2021 March | March 2021 NEEDS Update: 119 | Accept comment | EPA/ICF | ICF Research | 2718_B_2 | G G Allen | 2 | North Carolina | Retirement Year | 2024 | 2022
2021 March | March 2021 NEEDS Update: 120 | Accept comment | EPA/ICF | ICF Research | 2718_B_4 | G G Allen | 4 | North Carolina | Retirement Year | 2024 | 2022
2021 March | March 2021 NEEDS Update: 121 | Accept comment | EPA/ICF | ICF Research | 6085_B_14 | R M Schahfer | 14 | Indiana | Retirement Year | 2023 | 2021
2021 March | March 2021 NEEDS Update: 122 | Accept comment | EPA/ICF | ICF Research | 6085_B_15 | R M Schahfer | 15 | Indiana | Retirement Year | 2023 | 2021
2021 March | March 2021 NEEDS Update: 123 | Accept comment | EPA/ICF | Email from Michael Cohen | 1730_G_1 | Hancock | 1 | Michigan | CAMD Database ID | 88436 |  | The CAMD Database ID of 88435 and 88436 are each associated with three records. 88435 is associated with Unit 3 and 5 on the Active tab and Unit 4 on the Retired tab. It should only be associated with Unit 5. 88436 is associated with Unit 1 and 6 on the Active tab and Unit 2 on the Retired tab. It should only be associated with Unit 6. This causes confusion as Units 4 and 2 are retired in 2019 but these are not associated with any CAMD units.
2021 March | March 2021 NEEDS Update: 124 | Accept comment | EPA/ICF | Email from Michael Cohen | 1730_G_3 | Hancock | 3 | Michigan | CAMD Database ID | 88435 |  | The CAMD Database ID of 88435 and 88436 are each associated with three records. 88435 is associated with Unit 3 and 5 on the Active tab and Unit 4 on the Retired tab. It should only be associated with Unit 5. 88436 is associated with Unit 1 and 6 on the Active tab and Unit 2 on the Retired tab. It should only be associated with Unit 6. This causes confusion as Units 4 and 2 are retired in 2019 but these are not associated with any CAMD units.
2021 March | March 2021 NEEDS Update: 125 | Accept comment | EPA/ICF | Email from Michael Cohen | 1730_G_2 | Hancock | 2 | Michigan | CAMD Database ID | 88436 |  | The CAMD Database ID of 88435 and 88436 are each associated with three records. 88435 is associated with Unit 3 and 5 on the Active tab and Unit 4 on the Retired tab. It should only be associated with Unit 5. 88436 is associated with Unit 1 and 6 on the Active tab and Unit 2 on the Retired tab. It should only be associated with Unit 6. This causes confusion as Units 4 and 2 are retired in 2019 but these are not associated with any CAMD units.
2021 March | March 2021 NEEDS Update: 126 | Accept comment | EPA/ICF | Email from Michael Cohen | 1730_G_4 | Hancock | 4 | Michigan | CAMD Database ID | 88435 |  | The CAMD Database ID of 88435 and 88436 are each associated with three records. 88435 is associated with Unit 3 and 5 on the Active tab and Unit 4 on the Retired tab. It should only be associated with Unit 5. 88436 is associated with Unit 1 and 6 on the Active tab and Unit 2 on the Retired tab. It should only be associated with Unit 6. This causes confusion as Units 4 and 2 are retired in 2019 but these are not associated with any CAMD units.
2021 March | March 2021 NEEDS Update: 127 | Accept comment | EPA/ICF | Email from Michael Cohen | 3809_B_3 | Yorktown | 3 | Virginia | Mode 4 NOx Rate | 0.01892 | 0.152 | higher SNCR optimization rate of 0.152 lb/mmBtu as we think the existing rate is an error. 0.152 is the lowest rate this unit has every achieved for an ozone season.
2021 March | March 2021 NEEDS Update: 128 | Accept comment | EPA/ICF | ICF Research | 8224_B_2 | North Valmy | 2 | Nevada | Retirement Year | 2026 | 2022
2021 March | March 2021 NEEDS Update: 129 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_CTG3 | Riverside Energy Center | CTG3 | Wisconsin | Plant Name | Riverside Energy Center | West Riverside Energy Center
2021 March | March 2021 NEEDS Update: 130 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_CTG4 | Riverside Energy Center | CTG4 | Wisconsin | Plant Name | Riverside Energy Center | West Riverside Energy Center
2021 March | March 2021 NEEDS Update: 131 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 55641_G_STG2 | Riverside Energy Center | STG2 | Wisconsin | Plant Name | Riverside Energy Center | West Riverside Energy Center
2021 March | March 2021 NEEDS Update: 132 | Accept comment | EPA/ICF | December 2020 EIA 860 Monthly | 104_G_1 | J S Eastwood | 1 | California | Capacity (MW) | 199.8 | 95
Note on A1: This column is filtered to show only the latest round of comments/changes
Note on K1: "Current" means the value in the version of NEEDS released the prior to this quarterly update"