## Table 3-29
Table 3-29 Turndown Assumptions for Coal Steam Units in EPA Platform v6 2022 Reference Case
Unit ID | Plant Name | Turn Down Assumption (% )
10113_B_CFB1 | John B Rich Memorial Power Station | 45.4447
10113_B_CFB2 | John B Rich Memorial Power Station | 45.4447
1012_B_3 | F B Culley | 48
10143_B_ABB01 | Colver Power Project | 45.4447
10151_B_BLR1A | Grant Town Power Plant | 45.4447
10151_B_BLR1B | Grant Town Power Plant | 45.4447
1024_B_5 | Crawfordsville Power Plant | 45.4447
1024_B_6 | Crawfordsville Power Plant | 45.4447
10343_B_SG-101 | Foster Wheeler Mt Carmel Cogen | 45.4447
1040_B_1 | Whitewater Valley | 45.4447
1040_B_2 | Whitewater Valley | 45.4447
10603_B_031 | Ebensburg Power | 46
10671_B_1A | River Valley | 45.4447
10671_B_1B | River Valley | 45.4447
10671_B_2A | River Valley | 45.4447
10671_B_2B | River Valley | 45.4447
10678_B_BLR1 | AES Warrior Run Cogeneration Facility | 45.4447
10684_B_BLR22 | Argus Cogen Plant | 45
10684_B_BLR25 | Argus Cogen Plant | 45
10684_B_BLR26 | Argus Cogen Plant | 45
1073_B_1 | Prairie Creek | 45
1073_B_2 | Prairie Creek | 45
1073_B_3 | Prairie Creek | 45.4447
10784_B_BLR1 | Colstrip Energy LP | 45.4447
108_B_SGU1 | Holcomb | 56
1082_B_3 | Walter Scott Jr Energy Center | 50
1082_B_4 | Walter Scott Jr Energy Center | 50
10849_B_BLR1 | Silver Bay Power | 45.4447
10849_B_BLR2 | Silver Bay Power | 45.4447
10864_B_1 | Archer Daniels Midland Cedar Rapids | 45.4447
10864_B_2 | Archer Daniels Midland Cedar Rapids | 45.4447
10864_B_3 | Archer Daniels Midland Cedar Rapids | 45.4447
10864_B_4 | Archer Daniels Midland Cedar Rapids | 45.4447
10864_B_5 | Archer Daniels Midland Cedar Rapids | 45.4447
1091_B_3 | George Neal North | 26
1167_B_9 | Muscatine Plant #1 | 26
1241_B_2 | La Cygne | 56
130_B_1 | Cross | 46
130_B_2 | Cross | 50
130_B_3 | Cross | 43
130_B_4 | Cross | 43
1356_B_1 | Ghent | 38
1356_B_2 | Ghent | 38
1356_B_3 | Ghent | 46.8526
1356_B_4 | Ghent | 46.8526
136_B_2 | Seminole (FL) | 53.0038
1364_B_3 | Mill Creek (KY) | 42
1364_B_4 | Mill Creek (KY) | 40
1379_B_1 | Shawnee | 36
1379_B_2 | Shawnee | 38
1379_B_3 | Shawnee | 38
1379_B_4 | Shawnee | 36
1379_B_5 | Shawnee | 36.4
1379_B_6 | Shawnee | 36.4
1379_B_7 | Shawnee | 36.4
1379_B_8 | Shawnee | 36.4
1379_B_9 | Shawnee | 36.4
1384_B_1 | Cooper | 40
1384_B_2 | Cooper | 50
1393_B_1A | R S Nelson | 50
1393_B_2A | R S Nelson | 50
1393_B_6 | R S Nelson | 50
160_B_3 | Apache Station | 28
165_B_2 | GREC | 42
1733_B_1 | Monroe (MI) | 52
1733_B_2 | Monroe (MI) | 52
1733_B_3 | Monroe (MI) | 51.4964
1733_B_4 | Monroe (MI) | 51.4964
1893_B_3 | Clay Boswell | 54
1893_B_4 | Clay Boswell | 56
1979_B_1 | Hibbing | 45.4447
1979_B_2 | Hibbing | 45.4447
1979_B_3 | Hibbing | 45.4447
1979_B_4 | Hibbing | 45
2079_B_5A | Hawthorn | 50
2103_B_1 | Labadie | 50
2103_B_2 | Labadie | 50
2103_B_3 | Labadie | 50
2103_B_4 | Labadie | 50
2107_B_1 | Sioux | 53
2107_B_2 | Sioux | 53
2167_B_1 | New Madrid | 54.0087
2167_B_2 | New Madrid | 54.0087
2168_B_MB1 | Thomas Hill | 53.5195
2168_B_MB2 | Thomas Hill | 53.5195
2168_B_MB3 | Thomas Hill | 40
2240_B_6 | Lon Wright | 45.4447
2240_B_7 | Lon Wright | 45.4447
2240_B_8 | Lon Wright | 45.4447
2277_B_1 | Sheldon | 54
2277_B_2 | Sheldon | 50
2291_B_4 | North Omaha | 45.4447
2291_B_5 | North Omaha | 45.4447
2364_B_1 | Merrimack | 46
2364_B_2 | Merrimack | 50
2367_B_4 | Schiller | 50
2367_B_6 | Schiller | 50
2442_B_4 | Four Corners | 66
2442_B_5 | Four Corners | 64
26_B_5 | E C Gaston | 64
2718_B_5 | G G Allen | 46
2721_B_5 | James E. Rogers Energy Complex | 24
2721_B_6 | James E. Rogers Energy Complex | 38
2727_B_3 | Marshall (NC) | 40
2727_B_4 | Marshall (NC) | 40
2817_B_1 | Leland Olds | 44
2817_B_2 | Leland Olds | 50
2823_B_B1 | Milton R Young | 74
2823_B_B2 | Milton R Young | 50
2828_B_1 | Cardinal | 62
2828_B_2 | Cardinal | 62
2828_B_3 | Cardinal | 60
2876_B_1 | Kyger Creek | 42.0042
2876_B_2 | Kyger Creek | 42.0042
2876_B_3 | Kyger Creek | 42.0042
2876_B_4 | Kyger Creek | 42.0042
2876_B_5 | Kyger Creek | 42.0042
2878_B_1 | FirstEnergy Bay Shore | 45.4447
2914_B_4 | Dover | 45.4447
2935_B_10 | Orrville | 45.4447
2935_B_11 | Orrville | 45.4447
2935_B_12 | Orrville | 45.4447
2935_B_13 | Orrville | 45.4447
2936_B_3 | Painesville | 45.4447
2936_B_4 | Painesville | 45.4447
2936_B_5 | Painesville | 45.4447
2952_B_4 | Muskogee | 40
2952_B_5 | Muskogee | 40
2952_B_6 | Muskogee | 40
298_B_LIM1 | Limestone | 54.984
298_B_LIM2 | Limestone | 54.984
3_B_4 | Barry | 52
3122_B_1 | Homer City Generating Station | 51.004
3122_B_2 | Homer City Generating Station | 51.004
3122_B_3 | Homer City Generating Station | 46
3130_B_1 | Seward (PA) | 45.4447
3130_B_2 | Seward (PA) | 45.4447
3140_B_1 | Brunner Island | 44
3399_B_1 | Cumberland (TN) | 52
3403_B_1 | Gallatin (TN) | 44
3403_B_2 | Gallatin (TN) | 44
3403_B_3 | Gallatin (TN) | 44
3403_B_4 | Gallatin (TN) | 44
3470_B_WAP5 | W A Parish | 36
3470_B_WAP6 | W A Parish | 36
3470_B_WAP7 | W A Parish | 40
3470_B_WAP8 | W A Parish | 38
3935_B_1 | John E Amos | 46
3935_B_2 | John E Amos | 46
3935_B_3 | John E Amos | 48
3943_B_1 | FirstEnergy Fort Martin Power Station | 52
3943_B_2 | FirstEnergy Fort Martin Power Station | 54
3944_B_1 | FirstEnergy Harrison Power Station | 58
3944_B_2 | FirstEnergy Harrison Power Station | 58
3944_B_3 | FirstEnergy Harrison Power Station | 58
3948_B_1 | Mitchell (WV) | 55.0385
3948_B_2 | Mitchell (WV) | 55.0385
3954_B_1 | Mt Storm | 52
3954_B_2 | Mt Storm | 50
3954_B_3 | Mt Storm | 56
4078_B_3 | Weston | 40
4078_B_4 | Weston | 48
4125_B_9 | Manitowoc | 45.4447
4271_B_B1 | John P Madgett | 32
470_B_3 | Comanche (CO) | 60
50366_B_BLR2 | University of Notre Dame | 45.4447
50366_B_BLR3 | University of Notre Dame | 45.4447
50388_B_K1 | Phillips 66 Carbon Plant | 45.4447
50388_B_K2 | Phillips 66 Carbon Plant | 45.4447
50397_B_5PB036 | Pixelle Specialty Solutions LLC - Spring Grove Facility | 45
50611_B_031 | Westwood Generation LLC | 60
50776_B_BLR1 | Panther Creek Energy Facility | 45.4447
50776_B_BLR2 | Panther Creek Energy Facility | 45.4447
50835_B_1 | TES Filer City Station | 45.4447
50835_B_2 | TES Filer City Station | 45.4447
50888_B_BLR1 | Northampton Generating Company LP | 45.4447
50900_B_9PB | Covington Facility | 45.4447
50931_B_BLR1 | Yellowstone Energy LP | 45.4447
50931_B_BLR2 | Yellowstone Energy LP | 45.4447
50951_B_1 | Sunnyside Cogen Associates | 45.4447
50974_B_UNIT 1 | Scrubgrass Generating Plant | 45.4447
50974_B_UNIT 2 | Scrubgrass Generating Plant | 45.4447
54556_B_BLR10 | Ingredion Incorporated | 45.4447
54556_B_BLR6 | Ingredion Incorporated | 45
54556_B_BLR7 | Ingredion Incorporated | 45
54556_B_BLR8 | Ingredion Incorporated | 45
54634_B_1 | St Nicholas Cogen Project | 45.4447
54775_B_BLR10 | University of Iowa Main Power Plant | 45.4447
54775_B_BLR11 | University of Iowa Main Power Plant | 45.4447
54775_B_BLR7 | University of Iowa Main Power Plant | 45
54775_B_BLR8 | University of Iowa Main Power Plant | 45
55076_B_AA001 | Red Hills Generating Facility | 45.4447
55076_B_AA002 | Red Hills Generating Facility | 45.4447
55479_B_3 | Wygen 1 | 45.4447
55749_B_PC1 | Hardin Generator Project | 45.4447
55856_B_PC1 | Prairie State Generating Station | 60
55856_B_PC2 | Prairie State Generating Station | 60
56068_B_18 | Elm Road Generating Station | 50
56068_B_19 | Elm Road Generating Station | 50
56224_B_BLR100 | TS Power Plant | 40
56319_B_1 | Wygen 2 | 45.4447
564_B_2 | Stanton Energy Center | 20
56456_B_BLR1 | Plum Point Energy Station | 62
56564_B_1 | John W Turk Jr Power Plant | 54
56596_B_1 | Wygen III | 45.4447
56609_B_1 | Dry Fork Station | 45.4447
56611_B_S01 | Sandy Creek Energy Station | 40
56671_B_UHA01 | Longview Power Plant | 46
56786_B_1 | Spiritwood Station | 45.4447
56808_B_1 | Virginia City Hybrid Energy Center | 45.4447
56808_B_2 | Virginia City Hybrid Energy Center | 45.4447
57046_B_CFB1 | Archer Daniels Midland Columbus | 45.4447
57046_B_CFB2 | Archer Daniels Midland Columbus | 45.4447
57953_B_COGEN | Roquette America | 45.4447
59_B_1 | Platte | 36
594_B_4 | Indian River Generating Station | 48
60_B_1 | Whelan Energy Center | 54
60_B_2 | Whelan Energy Center | 56
6002_B_1 | James H Miller Jr | 41
6002_B_2 | James H Miller Jr | 41
6002_B_3 | James H Miller Jr | 40
6002_B_4 | James H Miller Jr | 40
6009_B_1 | White Bluff | 42
6009_B_2 | White Bluff | 42
6018_B_2 | East Bend | 66
6021_B_C3 | Craig (CO) | 45
6034_B_1 | Belle River | 51
6034_B_2 | Belle River | 51
6041_B_1 | H L Spurlock | 46
6041_B_2 | H L Spurlock | 54
6041_B_3 | H L Spurlock | 54
6041_B_4 | H L Spurlock | 66
6064_B_N1 | Nearman Creek | 56
6065_B_1 | Iatan | 60
6065_B_2 | Iatan | 78
6068_B_1 | Jeffrey Energy Center | 40
6068_B_2 | Jeffrey Energy Center | 48
6068_B_3 | Jeffrey Energy Center | 40
6071_B_1 | Trimble County | 54
6071_B_2 | Trimble County | 54
6076_B_3 | Colstrip | 30
6076_B_4 | Colstrip | 30
6077_B_1 | Gerald Gentleman | 32
6077_B_2 | Gerald Gentleman | 30
6090_B_3 | Sherburne County | 45
6095_B_1 | Sooner | 38
6095_B_2 | Sooner | 36
6096_B_1 | Nebraska City | 30
6096_B_2 | Nebraska City | 52
6098_B_1 | Big Stone | 41
6101_B_BW91 | Wyodak | 60
6113_B_1 | Gibson | 38
6113_B_2 | Gibson | 38
6113_B_3 | Gibson | 38
6113_B_4 | Gibson | 40
6138_B_1 | Flint Creek | 38
6139_B_1 | Welsh | 36
6139_B_3 | Welsh | 36
6146_B_1 | Martin Lake | 44
6146_B_2 | Martin Lake | 44
6146_B_3 | Martin Lake | 44
6165_B_1 | Hunter | 30
6165_B_2 | Hunter | 40
6165_B_3 | Hunter | 42
6166_B_MB1 | Rockport | 40
6166_B_MB2 | Rockport | 40
6177_B_U1B | Coronado | 60
6177_B_U2B | Coronado | 60
6179_B_1 | Fayette Power Project | 30
6179_B_2 | Fayette Power Project | 30
6179_B_3 | Fayette Power Project | 42
6180_B_1 | Oak Grove (TX) | 54
6180_B_2 | Oak Grove (TX) | 50
6183_B_SM-1 | San Miguel | 56
6193_B_061B | Harrington | 50
6193_B_062B | Harrington | 50
6193_B_063B | Harrington | 50
6194_B_171B | Tolk | 34
6194_B_172B | Tolk | 34
6195_B_1 | John Twitty Energy Center | 50
6195_B_2 | John Twitty Energy Center | 42
6204_B_1 | Laramie River Station | 38
6204_B_2 | Laramie River Station | 38
6204_B_3 | Laramie River Station | 52
6248_B_1 | Pawnee | 60
6249_B_1 | Winyah | 58
6249_B_2 | Winyah | 44
6249_B_3 | Winyah | 65
6249_B_4 | Winyah | 60
6254_B_1 | Ottumwa | 32
6257_B_2 | Scherer | 18
6264_B_1 | Mountaineer | 54
628_B_4 | Crystal River | 30
628_B_5 | Crystal River | 30
641_B_6 | Crist | 56
641_B_7 | Crist | 42
645_B_BB04 | Big Bend | 42
6469_B_B1 | Antelope Valley | 48
6469_B_B2 | Antelope Valley | 48
663_B_B2 | Deerhaven Generating Station | 32
6639_B_G1 | R D Green | 39.8238
6639_B_G2 | R D Green | 39.8238
6641_B_1 | Independence Steam Electric Station | 28
6641_B_2 | Independence Steam Electric Station | 28
6664_B_101 | Louisa | 40
667_B_1 | Northside Generating Station | 57.5
667_B_2 | Northside Generating Station | 57.5
6705_B_1 | Warrick | 49.3451
6705_B_2 | Warrick | 49.3451
6705_B_3 | Warrick | 49.3451
6705_B_4 | Warrick | 76
6761_B_101 | Rawhide | 52
6768_B_1 | Sikeston Power Station | 65
6772_B_1 | Hugo | 56
6823_B_W1 | D B Wilson | 70
703_B_3BLR | Bowen | 58
703_B_4BLR | Bowen | 58
7030_B_U1 | Major Oak Power | 54
7030_B_U2 | Major Oak Power | 54
7097_B_BLR1 | J K Spruce | 24
7097_B_BLR2 | J K Spruce | 40
7210_B_COP1 | Cope | 70
7213_B_1 | Clover | 46
7213_B_2 | Clover | 46
7343_B_4 | George Neal South | 30
7504_B_2 | Neil Simpson II | 45.4447
7790_B_1-1 | Bonanza | 48
8042_B_1 | Belews Creek | 50
8042_B_2 | Belews Creek | 50
8066_B_BW71 | Jim Bridger | 40
8066_B_BW72 | Jim Bridger | 40
8066_B_BW73 | Jim Bridger | 42
8066_B_BW74 | Jim Bridger | 40.6667
8069_B_1 | Huntington | 30
8069_B_2 | Huntington | 30
8102_B_1 | Gavin Power, LLC | 39
8102_B_2 | Gavin Power, LLC | 39
8219_B_1 | Ray D Nixon | 60
8222_B_B1 | Coyote | 48
8223_B_2 | Springerville | 52
8223_B_3 | Springerville | 51.9952
8223_B_4 | Springerville | 51.9952
879_B_51 | Powerton | 46
879_B_52 | Powerton | 46
879_B_61 | Powerton | 46
879_B_62 | Powerton | 44
963_B_41 | Dallman | 43
976_B_123 | Marion | 66
983_B_1 | Clifty Creek | 34.3333
983_B_2 | Clifty Creek | 34.3333
983_B_3 | Clifty Creek | 34.3333
983_B_4 | Clifty Creek | 34
983_B_5 | Clifty Creek | 34
983_B_6 | Clifty Creek | 30
994_B_3 | AES Petersburg | 40
994_B_4 | AES Petersburg | 44
10167_G_GEN1 | Seadrift Coke LP | 45.4447
50628_G_GEN4 | Paulsboro Refinery | 45.4447
6257_G_1 | Scherer | 18
10743_B_CFB1 | Morgantown Energy Facility | 45.4447
10743_B_CFB2 | Morgantown Energy Facility | 45.4447
6030_B_1 | Coal Creek | 32
6030_B_2 | Coal Creek | 32
645_B_BB01 | Big Bend | 40