## Table 3-35
Table 3‑35 BART Regulations included in EPA Platform v6 2022 Reference Case
BART Affected Plants | UniqueID | BART Status/ CSAPR/ Shutdown/ Coal-to-Gas | NOx BART Limit | SO2 BART Limit | NOx Compliance Date | SO2 Compliance Date | State
Four Corners | 2442_B_4 | BART NOx & BART SO2 | 0.098 lb/MMBtu | see note iii below | 2018 | 2018 | New Mexico
Four Corners | 2442_B_5 | BART NOx & BART SO2 | 0.098 lb/MMBtu | see note iii below | 2018 | 2018 | New Mexico
Gerald Gentleman | 6077_B_1 | BART NOx | 0.23 lb/MMBtu | CSAPR | 2018 | 2018 | Nebraska
Gerald Gentleman | 6077_B_2 | BART NOx | 0.23 lb/MMBtu | CSAPR | 2018 | 2018 | Nebraska
Nebraska City | 6096_B_1 | BART NOx & BART SO2 | 0.23 lb/MMBtu | 1.2 lb/MMBtu | 2018 | 2018 | Nebraska
Apache Station | 160_B_2 | BART NOx & BART SO2 | 0.085 lb/MMBtu | 0.00064 lb/MMBtu | 2017-12-05 | 2017-12-05 | Arizona
Apache Station | 160_B_3 | BART NOx & BART SO2 | 0.23 lb/MMBtu | 0.15 lb/MMBtu | 2017-12-05 | 2017-12-05 | Arizona
Coronado | 6177_B_U1B | BART NOx & BART SO2 | Install SCR or shut down | 0.06 lb/MMBtu 1970 tpy for Unit 1 and Unit 2 | no later than December 31, 2025 | 2018 | Arizona
Coronado | 6177_B_U2B | BART NOx & BART SO2 |  | 0.06 lb/MMBtu 1970 tpy for Unit 1 and Unit 2 |  | 2018 | Arizona
Jeffrey Energy Center | 6068_B_1 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.15 lb/MMBtu | 2018 | 2018 | Kansas
Jeffrey Energy Center | 6068_B_2 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.15 lb/MMBtu | 2018 | 2018 | Kansas
La Cygne | 1241_B_2 | BART NOx & BART SO2 | 0.13 lb/MMBtu (combined both units) | 0.15 lb/MMBtu | 2015-06-01 | 2018 | Kansas
Leland Olds | 2817_B_1 | BART NOx & BART SO2 | 0.19 lb/MMBtu | 0.15 lb/MMBtu or 95% efficiency | 2018 | 2018 | North Dakota
Leland Olds | 2817_B_2 | BART NOx & BART SO2 | 0.35 lb/MMBtu | 0.15 lb/MMBtu or 95% efficiency | 2018 | 2018 | North Dakota
Merrimack | 2364_B_2 | BART Nox | 0.30 lb/MMBtu |  | 2018 |  | New Hampshire
Milton R Young | 2823_B_B1 | BART NOx & BART SO2 | 0.36 lb/MMBtu | 0.15 lb/MMBtu or 95% efficiency | 2018 | 2018 | North Dakota
Milton R Young | 2823_B_B2 | BART NOx & BART SO2 | 0.35 lb/MMBtu | 0.15 lb/MMBtu or 95% efficiency | 2018 | 2018 | North Dakota
Muskogee | 2952_B_4 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.06 lbs/MMBtu | 2018 | 2018 | Oklahoma
Muskogee | 2952_B_5 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.06 lbs/MMBtu | 2018 | 2018 | Oklahoma
Pawnee | 6248_B_1 | BART NOx & BART SO2 | 0.07 lb/MMBtu | 0.12 lb/MMBtu | 2018 | 2018 | Colorado
Ray D Nixon | 8219_B_1 | BART NOx & BART SO2 | 0.21 lb/MMBtu | 0.11 lb/MMBtu | 2018 | 2018 | Colorado
Sooner | 6095_B_1 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.06 lbs/MMBtu | 2018 | 2018 | Oklahoma
Sooner | 6095_B_2 | BART NOx & BART SO2 | 0.15 lb/MMBtu | 0.06 lbs/MMBtu | 2018 | 2018 | Oklahoma
Seminole | 136_B_2 | BART SO2 |  | 0.25 lb/MMBtu | 2018 | 2018 | Florida
Northside Generating Station | 667_B_1 | BART SO2 |  | 3600 tpy across 3 units | 2018 | 2018 | Florida
Northside Generating Station | 667_B_2 | BART SO2 |  | 3600 tpy across 3 units | 2018 | 2018 | Florida
Deerhaven Generating Station | 663_B_B2 | BART SO2 |  | 5500 tpy | 2018 | 2018 | Florida
Big Stone | 6098_B_1 | BART NOx & BART SO2 | 0.1 lb/MMBtu | 0.09 lb/MMBtu | 2018 | 2018 | South Dakota
Jim Bridger | 8066_B_BW71 | BART NOx & BART SO2 | 0.26 lb/MMBtu 0.07 lb/MMBtu after 2022 | see note iii below | 2018 | 2018 | Wyoming
Jim Bridger | 8066_B_BW72 | BART NOx & BART SO2 | 0.26 lb/MMBtu 0.07 lb/MMBtu after 2022 | see note iii below | 2018 | 2018 | Wyoming
Jim Bridger | 8066_B_BW73 | BART NOx & BART SO2 | 0.07 lb/MMBtu | see note iii below | 2018 | 2018 | Wyoming
Jim Bridger | 8066_B_BW74 | BART NOx & BART SO2 | 0.07 lb/MMBtu | see note iii below | 2018 | 2018 | Wyoming
Laramie River Station | 6204_B_1 | BART NOx & BART SO2 | 0.06 lb/MMBtu | see note iii below | 2019 | 2018 | Wyoming
Laramie River Station | 6204_B_2 | BART NOx & BART SO2 | 0.15 lb/MMBtu | see note iii below | 2019 | 2018 | Wyoming
Hunter | 6165_B_1 | BART NOx & BART SO2 | 0.26 lb/MMBtu | see note iii below | 2022 | 2018 | Utah
Hunter | 6165_B_2 | BART NOx & BART SO2 | 0.26 lb/MMBtu | see note iii below | 2022 | 2018 | Utah
Hunter | 6165_B_3 | BART NOx & BART SO2 | 0.26 lb/MMBtu | see note iii below | 2022 | 2018 | Utah
Huntington | 8069_B_1 | BART NOx & BART SO2 | 0.26 lb/MMBtu | see note iii below | 2022 | 2018 | Utah
Huntington | 8069_B_2 | BART NOx & BART SO2 | 0.26 lb/MMBtu | see note iii below | 2022 | 2018 | Utah
Danskammer Generating Station | 2480_B_4 | Burn only gas |  |  |  |  | New York
Arthur Kill Generating Station | 2490_B_30 | BART NOx & BART SO2 | 0.15 lb/MMBTU | 0.15 lb/MMBTU | 2014 | 2014 | New York
Ravenswood | 2500_B_10 | BART NOx | 0.15 lb/MMBTU |  | 2014 |  | New York
Ravenswood | 2500_B_20 | BART NOx | 0.15 lb/MMBTU |  | 2014 |  | New York
Ravenswood | 2500_B_30 | BART NOx | 0.15 lb/MMBTU |  | 2014 |  | New York
E F Barrett | 2511_B_20 | BART NOx | 0.1 lb/MMBTU |  | 2014 |  | New York
Northport | 2516_B_1 | BART NOx | 0.1 lb/MMBTU |  | 2014 |  | New York
Northport | 2516_B_2 | BART NOx | 0.1 lb/MMBTU |  | 2014 |  | New York
Northport | 2516_B_3 | BART NOx | 0.1 lb/MMBTU |  | 2014 |  | New York
Northport | 2516_B_4 | BART NOx | 0.1 lb/MMBTU |  | 2014 |  | New York
Oswego Harbor Power | 2594_B_5 | BART NOx & BART SO2 | 383 tpy | 0.8 lb/MMBTU | 2014 | 2014 | New York
Oswego Harbor Power | 2594_B_6 | BART NOx & BART SO2 | 665 tpy | 0.8 lb/MMBTU | 2014 | 2014 | New York
Bowline Point | 2625_B_1 | BART NOx | 0.15 lb/MMBTU |  | 2014 |  | New York
Bowline Point | 2625_B_2 | BART NOx | 0.15 lb/MMBTU |  | 2014 |  | New York
Sherburne County | 6090_B_3 | BART SO2 |  | 0.29 lb/MMBTU |  | 2017 | Minnesota
Laramie River Station | 6204_B_3 | BART NOx & BART SO2 | 0.15 lb/MMBtu | see note iii below | 2018 | 2018 | Wyoming
Antelope Valley | 6469_B_B1 | BART NOx | 0.17 lb/MMBTU |  | 2018 |  | North Dakota
Antelope Valley | 6469_B_B2 | BART NOx | 0.17 lb/MMBTU |  | 2018 |  | North Dakota
Roseton Generating Station | 8006_B_1 | BART SO2 |  | 0.55 lb/MMBTU |  | 2014 | New York
Roseton Generating Station | 8006_B_2 | BART SO2 |  | 0.55 lb/MMBTU |  | 2014 | New York
White Bluff | 6009_B_1 | BART SO2 & Cease coal burning end of 2028 |  | 0.60 lb/MMBtu |  | 2021-08-07 | Arkansas
White Bluff | 6009_B_2 | BART SO2 & Cease coal burning end of 2028 |  | 0.60 lb/MMBtu |  | 2021-08-07 | Arkansas
Flint Creek | 6138_B_1 | BART SO2 |  | 0.06 lb/MMBtu |  | 2018-08-07 | Arkansas
Carl Bailey | 202_B_01 | BART SO2 |  | 0.5% sulfur limit on fuel |  | 2021-10-27 | Arkansas
McClellan | 203_B_01 | BART SO2 |  | 0.5% sulfur limit on fuel |  | 2021-10-27 | Arkansas
Little Gypsy | 1402_B_3 | Burn ultra-low sulfur diesel |  |  |  | 2017-12-21 | Louisiana
Nine Mile Point | 1403_B_4 | Burn ultra-low sulfur diesel |  |  |  | 2017-12-21 | Louisiana
Nine Mile Point | 1403_B_5 | Burn ultra-low sulfur diesel |  |  |  | 2017-12-21 | Louisiana
Waterford 1 & 2 | 8056_B_1 | Burn only 1% sulfur content or less in the fuel oil |  | 1% sulfur limit on fuel |  | 2017-12-21 | Louisiana
Wyodak | 6101_B_BW91 | BART NOx | 0.23 lb/MMBtu |  |  | 2019 | Wyoming
R S Nelson | 1393_B_6 | BART SO2 |  | 0.6 lb/MMBtu (30 day rolling average, conventional rounding) |  | 2020-12-21 | Louisiana
Note:
i) Above table does not reflect all BART units, only those that have unit-specific requirements.
ii) BART units where CSAPR, a state program, or litigation suggests no current unit-specific requirement are not reflected.
iii) UT, WY and NM participate in the SO2 backstop trading program for regional haze. EGU BART sources in these states are not subject to source-specific BART emission limits so long as total emissions for the three states remain below a specified cap (141,849 tpy in 2018).