## Month YEAR
US Environmental Protection Agency Region 8
Drinking Water Section, 1595 Wynkoop Street, Denver, CO 80202-1129, R8DWU@epa.gov
https://www.epa.gov/region8-waterops
Maximum Residual Disinfectant Level (MRDL) Reporting Form for
Chlorine Dioxide (ClO2)
| PWS ID No: |  |  |  | SYSTEM NAME:
| PREPARED DATE: |  |  |  | PREPARED BY:
TITLE:
REPORTING PERIOD:
Current Year: |  |  |  | Does distribution system maintain a free chlorine residual? | [6 empty] | No
Month: |  |  | Does system add additional chlorine in distribution system downstream of the point of entry? | [7 empty] | No
Report Due: | Need Year
DAILY MEASUREMENTS:
Day | Water Treatment Plant |  |  | Distribution System (Near 1st Customer) |  |  |  | Distribution System (Whole System) |  |  |  | Potential Violation
| ClO2 Equipment in Use? | Chlorine Dioxide (ClO2) Point of Entry | Previous Day over MCL? | Additional Samples Required? | ClO2 | ClO2 | ClO2 | Additional Samples Required? | ClO2 Near 1st Customer | ClO2 Average Residence Time | ClO2 Maximum Residence Time |  | 1st Cust. | Whole
[5 empty] | at 0 hours | at 6 hours | at 12 hours | [5 empty] | Samples | Samples | 1st Customer | 1st Customer | Whole System | Whole System | Consecutive Day | Consecutive Day | Plant Running | Max Violation | Calendar
|  | mg/L |  |  | mg/L | mg/L | mg/L |  | mg/L | mg/L | mg/L |  | Required? | Required? | MCL | FTM | MCL | FTM | Average | Average | FTM |  |  | Regular Months | Y/N
| No |  |  | For this day, see report for Previous Month |  |  |  | For this day, see report for Previous Month | [15 empty] | January | Yes
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | February | No
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | March
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | April
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | May
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | June
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | July
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | August
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | September
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | October
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | November
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 |  | December
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 | First Listed Day
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 | Reporting Period Begins | 1,
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 | Reporting Period Ends
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0 | Report Due
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
| No | [11 empty] | Yes |  | No | No | No | No | No | No | No | 0
[13 empty] | Yes |  | No | No | No | No | No | No | No | 0
[13 empty] | Yes |  | No | No | No | No | No | No | No | 0
[13 empty] | Yes |  | No | No | No | No | No | No | No | 0
REPORT SUMMARY:
Maximum ClO2 Residual |  |  |  | mg/L | [16 empty] | Max Violation | 0
ClO2 Violation |  | No
INSTRUCTIONS FOR COMPLETING
1. PWS ID No.: Enter the PWS ID assigned to your public water system.
2. System Name: Enter the System Name.
3. Prepared date: Enter the date that the final report is prepared.
4. Prepared by: Enter the name of the person completing the form.
5. Title: Enter title/position of individual preparing the form.
6. Reporting Period Year: Enter the year of the reporting period.
7. Reporting Period Month: Select the month of the reporting period.
8. Report Due: The due date of the report will appear.
9. Distribution using free chlorine question: If the distribution system maintains a free chlorine residual, indicate "Yes." Otherwise, inicate "No."
10. Additional chlorine question: If the system adds additional chlorine downstream of the point of entry into the distribution system, indicate "Yes." Otherwise, indicate "No."
11. Day: The day will automatically appear once the reporting period is entered above.
12. ClO2 Equipment in Use: If chlorine dioxide was added to the water at any time of the day, indicate "Yes". Otherwise, indicate "No."
13. Chlorine Dioxide (ClO2) Point of Entry: Enter the point of entry chlorine dioxide measurement. Please note, chlorine in ClO2 has an oxidative state of 4.
14. Previous Day over MCL: This will indicate whether the previous day's samples were over 0.80 mg/L.
15. Near 1st Customer Additional Samples Required: This will indicate whether the 3 samples near the 1st customer are required.
16. ClO2 at 0 hours: If required, collect this sample prior to 11:30 AM.
17. ClO2 at 6 hours: If required, collect this sample 6 hours later than the sample collected in Step 16.
18. ClO2 at 12 hours: If required, collect this sample 12 hours later than the sample collected in Step 16.
19. Distribution System Additional Samples: This will indicate whether the 3 samples throughout the distribution system are required.
20. ClO2 Near 1st Customer: If required, collect a sample near the 1st customer. This can be the same sample as required in Step 16.
21. ClO2 Average Residence Time: If required, collect a sample near the middle of the distribution system, or the location of average water age for the distribution system.
22. ClO2 Maximum Residence Time: If required, collect a sample at the end of the distribution system, or the location of the oldest water age.
23. Violation: This column will indicate whether a potential violation has occurred.
Acute Violations = Please contact the DBP Rule Manager immediately for assistance.
Nonacute Violations = Please contact the DBP Rule Manager within forty eight (48) hours.
Formulas:
Regular Months = IF(B15="","",EOMONTH([Regular Months, row above],0))