## Table of Contents
Appendix A
United States Environmental Protection Agency
National Ambient Air Monitoring Technical System Audit Form
Table of Contents
1) General
a) Key Individuals
b) Facilities
c) General Documentation Policies
d) Training
e) Oversight of Contractors and Supplies
2) Quality Management
a) Independent Quality Assurance and Quality Control
1) Status of QA Program
2) Internal Performance Evaluation Audits
b) Planning Documents including QMP, QAPP, & SOP
c) Corrective Action
d) Quality Improvement
e) External Performance Audits
3) Network Management
a) Network Design
b) Siting
c) Waivers
d) Documentation
4) Field Operations
a) Field Support
b) Calibration
c) Repair
d) Record Keeping
5) Laboratory Operations - PM
a) Routine Operations
b) Quality System
c) Laboratory Quality Control
d) Laboratory Preventive Maintenance
e) Laboratory Record Keeping
f) Laboratory Data Acquisition and Handling
g) Pollutant-Specific Questions - PM2.5, PM10
6) Laboratory Operations - Pb and Others
a) Routine Operations
b) Chemical
c) Lead (Pb)
d) Lab QA/QC
7) Data and Data Management
a) Data Handling
b) Software Documentation
c) Data Validation and Correction
d) Data Processing
e) Internal Reporting
Attachments

## 1) General
1) General
Monitoring Organization/Agency/PQAO audited :
Address:
City, State, and Zip Code:
Date of Technical Systems Audit:
a) Key individuals:
Title |  |  | Name
*Attach an Organizational Chart (use Attachment tab or send separately )
Key position staffing. Number of personnel available to each of the following program areas:
Program Area |  | Number of People (Primary) |  | Number of People (Backup) |  | Vacancies
Network Management (site setup, siting, ANP, etc.)
Field Operation (QC checks, site visits, site maintenance, etc.)
Quality management (audits, QA documentation, certifications etc.)
Data and Data Management (data review, validation and acquisition system, AQS, etc.)
Technical support (equipment repair and maintenance)
Comment below on the need for additional personnel, if applicable:
Enter text here.
b) Facilities
Identify the principal facilities where the agency conducts work that is related to air monitoring. Do not include monitoring stations but do include facilities where work is performed by contractors or other organizations.
Ambient Air Monitoring Function | Facility Location |  | Comment on any significant changes to be implemented within the next one to two years.
Instrument repair
Certification of Standards (e.g. gases, flow transfers, MFCs)
PM filter weighing
Pb analysis
Data verification and processing
General office space
General lab/work space
Storage space, short and long term
Air Toxics (Carbonyls, VOCs, Metals)
Indicate below any facilities that should be upgraded or any needs for additional physical space (laboratory, office, storage, etc.).
Enter text here.
c) General Documentation Policies
Question |  |  | Yes/No |  | Comment
Does the agency have a documented records management plan?
If yes, does this include electronic records?
Does the agency have a method to track files considered official records and their media type (i.e. paper, electronic)?
Does the agency have a schedule for retention and disposition of records?
Are records kept for at least three years?
Who is responsible for the storage and retrieval of records?
What security measures are utilized to protect records?
Where/when does the agency rely on electronic files as primary records?
What is the system for storage, retrieval and backup of these files?
d) Training
Question |  |  | Yes/No |  | Comment
Does the agency have a training plan?
Where is it documented?
Does it make use of seminars, courses, EPA -sponsored college level courses, etc.?
Are personnel cross-trained for other ambient air monitoring duties?
Are training funds specifically designated in the annual budget?
Does the training plan include: |  |  | Yes/No |  | Comment
Training requirements by position?
Frequency of training?
Training for contract personnel?
A list of core QA-related courses?
Indicate below the most recent training events and identify the personnel participating in them.
Event |  |  | Dates |  | Participant(s)
e) Oversight of Contractors and Supplies
Question Contractors |  |  | Yes/No |  | Comment
Who is responsible for oversight of contract personnel?
What steps are taken to ensure contract personnel meet training and experience criteria?
How often are contracts reviewed and/or renewed?
Question Suppliers |  |  | Yes/No |  | Comment
Have specifications been established for consumable supplies and/or for equipment?
What supplies and equipment have established specifications?
Is equipment from suppliers open for bid?

## 2) Quality Management
2) Quality Management
Key Individuals:
Title |  | Name
a) Independent Quality Assurance (QA) and Quality Control (QC)
1. Status of Quality Assurance Program
Question |  |  |  |  | Yes/No | Comment
Does the agency perform all QA activities with internal personnel (i.e. developing QMPs/QAPPs/SOPs, developing DQOs, performing systems audits, assessments and performance evaluations, corrective actions, validating data, QA reporting, etc.)? If no, in the comment field (or on the attachment tab), indicate who is responsible and which QA activities are performed.
If the agency has in place contracts or similar agreements either with another agency or contractor to perform audits or calibrations, please name the organization and briefly describe the type of agreement.
Does the agency perform all QC activities with internal personnel (i.e. zero/span/one-point QC checks; calibrations; flowrate, temperature, pressure and humidity checks; certifying/recertifying standards; lab and field blanks, data collection; balance checks; leak checks; etc.)?
Has the agency established and documented criteria to define agency acceptable QC results? In the comment section indicate where QC criteria is documented (ex. SOPs, QAPP, memorandum, etc.)
Pollutant | Does the agency adhere to the critical QC acceptance criteria1 for criteria pollutants and meteorological measurements? (Yes or No) | QC Acceptance Criteria (If other than validation templates) |  | Describe corrective action taken if criteria are exceeded? |  | Indicate Action Levels or Warning Limits used.
[7 empty] | CO | Yes
[7 empty] | O3 | No
NO2
SO2
PM10
PM2.5
Pb
VOCs
Carbonyls
1 QA Handbook Volume II, Appendix D Validation Templates & Handbook for Air Pollution Measurement Systems, Appendix C Validation Templates and Quality Assurance Handbook for Air Pollution Measurement Systems: Volume IV: Meteorological Measurements Version 2.0 | [6 empty] | Trace Levels (NO2)
2. Internal Performance Evaluation (PE) Audits | [6 empty] | NOy
Question |  |  |  | Yes/No | Comment
Does the agency maintain a laboratory to support quality assurance activities?
Has the agency documented and implemented specific audit SOPs separate from monitoring SOPs?
Are the QA personnel organizationally independent from the personnel responsible for generating environmental data? (40 CFR Part 58 Appendix A Section 2.2) If no, please explain in the comment field.
Are annual performance evaluations (audits) conducted by technician(s) other than the routine site operator(s)? (40 CFR Part 58 Appendix A Section 3.1.2) If no, please explain in the comment field.
Does the agency have identifiable auditing equipment and standards (specifically intended for sole use) for audits?
Is audit equipment ever used to support routine calibration and QC checks required for monitoring network operations? If yes, please explain in the comments field.
If the agency does not have a performance audit SOP (included as an attachment), please describe performance audit procedure for each type of pollutant:
Pollutant | Performance Audit Procedure
Use the table below to provide information on certification of audit standards (ex. flowmeters, gas standards, etc.) currently being used.
Vendor | Audit Standard | Certification |  | Certification Frequency |  |  | Internal | Quarterly
[7 empty] | External | Semi-annually
[7 empty] | Not Certified | Annually
[7 empty] | Not Verified | Bi-annually
Based on vendor recommendation
Occasionally
Never
Question |  |  |  | Yes/No | Comment
Does the agency have a separate certified source of zero air for performance audits? | [8 empty] | 1970
Does the agency have procedures for auditing and/or validating performance of Meteorological monitoring? | [8 empty] | 1971
Use the table provided below to list the agency’s audit equipment and age of audit equipment. | [8 empty] | 1972
Manufacturer | Make and Model Number | Purchase Year or Year Acquired | [6 empty] | 1973
1974
1975
1976
1977
1978
1979
1980
1981
Question |  |  |  |  | Yes/No | Comment |  |  | 1982
Has the agency established and documented criteria to define agency acceptable audit results? If yes, in the comment section indicate where criteria is documented (ex. SOPs, QAPP, memorandum, etc.) | [8 empty] | 1983
1984
Pollutant | Does the agency adhere to the audit acceptance criteria1 for criteria pollutants? (Yes or No) | PE audit Acceptance Criteria (If other than validation templates) |  | Do the audit levels (gaseous PE audits only) meet 40 CFR Part 58 App. A Sect.3.1.2.1 criteria? (Yes or No) | Describe corrective action taken if criteria are exceeded? |  |  |  | 1985
1986
1987
1988
1989
1990
1991
1992
1993
1994
1995
1996
1997
1998
1999
2000
1 QA Handbook Volume II, Appendix D Validation Templates | [8 empty] | 2001
b) Planning Documents including QMP, QAPP, & SOP | [8 empty] | 2002
QMP Questions |  |  |  | Yes/No |  |  |  |  | 2003
Does the agency have an approved quality management plan (QMP)? | [8 empty] | 2004
If yes, who approves the QMP (EPA, Self-approval, PQAO, etc.)?
Is the quality management plan multi-media, or air-specific? | [8 empty] | 2005
Does the agency have any QMP revisions still pending EPA approval? | [8 empty] | 2006
Has the QMP been approved by EPA within the last five years? | [8 empty] | 2007
What is the approval date of the QMP? | [8 empty] | 2008
QAPP Questions |  |  |  | Response |  |  |  |  | 2009
Does the agency have an EPA‑approved QAPP? | [8 empty] | 2010
If no EPA-approved QAPPs, has the agency been delegated self-approval? | [8 empty] | 2011
How often does the air monitoring agency review QAPPs? | [8 empty] | 2012
Does the agency have any QAPP revisions still pending EPA approval? | [8 empty] | 2013
How does the agency verify the QAPP is fully implemented? | [8 empty] | 2014
How are staffed notified and trained when a QAPP is revised? | [8 empty] | 2015
What personnel regularly receive updates? | [8 empty] | 2016
Does the agency have any missing QAPPs that need to be developed? | [8 empty] | 2017
List any missing QAPPs. | [8 empty] | 2018
2019
Complete QAPP table. | [8 empty] | 2020
QAPP Title | Approval Date | Pollutant | Status | [5 empty] | 2021
[7 empty] | Approved |  | 2022
[7 empty] | Not Approved |  | 2023
[7 empty] | In Development |  | 2024
[7 empty] | In Review |  | 2025
[7 empty] | Not Created |  | 2026
2027
2028
2029
2030
SOP Questions |  |  |  | Response
Are all Standard Operating Procedures (SOP) complete, or are some SOPs in development?
Are any monitoring SOPs needed?
If yes, list SOPs that need to be developed?
Are SOPs available to all field operations personnel?
Are SOPs for "episodic monitoring" prepared and available to field personnel? Refer to QA Handbook Vol 2, Section 6.0
Are SOPs based on the framework contained in Guidance for Preparing Standard Operating Procedures (EPA QA/G-6)?
Does the agency have specific SOPs to data handling and data validation?
Who approves SOPs?
How often are SOPs reviewed and updated?
How are staffed notified and trained when a SOP is revised?
Complete SOP table.
SOP Title | Approval Date | Pollutant | Status
c) Corrective Action
Question |  |  |  | Yes/No
Does the agency have an operational, documented, and comprehensive corrective action program in place?
As a part of the QAPP?
As a separate or part of a SOP?
Does the agency have established and documented corrective action limits for QA and QC activities?
Are corrective actions procedures based on results of the following which exceed established limits:
1-Point QC checks
Calibrations and zero/span checks
Flow Rate Verifications
Performance evaluations (gaseous audits and semi-annual flow rate audits)
Precision goals (collocated PM2.5 and PM10)
Bias goals
NPAP audits
PEP audits
Completeness goals
Data audits
Technical Systems Audit
How is responsibility for implementing corrective actions assigned? Briefly discuss.
How does the agency follow up after corrective actions are implemented?
Briefly describe recent examples of the ways in which the above corrective action system was employed to remove problems.
d) Quality Improvement
Question |  |  |  | Response
What actions were taken to improve the quality system since the last TSA?
Since the last TSA, do your control charts indicate that the overall data quality for each pollutant steady or improving? | [9 empty] | Improving
What was the cause when goals for measurement uncertainty per 40 CFR Part 58 Appendix A were not met? | [9 empty] | Steady
Have all deficiencies indicted on the previous TSA report been corrected? | [9 empty] | Control charts not used
If no, please explain.
What are your agency's plans for quality improvement?
e) External Performance Audits
Question |  | Response
Does your agency participate in the following:
NPAP
PM2.5, PEP
Lead (Pb) PEP
Lead (Pb) Strip Audit
Ambient Air Protocol Gas Verification Program (AA_PGVP)
Round Robin metal PT
If the agency does not participate, please explain why not:
List other performance audits performed by an external party and/or using external standards.
Who performs NPAP and PEP audits?

## 3) Network Management
3) Network Management
Key Individuals:
Title |  | Name
a) Network Design
For monitoring organizations and agencies that do not submit the annual network plan required by 40 CFR 58.10, please complete the table below. Please insert additional lines as needed.
Site Name | AQS Site ID # | Pollutants Monitored |  | Proposed Changes
b) Siting
Question |  |  | Yes/No | Comment
Does the current level of monitoring effort, station placement, instrumentation, etc., meet requirements imposed by current grant conditions?
Are there any issues?
How often are site evaluations for 40 CFR Part 58 Appendix E criteria conducted? |  |  | Frequency:
Date of last review:
Indicate by AQS Site ID # any non-conformance with the requirements of 40 CFR 58, Appendix E.
Monitor | AQS Site ID # | Type of Non-Conformance |  |  | Reason for Non-Conformance | Horizontal and Vertical Placement
Spacing from Minor Sources
Spacing from Obstructions
Spacing from Trees
Spacing from Roadways
Probe Material
Residence Time
Other
c) Waivers
Question |  |  | Yes/No | Comment
Does your agency have any waivers?
Does your agency plan to request any waivers? If yes, please identify waivers in the Comment Section.
Has your agency obtained necessary waiver provisions to operate equipment which does not meet the effective reference and equivalency requirements?
Do any sites vary from the required frequency in 40 CFR 58.12?
Does the number of collocated monitoring stations meet the requirements of 40 CFR Part 58 Appendix A?
Indicate any waivers requested or granted by the Regional Office. Please provide waiver documentation. | [5 empty] | Instrument
Waiver Type |  |  | Reason for Non-Conformance |  |  | Method
Source/Nonsource oriented
Operating schedule
Collocation
Substitution
Location
To collect
Probe & Monitoring path siting criteria
Other
d) Documentation
Question |  |  | Yes/No | Comment
Are hard copy or electronic site information files retained by the agency for all air monitoring stations within the network?
Does each station have the required information including:
AQS Site ID Number?
Photographs of the four cardinal compass points?
Startup and shutdown dates?
Documentation of instrumentation?
Who has custody of the current network documents |  |  | Name:
Title:

## 4) Field Operations
4) Field Operations
Key individuals:
Title |  |  |  | Name
a) Field Support
Question
On average, how often are most of your stations visited by a field operator? | [5 empty] | Per
Is this visit frequency consistent for all data collecting organizations within your agency?
On average, how many stations does a single operator have responsibility for?
How many sites (SLAMS/NCore) have sampling manifolds?
Do the sample inlets and/or manifolds meet the requirements for through-the-probe audits?
Briefly describe most common manifold type. | [10 empty] | days
How often are Manifolds cleaned? |  |  |  |  | Every | [5 empty] | weeks
What is used to perform the cleaning? | [10 empty] | years
Are manifold(s) equipped with a blower?
Is there sufficient air flow through the manifold/sampling line(s) at all times? | [5 empty] | Approximate air flow: |  |  |  |  | cfm | seconds
How is the air flow through the manifold/ sampling line(s) monitored? | [10 empty] | cc/min | minutes
What is the average residence time?
How often is the residence time calculated? |  |  |  |  | Every
Sampling lines: 1. What is used for instrument sampling lines?
2. Is there a conditioning period for the manifold after cleaning? | [5 empty] | Length of time:
3. How often are lines changed? |  |  |  |  | Every
Do you utilize uninterruptable power supplies or backup power sources at your sites?
What instruments or devices are protected?
b) Instrument Acceptance
Please list instruments in your inventory
Pollutant |  |  | Number | Make & Model |  |  | Reference or Equivalent number |  |  | SO2 |  | SO2
[10 empty] | NO2 |  | NO2
[10 empty] | CO |  | CO
[10 empty] | O3 |  | O3
[10 empty] | PM10 |  | PM10
[10 empty] | PM2.5 |  | PM2.5 FRM mass
[10 empty] | Pb |  | Pb
[10 empty] | Multi gas calibrator |  | PM2.5 speciation
[10 empty] | PM2.5 speciation |  | PM10-2.5 FRM mass
[10 empty] | PM10-2.5 speciation |  | PM10-2.5speciation
[10 empty] | PM10-2.5 FRM mass |  | Continuous PM2.5 mass
[10 empty] | Continuous PM2.5 mass |  | Trace levels (CO)
[10 empty] | Trace levels (CO) |  | Trace levels (SO2)
[10 empty] | Trace levels (SO2) |  | Trace levels (NO)
[10 empty] | Trace levels (NO) |  | Trace levels (NOy)
[10 empty] | Trace levels (NOy) |  | Total reactive nitrogen
[10 empty] | Wind speed |  | Surface Meteorology
Wind direction
Solar radiation
1) Instrument Needs | [9 empty] | Relative humidity
Please list your instrument needs in order of priority. | [9 empty] | Zero air system/generator
Enter text here.
c) Calibration
Please indicate the frequency of multi point calibrations.
Pollutant |  | Frequency |  | Back of Instrument or Through the Probe | [5 empty] | Back of Instrument
Through the Probe
Question |  |  |  |  | Yes/No | Response
How are field calibration procedures documented, and how are the results recorded?
Are calibrations performed in keeping with the guidance in Vol II of the QA Handbook?
Are calibration procedures consistent with the operational requirements of Appendices to 40 CFR Part 50 or to analyzer operation/instruction manuals? | [5 empty] | If no, why not?
Have changes been made to calibration methods based on manufacturer’s suggestions for a particular instrument?
Do standards used for calibrations meet the requirements of appendices to 40 CFR Part 50 (EPA reference methods) and Appendix A to 40 CFR Part 58 (traceability of materials to NIST, SRMs or CRMs)? | [5 empty] | Comment on deviations.
Are all flow-measurement devices NIST-traceable? | [5 empty] | If no, why not?
c) Certification - Flow devices
Please list the authoritative standards used for each type of flow measurement, indicate the certification frequency of standards to maintain field material/device credibility.
Flow Device |  | Serial Number |  | Primary Standard |  | Frequency of Certification |  | Use?
calibration
audit
[13 empty] | spare | HiVol Orifice
Streamline
TriCal
BIOS
[12 empty] | internally (by agency) |  | DeltaCal
Question | [5 empty] | Response | [5 empty] | by a vendor |  | Gilibrators
How are certifications performed? (internally, by a vendor, or by a third party? | [11 empty] | by a third party |  | Manometer
Where do field operations personnel obtain gas standards? | [13 empty] | Other
How are the gas standards verified after receipt?
What equipment is used to perform calibrations (e.g., dilution devices) and how is the performance of this equipment verified? | [10 empty] | NIST Standard Reference Material (NIST SRM)
Do the dilution air flow control and measurement devices conform to CFR requirements? | [10 empty] | EPA/NIST-approved Certified Reference Material (CRM)
What traceability is used? | [10 empty] | NIST-certified Gas Manufacturer's Internal Standard (GMIS)
Is calibration equipment maintained at each station? | [10 empty] | Other
How is the functional integrity of this equipment documented?
Who has responsibility for maintaining field calibration standards?
*Please attach an example of recent documentation of traceability. (Use Attachment tab or send separately )
*Please provide copies of certifications of all standards currently in use from your master and/or satellite standard certification logbooks (i.e., chemical standards, ozone standards, flow standards, and zero air standards).
Please list the authoritative standards and frequency of each type of dilution, permeation and ozone calibrator and indicate the certification frequency.
Standard / Ozone Calibrator |  |  | Primary Standard |  | Frequency of Certification / Calibration
Provide a flow diagram establishing traceability from the SRP (Level 1) to the ozone transfer standards in your network. | [12 empty] | O3 - Level 2
O3 - Level 3
c) Repair | [12 empty] | O3 - Level 4
Who is responsible for performing preventive maintenance? | [5 empty] | Enter text here. | [6 empty] | O3 - Level 5
Is special training provided them for performing preventive maintenance? Briefly comment on background or courses. | [5 empty] | Enter text here. | [6 empty] | Dilution calibrator air and gas flow controllers
How Is this training reinforced? | [5 empty] | Enter text here. | [6 empty] | Ozone generator
What is your preventive maintenance schedule for each type of field instrumentation? | [5 empty] | Enter text here. | [6 empty] | Other
If preventive maintenance is MINOR, it is performed at (Put an "X" in one or more):
| Field Station |  | Headquarters Facilities |  |  | Equipment sent to manufacturer. |  |  | PQAO
If preventive maintenance is MAJOR, it is performed at (Put an "X" in one or more):
| Field Station |  | Headquarters Facilities |  |  | Equipment sent to manufacturer. |  |  | PQAO
Does the agency have service contracts or agreements in place with instrument manufacturers? Indicate below or attach additional pages to show which instrumentation is covered? | [5 empty] | Enter text here. | [8 empty] | X
Comment briefly on the adequacy and availability of the supply of spare parts, tools and manuals available to the field operator to perform any necessary maintenance activities. Do you feel that this is adequate to prevent any significant data loss? | [5 empty] | Enter text here.
Is the agency currently experiencing any recurring problem with equipment or manufacturer(s)? If so, please identify the equipment or manufacturer, and comment on steps taken to remedy the problem. | [5 empty] | Enter text here.
d) Record Keeping
Question |  |  |  |  | Yes/No | Comment
What type of station logbooks are maintained at each monitoring station? (maintenance logs, calibration logs, personal logs, etc.)
What information is included in the station logbooks?
Who reviews and verifies the logbooks for adequacy of station performance?
How is control of logbook maintained?
Where is the completed logbook archived?
What other records are used?(check those used and describe any others)
Zero span record?
Gas usage log?
Maintenance log?
Log of precision checks?
Control Charts?
A record of audits?
Please describe the use and storage of these documents:
Enter text here.
Are calibration records (or calibration constants) available to field operators?
*Please attach an example field calibration record sheet to this questionnaire.

## 5) Lab Operations-PM
5) Laboratory Operations - PM
Laboratory Name:
Laboratory Address:
Key Individuals:
Title |  |  |  | Name
a) Routine Operations
In the table below, identify which of the following analyses are performed in the laboratory and state the method used to conduct the analyses.
| Pollutant |  | Method
PM2.5
Low-Volume PM10
Hi-Volume PM10
Please describe areas where there have been difficulties meeting the regulatory requirements for any of the above methods. | [12 empty] | TSP
Enter text here. | [12 empty] | Pb
b) Quality System | [12 empty] | TSP- Metals
Question |  |  |  |  | Yes/No | Comment | [6 empty] | PAMS-VOC
Are procedures for the methods listed above included in the agency's QA Project Plan? | [12 empty] | Carbonyls
Have the laboratory SOPs been reviewed and approved? If yes indicate in the comment section who approves them (ex. agency, third party, PQAO, EPA, etc.) | [10 empty] | Monitoring Agency
Are SOPs easily and readily accessible for use and reference within the laboratory? If not, where are the documents stored? | [10 empty] | PQAO
Does the lab have sufficient instrumentation to conduct the analyses? | [10 empty] | EPA
Are separate facilities maintained for weighing the different sample types (e.g., hi-volume vs low-volume), or is one weighing room utilized for all samples? Describe. | [10 empty] | Third Party
Does your laboratory hold certifications? (EPA, NIST, State, NELAC, or other)
Does your laboratory operate under a Quality Assurance Manual or equivalent document?
Does your laboratory participate in performance evaluation programs?
Does your laboratory have a corrective action process for non-conforming work?
Does your laboratory have a laboratory staff person assigned the role of Quality Assurance Officer?
Please describe needs for laboratory instrumentation.
Enter text here.
b) Laboratory Quality Control
Please identify the equipment and standards used in support of the gravimetric laboratory, including any quality assurance standards (such as additional weight sets or portable RH/temperature probes).
Lab Standard |  | Pollutant |  | Brand (Make) | Model (Class) |  | Calibration/ Certification/ Expiration Date |  |  |  | Balance |  |  | PM2.5
[11 empty] | Primary Weights |  |  | Low Volume PM10
[11 empty] | Working Weights |  |  | High Volume PM10
[11 empty] | Relative Humidity (RH) |  |  | TSP
Temperature
RH/Temp Logger
*Please have calibration/certification records available for all laboratory standards.
Question |  |  |  |  | Yes/No | Comment
What is the accuracy specification of the temperature sensor (logger) used in the gravimetric laboratory?
What is the accuracy specification of the RH sensor (logger) used in the gravimetric laboratory?
What is the accuracy specification for any RH/temp audit device used in the laboratory, if applicable?
Does the laboratory utilize an IR gun to obtain sample shipment temperatures?
If yes, is the IR gun NIST-traceable? Provide the certification expiration date.
If the laboratory does not utilize an IR gun, what device is used to obtain shipment temperature? Please describe its traceability and provide a certification expiration date.
c) Laboratory Preventive Maintenance
Question |  |  |  |  | Yes/No | Comment
Is preventive maintenance performed on laboratory equipment? If yes, in who has the responsibility for performing the preventative maintenance?
If equipment maintenance is performed by laboratory staff, does the SOP detail the procedures to be followed? Provide the SOP title, date, and revision number where the procedures are found.
Is a maintenance log maintained for the balance?
Are service contracts in place for the balance?
If utilizing a weighing room, are service contracts in place for the climate control unit/HVAC?
Describe static control equipment utilized in the weighing room, if applicable.
Does the weighing room undergo routine cleaning activities? On what frequency?
Briefing describe the weighing room cleaning procedure.
d) Laboratory Record Keeping
Question |  |  |  |  | Yes | Comment
Are all samples that are received by the laboratory logged in? Describe how and where.
Discuss sample routing (or attach a copy of the latest SOP which covers this). Attach a flow chart if possible.
Enter text here.
For the following 4 questions, describe the medium used to document the various activities enlisted. | [8 empty] | handwritten ledger logbooks
1. Environmental conditions, weighing session results, balance checks, and weight checks? | [8 empty] | hardcopy forms
2. Serial numbers of filters prepared for the field? | [8 empty] | electronic forms
3. Serial number of filters returning from the field for analysis? | [8 empty] | electronic spreadsheets or workbooks (ex. Excel)
4. General information about daily lab activities, preventive maintenance procedures, and/or other significant events in the laboratory that may impact data quality or the data record? | [8 empty] | access databases
How are data records from the laboratory archived? | [8 empty] | laboratory Information Management Systems (LIMS)
Where? | [8 empty] | N/A
Who has the responsibility? (Identify person/position)
How long are records kept? Indicate the number of months/years.
Does the laboratory SOP contain procedures for sample chain‑of‑custody (COC)?
If yes, indicate the title, date, and revision number and where it can be found.
What type of COC record accompanies the samples?
Does the laboratory maintain original COCs or copies?
Where are the COCs filed?
e) Laboratory Data Acquisition and Handling
Question |  |  |  |  | Yes | Response
Identify those laboratory instruments (e.g., balances, temperature/RH loggers, etc.) which make use of computer interfaces directly to record data.
Are QC data results readily available to the analyst during a weigh session?
Do RH/temperature loggers record values using paper chart records (chart wheels)?
If yes, where are the paper charts maintained?
Are they signed and dated?
What is the laboratory's capability with regards to data recovery? In case of problems, can the laboratory recapture data that may be lost in the event of computer failure? Discuss briefly.
Enter text here.
Does the laboratory maintain an SOP that discusses how to use the laboratory's data acquisition instrumentation? If yes, please provide the SOP title, date, and revision number.
On a separate tab, please provide a flow chart/diagram which illustrates the transcriptions, verifications, validations, and reporting processes the data goes through before being released by the laboratory.
f) Pollutant-Specific Questions - PM10, PM2.5
Question |  |  |  |  | Yes | Response
Does the agency use filters supplied by EPA?
If no, do the filters utilized meet the specifications in 40 CFR Part 50? Who is the vendor? Be prepared to provide documentation to demonstrate acceptance testing results.
Are unexposed filters visually inspected via strong light from a view box for pinholes and other imperfections?
Are unexposed filters equilibrated in a controlled conditioning environment which meets or exceeds the requirements of 40 CFR Part 50? Describe the conditioning room/chamber.
Are the temperature and relative humidity of the conditioning environment (i.e., weigh room or conditioning chamber) monitored? What is the resolution of the data collected (e.g., 1-minute, 5-minute, 1-hour, etc.)? | [9 empty] | 5-second
How often are balance checks performed? | [9 empty] | 30-second
Do the weights (mass reference standards) bracket the weights of the filters being utilized? What are the masses of the weight standards used? | [9 empty] | 1-minute |  | log book
To what sensitivity are filter weights recorded? | [9 empty] | 5-minute |  | filter folder
Are filters packaged for protection while transporting to and from the laboratory? | [9 empty] | 30-minute |  | standard forms
On average, what is the elapsed time in hours between end of sampling and laboratory receipt? | [7 empty] | hours |  | 1-hour |  | tablet
In what medium are field measurements recorded (e.g., in a log book, on a filter folder, or on standard forms)? | [11 empty] | laptop
Are exposed filters reconditioned in the same conditioning environment as the unexposed filters?
How long is the conditioning period?
Briefly describe how exposed filters are prepared for conditioning.
Briefly describe how and where exposed filters are stored after being weighed.
On what frequency are lab blanks utilized?
Are chemical analyses performed on filters? If yes, which? Where are these additional analyses performed? (see Tab 6 for additional questions)

## 6) Lab Operations- Pb & Other
6) Laboratory Operations - Other
Laboratory Name:
Laboratory Address:
Key Individuals:
Title |  |  | Name
a) Routine Operations
In the table below, identify which of the following analyses are performed in the laboratory and state the method used to conduct the analyses.
| Pollutant | Method
Pb - low volume
Pb - high volume
Carbonyls
*Please have calibration/certification records available for all laboratory standards. | [7 empty] | PAMS VOC
Toxics
b) Lead (Pb) | [7 empty] | TSP-Metals
Question |  |  |  | Yes/No | Comment
Is Pb analysis performed by contract laboratory? If yes, provide the laboratory name in the comment section.
What filter media is used for Pb analysis?
Are filter samples visually inspected for defects (e.g. pinholes, tears and non-uniform deposit)?
Are filters invalidated if defects are found? If no, why not?
Are tweezers used to handle filters? If yes, what material are the tweezers made of (ex. Teflon, plastic, metal, etc.)?
What extraction method is used for filters?
What reagents are used to clean glassware?
List standards used for analysis?
Are filter lot blanks analyzed for Pb content at a rate of 20 to 30 random filters per batch of 500 or greater? Only for filters not provided by the EPA.
How often are MDLs determined? | [5 empty] | glass fiber | HNO3 and HCl/ heated ultrasonic bath
How many replicates are used for MDLs? | [5 empty] | quartz | HNO3/ hot block digester
Are MDLs calculated in accordance with 40 CFR part 136, Appendix B? If no, why not? | [5 empty] | PTFE | Other
Are waste HNO3, HCl, and solutions containing these reagents and/or Pb placed in labeled bottles and delivered to a commercial firm that specializes in removal of hazardous waste? | [5 empty] | Other | N/A
c) chemicals
Question |  |  |  | Yes/No | Comment
Are all chemicals and solutions clearly marked with an indication of shelf life?
Are chemicals removed and properly disposed of when the shelf life expires?
Does the laboratory purchase standard solutions, such as those for use with lead or other metals analyses?
Are only ACS grade chemicals used by the laboratory?
Comment on the traceability of chemicals used in the preparation of calibration standards.
d) Lab QA/QC
Question |  |  |  | Yes/No | Comment
Are at least one duplicate, one blank, and one standard or spike included with a given analytical batch?
Briefly describe the laboratory’s use of data derived from blank analyses.
Are criteria established to determine whether blank data are acceptable?
How frequently and at what concentration ranges does the lab perform duplicate analyses?
What constitutes an acceptable agreement?
Please describe how the lab uses data obtained from spiked samples, including the acceptance criteria (e.g., acceptable percent recovery).
Does the laboratory include samples of reference material within an analytical batch? If yes, indicate frequency, level, and material used.
Are mid-range standards included in analytical batches? If yes, describe the frequency, level, and compound.
Are criteria for real time quality control established that are based on the results obtained for the mid-range standards discussed above? If yes, briefly discuss them below or indicate the document in which they can be found.
Are appropriate acceptance criteria for each type of analysis documented?

## 7) Data & Data Management
7) Data & Data Management
Key Individuals:
Title |  |  | Name
a) Data Handling
Question |  |  |  | Yes/No | Comment
Are procedures for data handling (e.g., data reduction, review, etc.) documented? If yes, comment on where.
In what media (e.g., flash drive, cell modem/wireless, telemetry, etc.) and formats do data arrive at the data processing location? Please comment.
How often are data received at the processing location from the field sites and laboratory?
Please provide below a data flow diagram indicating both the data flow within the reporting organization. You can copy and paste it at the end of this worksheet or separately as an attachment.
Question |  |  |  | Yes/No | Comment
Are there any activities being done before data is released to agency internal data processing?
Describe the type of documentation.
How are data actually entered to the computer system (e.g., computerized transcription (copy from disk or data transfer device), manual entry, digitization of strip charts, or other)?
For manual data, is a double‑key entry system used?
b) Software Documentation
Question |  |  |  | Yes/No | Response
Does your agency use any AQS Manuals?
If yes, list the title of manual, version number and date published.
Does the agency have information on the reporting of precision and accuracy data available?
What software is used to prepare air monitoring data for release into the AQS and AirNow database? Including names of the software package, vendor or author, revision numbers, and the revision date.
What is the recovery capability in the event of a significant computer problem ( i.e., how much time and data would be lost)?
Has your agency tested the data processing software to ensure its performance of the intended function are consistent with the QA Handbook, Volume II?
Does your agency document software tests? If yes, provide the documentation.
c) Data Validation and Correction
Question |  |  |  | Yes/No | Comment
Is there documentation in regards to data that has been identified as suspect and subsequently flagged?
Does your agency document the data validation criteria including limits for values such as flow rates, calibration results, or range tests for ambient measurements?
Please describe what action the data validator takes (e.g., flags, invalidate, etc.). if they find data with exceeded QC criteria.
Enter text here.
Please describe how changes made to data that were submitted to AQS and AirNow are documented.
Who has signature authority for approving corrections? |  |  | Name:
Program Function:
What criteria are used to determine a data point be deleted or invalidated? Discuss briefly.
What criteria are used to determine if data need to be reprocessed? Discuss.
Are corrected data resubmitted to the issuing group/record generator for cross‑checking prior to release?
d) Data Processing
Question |  |  |  | Yes/No | Comment
Does the agency generate data summary reports?
Please list at least three reports routinely generated, including the information requested below.
Report Title |  | Distribution |  |  | Period Covered
Question |  |  |  | Yes/No | Comment
How often are data submitted to AQS?
How often are data submitted to AirNow?
Briefly comment on difficulties the agency may have encountered in coding and submitting data following the guidance of the AQS guidelines?
Enter text here.
Does the agency retain a hard copy printout on submitted data from AQS?
Are records kept for at least 3 years by the agency in an orderly, accessible form?
If yes, does this include:
Raw Data
Calculation
QC Data
What reports are used? |  | Enter text here.
Has your agency submitted data along with the appropriate calibration equations used to the processing center?
Are concentrations of PM10 corrected to EPA standard temperature and pressure conditions (i.e.,298K, 760 mm Hg) before input to AQS?
Are concentrations of PM2.5 and Pb reported to AQS under actual (volumetric) conditions?
Are audits on data reduction procedure performed on a routine basis?
If yes, at what frequency? |  |  |  | Enter text here.
Are data precision and accuracy checked each time they are calculated, recorded, or transcribed to ensure that incorrect values are not submitted to EPA?
.
e) Internal Reporting
What internal reports are prepared and submitted as a result of the audits required under 40 CFR 58, Appendix A?
Report Title |  |  | Frequency
What internal reports are prepared and submitted as a result of precision checks also required under 40 CFR 58, Appendix A?
Report Title |  |  | Frequency
Question |  |  |  | Yes/No | Comment
Do either the audit or precision check reports indicated include a discussion of corrective actions initiated based on audit or precision check results?
Who has the responsibility for the calculation and preparation of data summaries? To whom are such summaries delivered?
Name | Title |  | Type of Report |  | Recipient
Identify the individual within the agency with the responsibility for reviewing and releasing the data.
Name |  |  | Program Function
Question |  |  | Yes/No | Comment
Does your agency report to the Air Quality Index (AQI)?
Is Data Certification signed by a senior officer of your agency? |  |  |  | If no, why not?

## Attachments
Use this sheet for attachments.