## Summary
Count of Unique Landfills in this File | Count of Unique Operational Projects in this File
39 | 11
The LMOP Database contains key information about MSW landfills and LFG energy projects in the United States. Information in the LMOP Database is compiled from a variety of sources. Data received for inclusion in the LMOP Database are reviewed for reasonableness and are corroborated via other data sources when possible. Not all data are updated each year. While the Program strives to keep the information as updated and accurate as possible, the database is not exhaustive. The LMOP Database does not include data for every MSW landfill in the United States.
Descriptions for the Options in the "Current Project Status" Field
Operational: Project or expansion is online. |  | Candidate: Landfill is accepting waste or has been closed for five years or less, has at least one million tons of waste, and does not have an operational, under-construction, or planned project; can also be designated based on actual interest by the site.
Shutdown: Project or expansion has ceased operations.
Future Potential: Landfill is open but does not meet the technical criteria for Candidate status yet; or landfill already has an Operational project but there is opportunity for additional energy recovery.
Construction: Construction is underway on project or expansion.
Planned: Planning is underway on project or expansion (between Candidate and Construction). |  | Low Potential: Landfill is closed and does not meet the technical criteria for Candidate status; or landfill is not considered a Candidate due to site-specific information.
Unknown: LMOP Database does not have sufficient data to determine potential for an LFG energy project.

## LMOP Database
GHGRP ID | Landfill ID | Landfill Name | State | Physical Address | City | County | Zip Code | Latitude | Longitude | Ownership Type | Landfill Owner Organization(s) | Year Landfill Opened | Landfill Closure Year | Current Landfill Status | Waste in Place (tons) | Waste in Place Year | LFG Collection System In Place? | LFG Collected (mmscfd) | LFG Flared (mmscfd) | Project ID | Current Project Status | Project Name | Project Start Date | Project Shutdown Date | Project Type Category | LFG Energy Project Type | RNG Delivery Method | Actual MW Generation | Rated MW Capacity | LFG Flow to Project (mmscfd) | Current Year Emission Reductions (MMTCO2e/yr) - Direct | Current Year Emission Reductions (MMTCO2e/yr) - Avoided
1005950 | 669 | Bavarian Trucking Company LF | KY | 12764 McCoys Fork Road | Walton | Boone | 41094 | 38.8631 | -84.656 | Private | Bavarian Waste Services, Inc. | 1973 | 2039 | Open | 9870511 | 2022 | Yes | 2.491 | 0.603 | 739-0 | Operational | Project #1 | 2003-09-22 |  | Electricity | Reciprocating Engine |  | 2.89 | 3.2 | 1.44 | 0.14624 | 0.01395
1005950 | 669 | Bavarian Trucking Company LF | KY | 12764 McCoys Fork Road | Walton | Boone | 41094 | 38.8631 | -84.656 | Private | Bavarian Waste Services, Inc. | 1973 | 2039 | Open | 9870511 | 2022 | Yes | 2.491 | 0.603 | 739-1 | Operational | Project #1, Expansion #1 | 2016-12-31 |  | Electricity | Reciprocating Engine |  | 0.83 | 1.6 | 0.8 | 0.042 | 0.00401
1003413 | 675 | Benson Valley LF | KY | 2157 Highway 151 | Frankfort | Franklin | 40601 | 38.1314 | -84.9807 | Private | Republic Services, Inc. | 1971 | 2062 | Open | 6434779 | 2022 | Yes | 1.93 | 1.93 | 745-0 | Operational | Project #1 | 2023-08-31 |  | Renewable Natural Gas | Other | Pipeline Injection |  |  |  | 0 | 0
1004082 | 674 | Blue Ridge RDF | KY | 2700 Winchester Road | Irvine | Estill | 40336 | 37.7269 | -83.9855 | Private | WM | 1984 | 2044 | Open | 4650991 | 2022 | Yes | 0.673 | 0.382 | 744-0 | Operational | Project #1 | 2013-11-01 |  | Electricity | Reciprocating Engine |  | 0.56 | 1.6 | 0.291 | 0.02834 | 0.0027
1007094 | 11460 | Boyd County Sanitary Landfill | KY | 1837 River Cities Drive | Ashland | Boyd | 41102 | 38.3718 | -82.747 | Private | Rumpke | 2004 | 2109 | Open | 11649949 | 2022 | Yes | 2.937 | 1.337 | 181005-0 | Operational | Project #1 | 2021-05-13 |  | Renewable Natural Gas | Other | Pipeline Injection |  |  | 1.68 | 0.16472 | 0.01452
1008022 | 11480 | Central Kentucky Landfill | KY | 493 Double Culvert Road | Georgetown | Scott | 40324 | 38.3467 | -84.5458 | Private | Waste Services of the Bluegrass | 1994 | 2021 | Closed | 3869433 | 2021 | Yes | 0.566 | 0.482 | 181006-0 | Operational | Project #1 | 2015-11-23 |  | Electricity | Reciprocating Engine |  | 0.11 | 1 | 0.084 | 0.00557 | 0.00053
| 676 | City of Bowling Green LF | KY | 5301 Glen Lily Road | Bowling Green | Butler | 42101 | 37.03 | -86.5275 | Public | City of Bowling Green, KY | 1986 | 1992 | Closed | 2574000 |  | No |  |  | 746-0 | Low Potential |  |  |  | Unknown | Unknown
| 697 | City of Hopkinsville LF | KY | 5665 Mount Zoar Latham Road | Hopkinsville | Christian | 42240 | 36.9413 | -87.5034 | Public | City of Hopkinsville, KY | 1960 | 1997 | Closed | 2439142 |  | No |  |  | 767-0 | Low Potential |  |  |  | Unknown | Unknown
| 698 | City of Owensboro LF | KY | Hill Bridge Road | Owensboro | Daviess | 42303 | 37.68 | -87.0755 | Public | City of Owensboro, KY | 1971 | 1993 | Closed | 2599178 |  | No |  |  | 768-0 | Low Potential |  |  |  | Unknown | Unknown
| 686 | City of Richmond LF | KY |  |  | Madison |  |  |  | Public | Madison County, KY |  | 1992 | Closed |  |  | No |  |  | 756-0 | Low Potential |  |  |  | Unknown | Unknown
| 671 | Cooksey Brothers Disposal Company, Inc. LF | KY | 401 North Big Run Road | Ashland | Boyd | 41102 | 38.3676 | -82.7129 | Private | Doug Smith | 1970 | 2004 | Closed | 4500516 |  | No |  |  | 741-0 | Low Potential |  |  |  | Unknown | Unknown
1003694 | 678 | Dozit Company Inc. Landfill | KY | 4075 State Road 360 | Morganfield | Union | 42437 | 37.743 | -87.9737 | Private | Republic Services, Inc. | 1994 | 2015 | Closed | 2022653 | 2015 | No |  |  | 748-0 | Low Potential |  |  |  | Unknown | Unknown
1003622 | 684 | Epperson Waste Disposal | KY | 2360 Cynthiana Road | Williamstown | Grant | 41097 | 38.6138 | -84.5331 | Private | Republic Services, Inc. | 1993 | 2025 | Open | 10278710 | 2022 | Yes | 1.478 | 1.478 | 754-0 | Candidate |  |  |  | Unknown | Unknown
| 2076 | Floyd County Landfill | KY |  | Martin | Floyd |  |  |  | Public | Floyd County Fiscal Court, KY | 1981 | 1992 | Closed | 346320 |  | No |  |  | 180131-0 | Low Potential |  |  |  | Unknown | Unknown
1005973 | 680 | Glasgow Regional Landfill | KY | 400 Glen Garry Road | Glasgow | Barren | 42141 | 36.9857 | -85.956 | Public | City of Glasgow, KY | 1983 | 2046 | Open | 2951477 | 2022 | Yes | 0.306 |  | 750-0 | Operational | Project #1 | 2016-01-01 |  | Electricity | Reciprocating Engine |  | 0.47 | 1 | 0.26 | 0.02378 | 0.00227
1004483 | 672 | Green Valley Landfill | KY | 100 Addington Drive | Ashland | Greenup | 41102 | 38.399 | -82.811 | Private | Republic Services, Inc. | 1993 | 2101 | Open | 7282677 | 2022 | Yes | 1.5 | 0.532 | 742-0 | Operational | Project #1 | 2003-09-09 |  | Electricity | Reciprocating Engine |  | 1.92 | 2.4 | 0.97 | 0.09715 | 0.00927
| 12121 | Haley Pike Landfill | KY | 4172 Hedger Lane | Lexington | Fayette | 40516 | 38.058 | -84.297 | Public | Lexington-Fayette Urban County Government (LFUCG) | 1977 | 2011 | Closed | 4970000 | 2011 | No |  |  | 181102-0 | Low Potential |  |  |  | Unknown | Unknown
1007240 | 695 | Hardin County Landfill | KY | 1620 Audubon Trace | Elizabethtown | Hardin | 42701 | 37.7361 | -85.6994 | Public | Hardin County Fiscal Court, KY | 1997 | 2184 | Open | 5008945 | 2022 | Yes | 1.379 | 0.737 | 765-0 | Operational | Project #1 | 2006-01-31 |  | Electricity | Reciprocating Engine |  | 1.33 | 2.4 | 0.644 | 0.0673 | 0.00642
1003283 | 11681 | Hopkins County Regional Landfill | KY | 300 Grays Branch Road | White Plains | Hopkins | 42464 | 37.1408 | -87.3996 | Private | Waste Connections, Inc. | 2005 | 2031 | Open | 5836253 | 2022 | Yes | 0.469 | 0.469 | 181035-0 | Candidate |  |  |  | Unknown | Unknown
1002341 | 688 | Laurel Ridge Landfill Inc. | KY | 3612 East Highway 552 | Lily | Laurel | 40740 | 37.0111 | -84.079 | Private | Waste Connections, Inc. | 1978 | 2048 | Open | 8938503 | 2022 | Yes | 0.657 | 0 | 201714-0 | Planned | Project #2 | 2024-12-31 |  | Renewable Natural Gas | Other | Pipeline Injection |  |  | 2.59
1002341 | 688 | Laurel Ridge Landfill Inc. | KY | 3612 East Highway 552 | Lily | Laurel | 40740 | 37.0111 | -84.079 | Private | Waste Connections, Inc. | 1978 | 2048 | Open | 8938503 | 2022 | Yes | 0.657 | 0 | 758-0 | Shutdown | Project #1 | 2003-09-15 | 2023-07-01 | Electricity | Reciprocating Engine |  | 1.22 | 3.2 | 0.677
1005365 | 673 | Lexington/Fayette Landfill | KY | 4216 Hedger Lane | Lexington | Fayette | 40516 | 38.0588 | -84.2976 | Public | Lexington-Fayette Urban County Government (LFUCG) | 1977 | 1995 | Closed | 4645849 | 1995 | No |  |  | 743-0 | Low Potential |  |  |  | Unknown | Unknown
1000374 | 2158 | Maysville-Mason County LF | KY | 7055 Clarkson-Sherman Road | Maysville | Mason | 41056 | 38.5901 | -83.7153 | Public | Mason County Fiscal Court, KY | 1981 | 2073 | Open | 3152740 | 2007 | Yes | 0.35 | 0.35 | 180229-0 | Shutdown | Project #1 | 2009-11-23 | 2010-09-30 | Electricity | Reciprocating Engine |  | 0.225 | 1.6
1000374 | 2158 | Maysville-Mason County LF | KY | 7055 Clarkson-Sherman Road | Maysville | Mason | 41056 | 38.5901 | -83.7153 | Public | Mason County Fiscal Court, KY | 1981 | 2073 | Open | 3152740 | 2007 | Yes | 0.35 | 0.35 | 180229-1 | Shutdown | Project #1, Replacement #1 | 2010-12-01 | 2012-02-28 | Electricity | Reciprocating Engine |  | 0.8 | 0.8
| 677 | McCracken County LF | KY |  |  | McCracken |  |  |  | Public | McCracken County | 1972 | 1996 | Closed | 1718758 |  | No |  |  | 747-0 | Low Potential |  |  |  | Unknown | Unknown
1001642 | 685 | Morehead Landfill Inc. | KY | 300 Old Phelps Road | Morehead | Rowan | 40351 | 38.189 | -83.543 | Private | WM | 1974 | 2052 | Open | 2922765 | 2022 | Yes | 0.801 | 0.33 | 755-0 | Operational | Project #1 | 2019-10-09 |  | Electricity | Reciprocating Engine |  | 0.94 | 1.4 | 0.47 | 0.04757 | 0.00454
1006459 | 2337 | Nelson County SWDF | KY | 1025 Airport Road | Bardstown | Nelson | 40004 | 37.8169 | -85.5392 | Public | Nelson County, KY | 1976 | 2027 | Open | 1973861 | 2022 | No |  |  | 180434-0 | Candidate |  |  |  | Unknown | Unknown
1004467 | 696 | Ohio County Balefill Landfill | KY | 100 Landfill Lane | Beaver Dam | Ohio | 42320 | 37.408 | -86.9325 | Public | Ohio County, KY | 1992 | 2092 | Open | 8228133 | 2022 | Yes | 1.222 | 1.222 | 766-0 | Candidate |  |  |  | Unknown | Unknown
1007901 | 681 | Outer Loop RDF | KY | 2673 Outer Loop | Louisville | Jefferson | 40219 | 38.1358 | -85.7161 | Private | WM | 1969 | 2072 | Open | 39814494 | 2022 | Yes | 6.028 | 0.31 | 200966-0 | Operational | Project #2 | 2018-06-05 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  | 5.72 | 0.56083 | 0.04513
1007901 | 681 | Outer Loop RDF | KY | 2673 Outer Loop | Louisville | Jefferson | 40219 | 38.1358 | -85.7161 | Private | WM | 1969 | 2072 | Open | 39814494 | 2022 | Yes | 6.028 | 0.31 | 751-0 | Shutdown | Project #1 | 1999-05-01 | 2012-12-31 | Direct | Boiler |  |  |  | 0.72
1007901 | 681 | Outer Loop RDF | KY | 2673 Outer Loop | Louisville | Jefferson | 40219 | 38.1358 | -85.7161 | Private | WM | 1969 | 2072 | Open | 39814494 | 2022 | Yes | 6.028 | 0.31 | 751-1 | Shutdown | Project #1, Expansion #1 | 2006-01-01 | 2012-12-31 | Direct | Boiler |  |  |  | 0.49
| 2091 | Perry County Landfill | KY |  | Hazard | Perry | 41701 |  |  | Public | Perry County Fiscal Court | 1986 | 1992 | Closed |  |  | No |  |  | 180147-0 | Low Potential |  |  |  | Unknown | Unknown
1004347 | 683 | Pike County Landfill | KY | 635 Ford Mountian Road | Varney | Pike | 41571 | 37.5816 | -82.4414 | Public | Pike County Fiscal Court, KY | 1993 | 2040 | Open | 2182390 | 2022 | Yes | 0.171 | 0.171 | 753-0 | Candidate |  |  |  | Unknown | Unknown
| 689 | Pulaski Grading LF | KY | 320 Dixie Bend Road | Burnside | Pulaski | 42519 | 36.947 | -84.5467 | Private | Pulaski Grading, Inc. | 1980 |  | Closed | 1255031 |  | No |  |  | 759-0 | Unknown |  |  |  | Unknown | Unknown
1005270 | 679 | Rumpke/Montgomery County LF | KY | 30 Larison Road 8 mi. S. of Mt. Sterling off of KY Rt. 11 | Jeffersonville | Montgomery | 40337 | 37.9506 | -83.9529 | Private | Rumpke | 1973 | 2035 | Open | 6256337 | 2022 | Yes | 0.824 | 0.824 | 749-0 | Construction | Project #1 | 2024-12-31 |  | Renewable Natural Gas | Other | Pipeline Injection
1005271 | 682 | Rumpke/Pendleton County LF | KY | 1374 Bryan Griffin Road 6 mi. N. of Falmouth, N. of Rt. 17 & US 27 INTXN | Butler | Pendleton | 41006 | 38.732 | -84.41 | Private | Rumpke | 1972 | 2030 | Open | 8363773 | 2022 | Yes | 1.724 | 0.498 | 752-0 | Operational | Project #1 | 2007-02-01 |  | Electricity | Reciprocating Engine |  | 2.35 | 3.2 | 1.23 | 0.11891 | 0.01134
1007666 | 694 | Southern Sanitation LF | KY | 478 Coopertown Road | Russellville | Logan | 42276 | 36.8866 | -86.9178 | Private | WM | 1973 | 2015 | Closed | 5821567 | 2015 | Yes | 1.032 | 1.032 | 764-0 | Low Potential |  |  |  | Unknown | Unknown
| 687 | Tri-County Sanitary Landfill, LLC | KY | Williams Hollow Road | Corbin | Whitley | 40702 |  |  | Private | Tri-County Sanitary Landfill, LLC | 1992 |  | Closed | 429000 |  | No |  |  | 757-0 | Unknown |  |  |  | Unknown | Unknown
1003693 | 690 | Tri-K Landfill, Inc. | KY | 1905 Kentucky Highway 3249 | Stanford | Lincoln | 40484 | 37.47 | -84.6599 | Private | Republic Services, Inc. | 1970 | 2303 | Open | 8091578 | 2022 | Yes | 1.424 | 1.424 | 760-0 | Candidate |  |  |  | Unknown | Unknown
1006182 | 670 | Valley View LF | KY | 9120 Sulphur Road | Sulphur | Trimble | 40070 | 38.505 | -85.29 | Private | Republic Services, Inc. | 1983 | 2044 | Open | 19608767 | 2022 | Yes | 2.747 | 2.747 | 740-0 | Planned | Project #1 | 2025-12-31 |  | Renewable Natural Gas | Other | Pipeline Injection
| 693 | Waste Path Sanitary Landfill LLC | KY | 1637 Shar-Cal Road | Calvert City | Marshall | 42029 | 37.0514 | -88.3961 | Private | Waste Path Sanitary Landfill LLC | 1971 |  | Open | 1321513 | 2007 | No |  |  | 763-0 | Candidate |  |  |  | Unknown | Unknown
1005090 | 699 | West Daviess County Landfill | KY | 7772 Hwy 815 | Owensboro | Daviess | 42301 | 37.667 | -87.28 | Public | Daviess County, KY | 1972 | 2053 | Open | 6444961 | 2022 | Yes | 0.428 | 0.428 | 769-0 | Planned | Project #1 | 2025-12-31 |  | Renewable Natural Gas | Other | Unknown
1001952 | 692 | West Kentucky Landfill | KY | 3426 U.S. 45 South | Mayfield | Graves | 42066 | 36.7149 | -88.6748 | Private | GFL Environmental USA Inc. | 1976 | 2031 | Open | 3014050 | 2022 | Yes | 0.038 | 0.038 | 762-0 | Candidate |  |  |  | Unknown | Unknown | Unknown
| 691 | Williams LF | KY | 4876 Kings Church Road | Taylorsville | Spencer | 40071 | 38.1016 | -85.4458 | Private | United Waste Systems | 1973 |  | Closed | 1295153 |  | No |  |  | 761-0 | Unknown |  |  |  | Unknown | Unknown
Note on A1: GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Note on B1: Unique identifying number for each landfill
Note on C1: Landfill name
Note on D1: State landfill is located in
Note on E1: Physical address of landfill
Note on F1: City landfill is located in or near
Note on G1: County landfill is located in
Note on H1: Zip code for the landfill
Note on I1: Latitude coordinate (decimal) for the landfill
Note on J1: Longitude coordinate (decimal) for the landfill
Note on K1: Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Note on L1: Organization that owns the landfill
Note on M1: Year landfill opened or began accepting waste (YYYY)
Note on N1: Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Note on O1: Open/Closed status of landfill
Note on P1: Waste-in-place at the landfill in short tons
Note on Q1: Year corresponding to the waste-in-place at the landfill (YYYY)
Note on R1: Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
Note on S1: Amount of landfill gas being collected in million standard cubic feet per day
Note on T1: Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Note on U1: Unique identifying number combination for "parent" project and "expansion" number
Note on V1: Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Note on W1: Specific project name (if applicable)
Note on X1: Date project or expansion became operational (MM/DD/YYYY)
Note on Y1: Date project or expansion shut down (MM/DD/YYYY)
Note on Z1: Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
Note on AA1: Specific type of LFG energy project technology
Note on AB1: Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Note on AC1: Actual or estimated electric generation in megawatts for electricity-generating projects
Note on AD1: Rated capacity in megawatts for electricity-generating projects
Note on AE1: Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Note on AF1: Direct methane reductions by the energy project for the current year, using global warming potential of 28
Note on AG1: Avoided carbon dioxide emission reductions by the energy project for the current year

## Field Descriptions
Field Name | Description
GHGRP ID | GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Landfill ID | Unique identifying number for each landfill
Landfill Name | Landfill name
State | State landfill is located in
Physical Address | Physical address of landfill
City | City landfill is located in or near
County | County landfill is located in
Zip Code | Zip code for the landfill
Latitude | Latitude coordinate (decimal) for the landfill
Longitude | Longitude coordinate (decimal) for the landfill
Ownership Type | Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Landfill Owner Organization(s) | Organization that owns the landfill
Year Landfill Opened | Year landfill opened or began accepting waste (YYYY)
Landfill Closure Year | Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Current Landfill Status | Open/Closed status of landfill
Waste in Place (tons) | Waste-in-place at the landfill in short tons
Waste in Place Year | Year corresponding to the waste-in-place at the landfill (YYYY)
LFG Collection System In Place? | Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
LFG Collected (mmscfd) | Amount of landfill gas being collected in million standard cubic feet per day
LFG Flared (mmscfd) | Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Project ID | Unique identifying number combination for "parent" project and "expansion" number
Current Project Status | Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Project Name | Specific project name (if applicable)
Project Start Date | Date project or expansion became operational (MM/DD/YYYY)
Project Shutdown Date | Date project or expansion shut down (MM/DD/YYYY)
Project Type Category | Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
LFG Energy Project Type | Specific type of LFG energy project technology
RNG Delivery Method | Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Actual MW Generation | Actual or estimated electric generation in megawatts for electricity-generating projects
Rated MW Capacity | Rated capacity in megawatts for electricity-generating projects
LFG Flow to Project (mmscfd) | Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Current Year Emission Reductions (MMTCO2e/yr) - Direct | Direct methane reductions by the energy project for the current year, using global warming potential of 28
Current Year Emission Reductions (MMTCO2e/yr) - Avoided | Avoided carbon dioxide emission reductions by the energy project for the current year