Lead Consumer Notice of Tap Sample Results

Public Water System Name: ______________________________ Public Water System ID: __________

Sample Location:_______________________________________ Sample Collected On: _________________

Dear___________________________________,

We would like to thank you for your participation in the lead tap monitoring program.  Below is the lead result for the sample location listed above and additional information about lead in drinking water.

For more information on reducing lead exposure around your home and the health effects of lead, visit EPA’s Web site at www.epa.gov/lead, call the National Lead Information Center at 800-424-LEAD, or contact your health care provider.

If you need more information concerning this result, please call the 	____________________________

community water supply at______________________ and ask for______________________________.

# ONLY the statement that is checked below applies to your sample location.

☐  Lead was NOT DETECTED at this sample location.

☐  Lead was detected at________ mg/L (ppm). This result is BELOW the lead action level of 0.015 mg/L (ppm).

☐  Lead was detected at_______ mg/L (ppm). This result is ABOVE the lead action level of 0.015 mg/L (ppm).

# What Does This Mean?

The lead action level for lead in drinking water at 0.015 mg/L (Safe Drinking Water Act). The action level is the concentration of a contaminant which, if exceeded, triggers water treatment or other requirements which a water system must follow. This means utilities must ensure that water from the customer’s tap does not exceed this level in at least 90 percent of the homes sampled (90th percentile value). If water from the tap exceeds this limit, then the utility must take certain steps to correct the problem. Because lead may pose serious health risks, the EPA set a Maximum Contaminant Level Goal (MCLG) of zero for lead. The MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

If detected, your lead level may be due to conditions unique to your home, such as the presence of  lead solder or brass faucets, fittings and valves that may contain lead. Our system works to keep the corrosivity of our water as low as possible (corrosive water can cause lead to leach from plumbing materials that contain lead). We recommend that you to take the steps below to reduce your exposure to lead in drinking water.

Should the lead 90th percentile for this water supply exceed the lead action level, we would take a number of steps to correct the problem. Such steps include: monitor our source water for lead content, initiate controls to reduce the corrosivity of our water, and initiate lead service line replacement if needed.

# What Are the Health Effects of Lead?

Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems.

# What Are the Sources of Lead?

The primary sources of lead exposure for most children are deteriorating lead-based paint, lead- contaminated dust, and lead-contaminated residential soil. Exposure to lead is a significant health concern, especially for young children and infants whose growing bodies tend to absorb more lead than the average adult. Lead is rarely found in source water but enters tap water through corrosion of plumbing materials. Homes built before 1988 are more likely to have lead pipes, fixtures, and solder.

# What Can I Do to Reduce Exposure to Lead in Drinking Water?

If you are concerned about the lead levels at your location, there are several things you can do:

- Run your water to flush out lead. If water hasn’t been used for several hours, run water for 15-30 seconds or until it becomes cold or reaches a steady temperature before using it for drinking or cooking. This will help flush lead-containing water from the pipes.

- Use cold water for cooking and preparing baby formula. Do not cook with or drink water from the hot water tap, lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water will not reduce lead.

- Look for alternative sources or treatment of water.

- Test your water for lead. Call us at the number above to find out how to get your water tested for lead.

- Identify if your plumbing fixtures contain lead. Brass faucets, fittings, and valves, including those advertised as "lead-free,'' may contribute lead to drinking water. The law currently allows pipes, fittings, and fixtures with up to .25 percent weighted average of lead to be identified as "lead-free."