## Compliance
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
COMPLIANCE
TOPIC | SUBTOPIC | TRAINING | DEVELOPER/PROVIDER | TRAINING LEVEL | COURSE DESCRIPTION | LOCATION | FORMAT / FEE
RELEASE DETECTION | Automatic Tank Gauges | Automatic Tank Gauging Systems for Release Detection: Reference Manual for Underground Storage Tank Inspectors (EPA 510-B-00-009). August 2000. | EPA/OUST | Intermediate | This manual can help state and EPA inspectors of underground storage tanks (USTs) evaluate how well UST owners and operators are using their automatic tank gauging (ATG) systems to comply with release detection requirements. Also, the manual provides handouts that UST inspectors can distribute to UST owners and operators to help them understand the proper operation and maintenance of their ATG systems. In its 140-pages, the manual contains a summary of specifications, based on third-party evaluations, for ATG systems that detect leaks from USTs and their piping. Each summary provides information such as certified detectable leak rate/threshold, test period duration, product applicability, calibration requirements, restrictions on the use of the device, vendor contact information, printing and interpreting reports, and sample reports. | https://www.epa.gov/ust/automatic-tank-gauging-systems-release-detection-reference-manual-underground-storage-tank | Online/Free
| Inventory Control | Doing Inventory Control Right for Underground Storage Tanks (EPA 510-B-93-004). November 1993. | EPA/OUST | Intermediate | This 17-page booklet describes inventory control methods that can be used to help owners and operators of underground storage tank (UST) systems meet federal regulatory leak detection requirements. The booklet provides a step-by-step process for inventory control that is clear and easy to follow. | https://www.epa.gov/ust/doing-inventory-control-right-underground-storage-tanks | Online/Free
| Manual Tank Gauging | Manual Tank Gauging for Small Underground Storage Tanks (EPA 510-B-93-005). November 1993. | EPA/OUST | Intermediate | This 12-page booklet explains the Federal and state laws that require underground storage tanks (USTs) to be equipped with leak detection systems. Although much attention has been focused on large USTs, it is important that leaks from smaller tanks (generally less than 2,000 gallons of capacity) also have leak detection systems. This booklet provides simple, easy to follow, step-by-step directions for the correct way to conduct manual tank gauging for these smaller tanks. | https://www.epa.gov/ust/manual-tank-gauging-small-underground-storage-tanks | Online/Free
| Statistical Inventory Reconciliation | Introduction to Statistical Inventory Reconciliation for Underground Storage Tanks (EPA 510-B-95-009). September 1995. | EPA/OUST | Intermediate | This 12-page booklet provides basic information on the statistical inventory reconciliation leak detection method. The booklet covers what the method is, how it works, and factors that impact data quality. This booklet can help assist you in determining if statistical inventory reconciliation is an appropriate leak detection method for your underground storage tank system. | https://www.epa.gov/ust/introduction-statistical-inventory-reconciliation-underground-storage-tanks | Online/Free
| Line Tightness Testing | Petro-Tite Line Tightness Testing | Purpora Engineering | Intermediate | Day and a half class to learn the Petro-Tite Line Tightness Testing system. | http://www.purporaengineering.com/training/ | In-person/Fee Various locations
| 3rd Party Certifications | National Work Group on Leak Detection Evaluations (NWGLDE) | NWGLDE | Advanced | NWGLDE is an independent Work Group comprised of 11 members: 10 of whom represent various states and 1 from the U.S. EPA. All our members are state or federal employees whose full time job is to regulate storage tanks for their agency’s regulatory program. We appreciate these agencies’ willingness to allow our members to participate in the NWGLDE. | http://www.neiwpcc.org/nwglde | Online/Free
UNDERGROUND STORAGE TANKS O & M | Operation and Maintenance | Operating and Maintaining Underground Storage Tank Systems: Practical Help and Checklists (EPA-510-K-16-001). February 2016. | EPA/OUST | Intermediate | This manual contains brief summaries of the federal underground storage tank (UST) requirements for operation and maintenance (O&M), as well as practical help that goes beyond the requirements. Checklists prompt the user to look closely at what kinds of equipment are in use and how to keep that equipment working properly over the lifetime of the UST system. The manual provides recordkeeping forms that also help the UST owner and operator keep equipment operating properly. Owners and operators of UST systems will find this manual contains checklists and information that will help them properly operate and maintain their USTs. State and EPA UST inspectors can use the manual and its checklists to help educate UST owners and operators and encourage their compliance with the UST requirements. | https://www.epa.gov/ust/operating-and-maintaining-underground-storage-tank-systems-practical-help-and-checklists | Online/Free
| Operation and Maintenance | Tank Savvy Minute | UST Training | Basic | UST Training provides over 50 free one-minute videos on YouTube, each video explaining one particular part of a UST system. Filmed live at gas stations, viewers can learn how to run a tank gauge report, check for alarms, learn how shear valves and breakaway connector work and more. | https://youtube.com/USTtraining | Online/Free
| Operation and Maintenance | Multiple training options | STI/SPFA | Intermediate | All storage tanks require maintenance to ensure the highest quality of the product stored and to extend the tank’s useful life. And that translates into time and money saved for tank owners and operators. STI’s Storage Tank Maintenance Webinar has everything you need to know for optimum tank maintenance. | https://stispfa.org/education/trainings-courses/ | Online/Free; Online/Fee
UST INSPECTION | Cathodic Protection Testing | Cathodic Protection Training Classes | STI/SPFA | Advanced | Two or three day classes that teach how to monitor a UST Cathodic Protection (CP) System. Students successfully completing the class and exam will receive STI Certification for testing UST CP systems. | https://stispfa.org/education/trainings-courses/cathodic-protection-training/ | In-person/Fee
| Inspection Procedures | UST Boot Camp | Purpora Engineering | Advanced | Three and a half days of hands-on training offering instruction on UST cathodic protection, leak detection, testing, and ATGs. | http://www.purporaengineering.com/ | In-person/Fee
| Inspections | EPA Inspector Wiki A gateway for authorized users to find, request access and manage EPA tools, applications and communities. If you have an EPA LAN account, log in using your LAN username and password. If you do not have an EPA LAN account, you will need to self register for an account. | EPA | All levels | The Inspector Wiki is your "first-stop" comprehensive resource where EPA, state, local and tribal inspectors can access information about inspections, mandatory inspector training and credential requirements, health and safety policy and requirements, program specific and cross media inspection policy and guidance, inspection equipment and new technologies, and compliance assistance. Additionally, this Wiki will provide a collaborative workspace enabling users to share training resources, documents and events in accordance with the Inspector Wiki Comment Policy. | https://inspector.epa.gov/inspector/index.php/Wiki_Home | Online/Free
| Inspection Procedures | UST Inspector Workshop | Oneida Nation of Wisconsin | Basic | This workshop provides tribal underground storage tanks (UST) owners, operators, inspectors, environmental staff, operation managers, and risk managers in-depth instruction on a variety of operation, installation, and compliance topics. | Contact Victoria Flowers at vflowers@oneidanation.org or Mike Arce at marce@oneidanation.org for more details. | In-person/Free Green Bay, WI
UST INSTALL, INSPECTION, O&M, REMOVAL & MORE | Inspection Procedures | Petroleum, Equipment, Training and Consulting (Petcon INC.) | Petcon, Inc | Advanced | Training offerings include: (1) How to Install Underground Fuel Storage Tanks and Piping (2) How to Perform a UST Compliance Inspection (3) How to Test Cathodic Protection on Underground Storage Tanks (4) Solutions to New Underground Storage Tank Problems (5) UST Closures and Removals | http://petconinc.com/training.htm | In-person/Free
| Compliance | Facility Operator, UST Manager | Aarcher Institute | Basic/Intermediate | The Tanks Compliance Manager™ course covers changes to the federal underground storage tank regulations (40 CFR 280); spill prevention control and countermeasures (SPCC) tank requirements (40 CFR 112); effects of the 2005 Energy Bill, enforcement policy changes, and other developments. Course handout materials form a useful desk book for later reference. | https://www.aarcherinstitute.com/courses/ast-ust-environmental-tanks-training/ | In-person/On-line/Fee
| Compliance | Operator Training | UST Training | All levels | State and federal focused training available. | https://usttraining.com/ | Self-paced, online Class A/B and C, Fee
| Compliance | Operator Training | Tait and Associates | All levels | Operator training available for select states. | http://tait.com/training/ | Online/Fee
| Compliance | Facility Operator, UST Manager | National Petroleum Training Institute | All levels | Scroll through several offerings to see what you need. | https://www.nptinstitute.com/ | In-person/Fee Owings Mill, MD
| Compliance | "Underground Storage Tank Compliance" search on YouTube | Misc | All levels | Scroll through several offerings to find what you need (underground storage tanks). The first 15 pages include UST compliance videos. Other environmental topics appear in later pages. | https://www.youtube.com/results?search_query=underground+storage+tank+compliance | Onlline/Free
| Operation and Maintenance Compliance UST Inspections | Introduction to Energy Handling Equipment (English and Spanish) | PEI | All levels | As part of our core mission, PEI develops and provides an extensive array of industry resources. From recommended practices to training and development tools, we cover the gamut of educational needs for both members and nonmembers, entry-level to advanced. View the list of courses below. Our product bundling option is at the top of the page, should you require more than one course. | https://www.pathlms.com/pei | Online/Fee
| Operation and Maintenance Compliance UST Inspections | UST Operational Compliance Videos | Robert Largent | All levels | Robert Largent provides a series of YouTube videos and video shorts on a variety of UST compliance and inspection topics. | https://www.youtube.com/@robertlargent/videos | Online/Free
| Operation and Maintenance Compliance UST Inspections | TDEC UST Operator "Tank School" Slides | Tennessee Department of Environment and Conservation | Basic/Intermediate/Advanced | Tank School is a virtual training opportunity for UST Class A and B operators in Tennessee and is desivirtual, gned to: increase understanding of regulatory compliance, prepare for inspections, and iprovide information on Federal and TN regulatory requirements. | https://www.tn.gov/content/dam/tn/environment/ust/doc/toolbox/ust_tank-school-slides.pdf | Online/Free
| Operation and Maintenance Compliance UST Inspections | UST Operational Compliance Videos | Tennessee Department of Environment and Conservation | Basic/Intermediate/Advanced | Tennessee Department of Environment and Conservation (TDEC) developed a series of videos on UST equipment testing. This series includes videos on Monthly Spill Bucket Inspections, Rectifier Readings, Secondary Containment and Interstitial Monitoring, Pressurized Piping, and Hydrostatic Spill Bucket Testing. These videoes are part of TDEC's UST Compliance Toolbox. These videoes are part of TDEC's UST Compliance Toolbox. | https://www.tn.gov/environment/ust/compliance-videos.html | Online/Free
| Operation and Maintenance Compliance UST Inspections | UST Inspector Training Webinars | New England Interstate Water Pollution Control Commission | Basic/Intermediate/ Advanced | NEIWPCC collaborates with state, tribal, territorial, and federal partners to produce training webinars aimed at a national audience of state and tribal UST employees. The goal of NEIWPCC’s UST webinars is to improve UST program performance, educate UST inspectors on regulatory and equipment topics, and ultimately prevent UST releases to the environment. | https://neiwpcc.org/our-programs/underground-storage-tanks/ust-inspection-and-release-prevention/ | Online/Free
| Operations and Maintenance Compliance | UST Operational Compliance Videos | Northern Arizona University | Basic/Intermediate/Advanced | These videos were recorded under ITEP's Tribal Waste and Response Assistance Program (TWRAP). TWRAP is funded by OLEM and covers several programs including USTs programs conducted by Native American communities and Alaskan Native Villages. | https://mediaspace.nau.edu/channel/Underground%2BStorage%2BTanks%2B%2528USTs%2529/81003242 | Online/Free
REGULATIONS | Inspections | Underground Storage Tank (UST) Inspector Training | EPA/OUST | Basic | EPA revised our online UST inspector training. It now includes requirements and information from the 2015 federal UST regulation. This replaces EPA’s previous inspector training, known as the UST-LUST Virtual Classroom. | https://www.epa.gov/ust/underground-storage-tank-ust-inspector-training | Online/Free
| UST Operators | EPA Class A and B UST Operator Exams | EPA/OUST | Intermediate/Advanced | EPA developed class A and class B UST operator exams to primarily help UST system owners and operators in Indian country meet the 2015 federal UST regulation requirement that designated operators demonstrate knowledge. October 13, 2018 is the deadline for designated operators to verify compliance with the requirement to pass an exam. | https://www.epa.gov/ust/class-a-and-class-b-ust-operator | Online/Free
| UST Regulations | Title 40, Part 280 and Part 281 | EPA/OUST | Basic/Intermediate/Advanced | The 2015 UST regulation changed certain portions of the 1988 underground storage tank technical regulation in 40 CFR part 280. The changes established federal requirements that are similar to key portions of the Energy Policy Act of 2005. In addition, EPA added new operation and maintenance requirements and addressed UST systems deferred in the 1988 UST regulation. | https://www.epa.gov/ust/revising-underground-storage-tank-regulations-revisions-existing-requirements-and-new | Online/Free
| UST Regulations | Summary of State's Implementation of 2015 revised federal regulations | TAIT Environmental Services Inc | Basic/Intermediate/Advanced | Contact TAIT for copy of document. | atait@TAIT.COM | Available on Request
| UST Program Contacts | UST/LUST Program Contacts - Federal, State, Tribal & Other Contacts | EPA/OUST | Basic | UST/LUST Program Contacts - Federal, State, Tribal & Other Contacts | https://www.epa.gov/ust/underground-storage-tank-ust-contacts | Online/Free
PERFORMANCE MEASURES | UST/LUST Performance Measures | Performance Measures Definitions and Semi-annual Reports on data reported by States and Territories | EPA/OUST | Advanced | EPA collects data from states and territories regarding UST performance measures. These data include information such as the number of active and closed tanks, releases confirmed, cleanups initiated and completed, facilities in compliance with UST requirements, and inspections. The reports below provide data in table format for all states, territories, and Indian country for the reporting period indicated. | https://www.epa.gov/ust/ust-performance-measures | Online/Free
Note on G9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: New location neiwpcc.org/nwglde

## Financial Assurance
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
FINANCIAL ASSURANCE
TOPIC | SUBTOPIC | TRAINING | DEVELOPER/PROVIDER | TRAINING LEVEL | COURSE DESCRIPTION | LOCATION | FORMAT / FEE
FINANCIAL RESPONSIBILITY GUIDANCE | Financial Responsibility Mechanisms | Financial Responsibility: A Reference Manual. January 2000. | EPA/OUST | Beginner | A detailed explanation of how each financial responsibility mechanism works, what the owner/operator responsibilities are, what documentation an inspector should look for. This is a must have reference for beginners to advanced. Beginners will learn the basics of all mechanisms and advanced learners can use it as a reference document. | https://www.epa.gov/sites/production/files/2014-03/documents/frustman.pdf | Online/Free
| Insurance | Insurance as a Financial Responsibility Mechanism | EPA/OUST | Beginner | EPA study on the effectiveness of UST Insurance as a FR mechanism to ensure payment of remediation costs. Introduction to the issues surrounding why insurance may not cover all situations due to the nature of insurance contracts. | https://www.epa.gov/ust/epa-study-effectiveness-ust-insurance-financial-responsibility-fr-mechanism | Online/Free
| Financial Responsibility: Insurance | ASTSWMO: Guide to Tank Insurance | ASTSWMO | Beginner | This Guide provides information on tank insurance, including definitions and resources, regulatory requirements, types of insurance, and reporting requirements. | http://astswmo.org/guide-to-tank-insurance/ | Online/Free
| FR Mechanisms | Dollars and Sense: Financial Responsibility Requirements of Underground Storage Tanks. July 2018. | EPA/OUST | Beginner | Outreach document. Describes FR mechanisms in plain English. Introductory material. | https://www.epa.gov/ust/dollars-and-sense-financial-responsibility-requirements-underground-storage-tanks | Online/Free
| Responsible Party | Responsible Party Search Guide for the Underground Storage Tank Program | EPA/OUST | Intermediate | Step by Step guidance on methods to use to identify a responsible party for an UST clean-up. Most suitable for someone with a basic understanding of the definition and legalities of "responsible party". | https://www.epa.gov/ust/responsible-party-search-guide-underground-storage-tank-program | Online/Free
| Financial Responsibility - Insurance | UST Insurance Matters: Endorsed Insurance Coverage. May 2009. | EPA/OUST | Beginner | Explanation of language in insurance policies that may restrict coverage. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_61.pdf | Online/Free
| Financial Responsibility - Insurance | UST Insurance Matters: The Assurance is in the Details. November 2008. | NEIWPCC | Intermediate | Explanation of 'compliance' and 'non-compliance' exclusions in tank insurance policies. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_59.pdf | Online/Free
| Financial Responsibility - Insurance | Unlocking the Mystery of FR: Getting Past the “Chicken Little Syndrome." September 2012. | NEIWPCC | Beginner | Beginner. Plain English article explaining how insurance works. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_71.pdf | Online/Free
| Financial Responsibility - Insurance | UST Insurance Matters: Confirmed Release Policies Versus Suspected Release Policies. September 2008. | NEIWPCC | Intermediate | Explanation of 'suspected release' and 'confirmed release' language in tank insurance policies. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_58.pdf | Online/Free
PROVIDERS | Insurance | List of Known Insurance Providers for Underground Storage Tank Owners and Operators | EPA/OUST | Beginner | Outreach document. Listing of insurance companies that write policies for USTs. As the insurance market has providers entering and exiting the market this document may not be comprehensive. It is provided as a starting point. | https://www.epa.gov/ust/list-insurance-providers-ust-financial-responsibility-requirements | Online/Free
| FR Regulations | UST Federal Regulations | EPA/OUST | Beginner | The 2015 UST regulation changed certain portions of the 1988 underground storage tank technical regulation in 40 CFR part 280. See Subpart H. | https://www.epa.gov/ust/revising-underground-storage-tank-regulations-revisions-existing-requirements-and-new | Online/Free
INSPECTION | FR Documentation - Insurance | How Do You Know a FR Document is for Real? August 2015. | NEIWPCC | Beginner | Explanation of what insurance documentation is necessary for an inspector to determine if insurance is valid and meets the regulatory requirements. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_78.pdf | Online/Free
ARTICLE | Tanks >20 years old | Why States Should Be Concerned About Aging Tanks and Private Insurance. October 2016. | NEIWPCC | Intermediate | Article explains the difficulties in obtaining insurance for USTs over 20 years old and the issues states will face as tank infrastructure ages. | https://neiwpcc.org/wp-content/uploads/2020/07/lustline_81.pdf | Online/Free
OBJECTIVE | Financial Responsibility - Background | Preamble to the 1988 FR UST Regulations | EPA/OUST | Intermediate | The preamble to the federal regulations contains the reasoning behind the development of the FR regulations and response to public comments. | https://www.epa.gov/sites/production/files/2014-09/documents/40cfr280-281preamble.pdf | Online/Free
STATE FUNDS | State Fund Program Contacts | State Specific Websites | EPA/OUST | Basic | UST/LUST Program Contacts - Federal, State, Tribal & Other Contacts | https://www.epa.gov/ust/underground-storage-tank-ust-contacts | Online/Free
| Financial Responsibility - State Funds | ASTSWMO: Guidance for Understanding Petroleum Storage Tank Bankruptcy. January 2017. | ASTSWMO | Beginner | The ASTSWMO developed this guidance to encourage dialogue between regulators and their legal counsel when regulated facilities are subject to bankruptcy proceedings. This is an introduction to legal terms and concepts related to bankruptcy to facilitate communication and enhance understanding. It also presents an overview of the process, milestones, and potential actions and decisions that may need to be taken with the guidance and assistance of legal counsel. | http://astswmo.org/guidance-for-understanding-petroleum-storage-tank-bankruptcy/ | Online/Free
| Financial Responsibility - State Funds | ASTSWMO: Summary of State Funds Demands and Recoveries. August 2017. | ASTSWMO | Intermediate | The ASTSWMO State Fund-FR Task Force compiled the attached spreadsheet and documentation that describe demands and recoveries against UST owners and operators concerning “double dipping.” Double dipping refers to monetary settlements reached by owners and operators with their insurers for UST cleanup issues where State Funds have provided reimbursement for the same costs and the monetary settlement was not returned to the State. | http://astswmo.org/ust-state-fund-cost-control-resources-webpage/ | Online/Free
| Financial Responsibility - State Funds | ASTSWMO: UST – State Fund Cost Control Resources Webpage. February 2017. | ASTSWMO | Intermediate | An ASTSWMO developed webpage listing state cost control documents, schedules, and other resources provided to ASTSWMO by the states. | http://astswmo.org/ust-state-fund-cost-control-resources-webpage/ | Online/Free
| Financial Responsibility - State Funds | ASTSWMO: Annual State Fund Survey Results | VT DEC/ASTSWMO | Intermediate | The Vermont Department of Environmental Conservation, in partnership with ASTSWMO, conducts a survey of all State Financial Assurance Fund programs and provides results on their design characteristics, funding, and fund activity. | http://astswmo.org/annual-state-fund-survey-results/ | Online/Free
| Financial Responsibility - Ability to Pay Determinations | ASTSWMO: Ability to Pay Templates and Forms. February 2018. | ASTSWMO | Intermediate | This document provides a general policy for ability to pay settlements in which an entity’s financial ability to pay is a significant consideration. An ability to pay settlement allows a business or an individual to settle the State’s environmental liability claim for less than the full amount, and it may be a legitimate option if a company or an individual cannot pay the full liability, or if in doing so, it creates a financial hardship. The document also includes two template forms for collecting information from individuals and businesses. All or part of these policies and forms may be adapted by States into the regulatory framework of their unique programs. | http://astswmo.org/files/Resources/Tanks/2018-01-ASTSWMO-AbilityToPay-FINAL.pdf | Online/Free
| Financial Responsibility - Issues of FR and Aging Tanks. October 2015. | ASTSWMO: An Analysis of UST System Infrastructure in Select States | ASTSWMO | Intermediate | In 2014, ASTSWMO formed the Aging Tanks Workgroup to examine issues related to aging UST systems and the potential impacts to owners, operators, and State UST programs. The Workgroup’s objective was to analyze whether aging UST infrastructure poses a higher risk of leaks, thus creating higher risks for State tank funds and private insurers and, ultimately, higher costs for tank owners/operators. | http://astswmo.org/an-analysis-of-ust-system-infrastructure-in-select-states/ | Online/Free

## Emerging Fuels
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
EMERGING FUELS
TOPIC | SUBTOPIC | TRAINING | DEVELOPER/PROVIDER | TRAINING LEVEL | COURSE DESCRIPTION | LOCATION | FORMAT / FEE
STORING ETHANOL | Emerging Fuels and USTs |  | EPA/OUST | Beginner | EPA provides this information about emerging fuels and the responsibility of UST owners and operators to help prevent leaks or releases of regulated substances possibly caused by emerging fuels. Emerging fuels may not always be compatible with all UST systems, and storing emerging fuels can sometimes increase corrosion in UST systems. | https://www.epa.gov/ust/emerging-fuels-and-underground-storage-tanks-usts | Online/Free
| E15 | E15 and Infrastructure. May 2015. | National Renewable Energy Laboratory | Intermediate | This document is more advanced and will be helpful for those interested in specific regulations related to storing E15. It also discusses standards and equipment to help establish the compatibility of UST systems. | https://www.afdc.energy.gov/uploads/publication/e15_infrastructure.pdf | Online/Free
| E85 | Handbook for Handling, Storing, and Dispensing E85 and Other Ethanol-Gasoline Blends. February 2016. | National Renewable Energy Laboratory | Intermediate | This document is more advanced and will be helpful for those interested in specific regulations related to storing E85. It also discusses standards and equipment to help establish the compatibility of UST systems. | https://www.afdc.energy.gov/uploads/publication/ethanol_handbook.pdf | Online/Free
BIODIESEL | B0-B100 | Biodiesel Handling and Use Guide, 6th Edition September 2023 | NREL | Intermediate | Information about biodiesel. Section on storing biodiesel blends is most applicable for UST personnel and begins on page 31. That section is introductory level. | https://www.nrel.gov/docs/fy23osti/86939.pdf | Online/Free
| Biofuels 101 | Biofuels Beginners | Student Energy | Beginner | 3 minute animated video explaining the Beginners of biofuels. | https://www.youtube.com/watch?v=ZGmwtDffc74 | Online/Free
| Biofuel 202 | Biofuels and Ethanol Beginners | Mexus Education Pvt., Ltd. | Intermediate | 16 minute animated video explaining how biofuels can be made, where they are used, etc. | https://www.youtube.com/watch?v=xAms3Q_3pXg | Online/Free
| Biofuels 303 | Cellulosic/Biomass - NREL: Learning Biofuel Beginners | National Renewable Energy Laboratory | Intermediate | More advanced 5 minute video from National Renewable Energy Laboratory going a bit deeper into types of advanced biofuels, but still high level and not technical. | https://www.youtube.com/watch?v=AA2P6mKFbKc | Online/Free
CORROSION | Diesel | EPA Notice of Corrosion Risks in Underground Storage Tanks Storing Diesel Fuel. July 2016. | EPA/OUST | Beginner | This 2 page notice to owners explains the risk of corrosion in UST systems storing diesel, the background on the issue, and what UST owners and operators can do. Introductory level. | https://www.epa.gov/sites/production/files/2016-07/documents/notice-dieseltanks-corrosion-7-14-16_0.pdf | Online/Free
| Diesel | Actual video from EPA study on corrosion with diesel UST fueling systems | Tanknology, Inc. | Intermediate | This seven minute video highlights corrosion issues in UST systems storing diesel. Good for all levels to see how equipment can be impacted. | https://www.youtube.com/watch?v=B05695o9cnY | Online/Free
| Gasoline, Ethanol | UST Training | Ben Thomas | Beginner | This 2 minute video shows corrosion in a sump that is common in UST systems storing gasoline and explains how it happens. | https://www.youtube.com/watch?v=RX0FR8HEfjs | Online/Free

## State Grants Oversight
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
STATE GRANTS OVERSIGHT
TOPIC | SUBTOPIC | TRAINING | TRAINING LEVEL | COURSE DESCRIPTION | LOCATION | FORMAT / FEE
GRANTS | Corrective Action | Leaking Underground Storage Tank Trust Fund (LTF) Corrective Action Guidelines. November 2016. | Intermediate | Incorporates provisions of the 2005 Energy Policy Act, clarifies allowable uses of funding, and provides reporting requirements (replaces the 1994 LTF Cooperative Agreement Guidelines Directive 9650.10A and the 1989 LTF State Financial Management Handbook). | https://www.epa.gov/sites/production/files/2016-11/documents/fnl-ltf-guide-nov2016.pdf | On-line/Free
| Corrective Action/Cost Recovery | Cost Recovery Policy for Leaking Underground Storage Tank Trust Fund Corrective Action Cooperative Agreements. November 2016. | Intermediate | Identifies requirements, objectives, and responsibilities for LTF cost recovery under state LTF corrective action cooperative agreements; a companion document to EPA’s LTF Guidelines (replaces the 1994 Cost Recovery Policy for the LTF and the 1989 LTF State Financial Mgmt. Handbook). | https://www.epa.gov/sites/production/files/2016-11/documents/fnl-lust-costrecpol-nov2016.pdf | On-line/Free
| QA/QAPPS | Quality Assurance - EPA'S Management of Environmental Data. Various resources (regulations, guidance documents, policies, training, contacts, etc.) on EPA'S quality control of its Environmental Data. | Intermediate | The EPA Quality System provides the framework for planning, implementing, documenting, and assessing work performed by the Agency, and for carrying out required quality assurance and quality control activities. Each EPA Program and Regional Office develops and implements its own individual system in support of the EPA Quality System. In addition, the program covers implementation of the EPA Information Quality Guidelines. | https://www.epa.gov/quality | On-line/Free
| EPAct 2005, USTCA Provisions | Energy Policy Act 2005 and Grant Guidelines to Help States Implement the USTCA Provisions | Intermediate | Learn about the Energy Policy Act of 2005 which significantly affected federal and state underground storage tank programs, required major changes to the programs, and is aimed at reducing underground storage tank releases to our environment. | https://www.epa.gov/ust/energy-policy-act-2005-and-underground-storage-tanks | On-Line/Free
| LUST Prevention Eligible Activities | Leaking Underground Storage Tank (LUST) Prevention Assistance Agreements Guidance. May 2008. | Intermediate | Provides information on eligible uses of LUST prevention money to assist EPA regions in awarding their state and tribal LUST prevention grants. | https://www.epa.gov/sites/production/files/2015-04/documents/lust-guidance-package.pdf | On-line/Free
| LUST Prevention Accounting & Environmental Results Update | OUST Supplemental Program Guidance for FY2009 Prevention Funding for Assistance Agreements Awarded Under the LTF Program. April 2009. | Intermediate | Supplements the May 8, 2008 guidance by providing additional accounting and performance measures information. | https://www.epa.gov/sites/production/files/2015-04/documents/supplemental-guidance.pdf | On-line/Free
| OMB Uniform Admin Requirements, Cost Principles, and Audit Requirements for Federal Awards | Uniform Grants Guidance (UGG) 2 CFR Part 200 | Intermediate | UGG 2 CFR PART 200 - Uniform Administrative Requirements, Cost Principles, and Audit Requirements for Federal Awards | https://www.ecfr.gov/cgi-bin/retrieveECFR?gp=&SID=4560183e92bd25dcb821d9ca639fc3c3&n=pt2.1.200&r=PART&ty=HTML | On-line/Free
| EPA Specific Regulatory Requirements | Uniform Grant Guidance 2 CFR Part 1500 | Intermediate | UGG 2 CFR PART 1500 - EPA Specific Regulatory Requirements | https://www.ecfr.gov/cgi-bin/text-idx?SID=c3bcf7cf68d0054fc1e343165fbb9ec4&mc=true&node=pt2.1.1500&rgn=div5#se2.1.1500_17 | On-line/Free
| Uniform Grant Guidance | UGG 2 CFR Part 180 | Intermediate | UGG 2 CFR PART 180 - Government-Wide Debarment And Suspension (Non-procurement) | https://www.ecfr.gov/cgi-bin/text-idx?tpl=/ecfrbrowse/Title02/2cfr180_main_02.tpl | On-line/Free
| Non-Discrimination | 40 CFR Part 7 | Intermediate | PART 7—Non Discrimination in programs or activities receiving federal assistance from the EPA | https://www.ecfr.gov/cgi-bin/text-idx?SID=086c804a2cc332e2131a25309b6dfca0&mc=true&node=pt40.1.7&rgn=div5 | On-line/Free
| Work Elements | 40 CFR Part 25.11 | Intermediate | Part 25.11 - Work elements in financial assistance agreements. | https://www.ecfr.gov/cgi-bin/text-idx?SID=086c804a2cc332e2131a25309b6dfca0&mc=true&node=pt40.1.25&rgn=div5#se40.1.25_111 | On-line/Free
| Intergovernmental Review | 40 CFR Part 29 | Intermediate | PART 29—Intergovernmental review of EPA programs and activities. | https://www.ecfr.gov/cgi-bin/text-idx?SID=086c804a2cc332e2131a25309b6dfca0&mc=true&node=pt40.1.29&rgn=div5 | On-line/Free
| Grant Opportunities, Grantee Forms, Rules & Policies | EPA Grants Management Resources | Advanced | Understanding, Managing and Applying for EPA Grants | https://www.epa.gov/grants | On-line/Free
REGULATIONS | UST Program History | Learn About USTs | Beginner | Foundational information on the UST Program | https://www.epa.gov/ust/learn-about-underground-storage-tanks-usts | On-Line/Free
| UST Requirements, O&M and Compatibility with Biofuels | 2015 Revised UST Regulations | Intermediate | Several plain language documents regarding the 2015 UST regulations. | https://www.epa.gov/ust/publications-about-2015-ust-regulation | On-line Free
| UST/LUST Requirements Summary | MUSTs for USTs | Intermediate | This 36-page booklet summarizes federal UST requirements for installation, reporting, spill and overfill prevention, corrosion protection, release detection, walkthrough inspections, compatibility, operator training, repairs, financial responsibility, release response, and closure. | https://www.epa.gov/ust/musts-usts | On-line/Free
| UST Spill/Overfill, Corrosion Protection, Release Detection, Closure, Financial Responsibility, Reporting & Recordkeeping Requirements | Preventing and Detecting UST Releases | Intermediate | Regulations require that USTs are installed properly; protected from spills, overfills, and corrosion; equipped with release detection; and properly closed. This section helps UST owners and operators meet prevention, financial responsibility, and reporting and record keeping requirements. | https://www.epa.gov/ust/preventing-and-detecting-underground-storage-tank-ust-releases | On-Line/Free
| UST/LUST Program Contacts | State Specific Websites | Beginner | UST/LUST Program Contacts - Federal, State, Tribal & Other Contacts | https://www.epa.gov/ust/underground-storage-tank-ust-contacts | On-line/Free
FINANCIAL MANAGEMENT | EPA'S National Program Planning Guidance | EPA OCFO - National Program Guidances | Advanced | Provides a national operational framework used by the regions, states, and tribes to implement programmatic activities protective of human health and the environment, consistent with the President’s Budget. They also inform state-EPA grant work planning under the National Environmental Performance Partnership System (NEPPS). | https://www.epa.gov/planandbudget/national-program-manager-guidances | On-line/Free
| Agency's Agenda Based on the Administrator's Goals | EPA OCFO - Strategic Plan | Advanced | Provides a blueprint for advancing EPA's Administrator themes and EPA’s mission to protect human health and the environment; identifies the measurable environmental and human health outcomes and describes how we intend to achieve those results. | https://www.epa.gov/planandbudget/strategicplan | On-line/Free
PERFORMANCE MEAUSRES | Database - Report State & Tribal UST/LUST Performance Measures | LUST4 | Intermediate | Portal used for collecting data from states and territories regarding UST performance measures, i.e., active and closed tanks, releases confirmed, cleanups initiated and completed, facilities in compliance with UST requirements, and inspections. PERMISSION FOR ACCESS REQUIRED. | Type: lust.epa.gov into your browser | On-line/Free
| UST/LUST Performance Measures Definitions | UST/LUST Performance Measures | Intermediate | Performance measures definitions and Semi-annual Reports on data reported by states, territories and Indian Country. | https://www.epa.gov/ust/ust-performance-measures | On-line/Free
SPA | State Program Approval | SPA-Re-SPA Application and Processing | Advanced | Information pertaining to the state program approval process for states and territories. | https://www.epa.gov/ust/state-underground-storage-tank-ust-programs#apply | On-line/Free
| FDMS - Used by Federal Agencies to Manage Electronic Rulemaking & Non-rulemaking dockets. | Federal Docket Management System (FDMS) | Advanced | Training is available under the training tab in FDMS or via monthly webinars; need to register. | http://www.fdms.gov | On-line/Free

## LUST Corrective Action
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
LUST CORRECTIVE ACTION
TOPIC | SUBTOPIC | TRAINING | DEVELOPER/PROVIDER | COURSE DESCRIPTION | LOCATION | FORMAT /FEE
APPLICABLE STATE & FEDERAL REGULATIONS | Corrective Action process for UST Releases | Process Overview | EPA/OUST | Overview of the corrective action process for underground storage tank releases and links to more detailed guidance | https://www.epa.gov/ust/leaking-underground-storage-tank-cleanup-process | Online/Free
| Title 40, Part 280 | Subpart A | EPA/OUST | Program Scope and Installation Requirements for Partially Excluded UST Systems (Applicability and Definitions) | https://www.ecfr.gov/cgi-bin/text-idx?SID=4920fc759d1e7480a8eeb2a22b133272&mc=true&node=sp40.29.280.a&rgn=div6 | Online/Free
|  | Subpart E | EPA/OUST | Release Reporting, Investigation and Confirmation | https://www.ecfr.gov/cgi-bin/text-idx?SID=81c91e98ce737da6703eba2ea86746c7&mc=true&node=sp40.29.280.e&rgn=div6 | Online/Free
|  | Subpart F | EPA/OUST | Release Response and Corrective Action for UST Systems Containing Petroleum or Hazardous Substances | https://www.ecfr.gov/cgi-bin/text-idx?SID=81c91e98ce737da6703eba2ea86746c7&mc=true&node=sp40.29.280.f&rgn=div6 | Online/Free
|  | Subpart G | EPA/OUST | Out of Service UST Systems and Closure | https://www.ecfr.gov/cgi-bin/text-idx?SID=ffa9f9a5efa1335c4d3eb423fcc8969b&mc=true&node=sp40.29.280.g&rgn=div6 | Online/Free
|  | Subpart H | EPA/OUST | Financial Responsibility | https://www.ecfr.gov/cgi-bin/text-idx?SID=ffa9f9a5efa1335c4d3eb423fcc8969b&mc=true&node=sp40.29.280.h&rgn=div6 | Online/Free
| Title 40, Part 281 | Subpart C | EPA/OUST | (Approval of State UST Programs), Subpart C, Criteria for No Less Stringent | https://www.ecfr.gov/cgi-bin/text-idx?SID=5983dd6e9a544829aa69b054b0f45735&mc=true&node=pt40.27.281&rgn=div5#sp40.29.281.c | Online/Free
| LUST Program Contacts | State Specific Websites | EPA/OUST | UST/LUST Program Contacts - Federal, State, Tribal & Other Contacts | https://www.epa.gov/ust/underground-storage-tank-ust-contacts | Online/Free
ASTM | Risk-Based Corrective Action (RBCA) | RBCA Guide | ASTM | ASTM 1739 Standard Guide for Risk-Based Corrective Action Applied at Petroleum Release Sites (Copies Available to Members or by Fee Only) | (Copies Available to Members or by Fee Only) | Fee
|  | RBCA Training |  | ASTM 1739 Standard Guide for Risk-Based Corrective Action Applied at Petroleum Release Sites Training (Periodic and On-Site) | https://www.astm.org/TRAIN/filtrexx40.cgi?-P+ID+11+traindetail.frm#?utm_source=Email&utm_medium=Email&utm_content=&utm_campaign= | Fee
OTHER | Clu-In | Training, Webinars and Pod Casts | CLU-In | Upcoming Live Events | https://clu-in.org/live/ | Online/Free
|  |  |  | Upcoming Courses & Conferences | https://clu-in.org/courses/ | Varied
|  |  |  | Archived Events | https://clu-in.org/live/archive/ | Online/Free
| Interstate Technology & Regulatory Council (ITRC) | ITRC Training, Webinars and Pod Casts | ITRC | Online and Classroom Training, such as: Contaminants of Emerging Concern, Vapor Intrusions, Introduction to Hydrocarbons, Biofuels, Contaminated Sedients, and more | https://itrcweb.org/online-training/ | Online/Free
| New England Interstate Water Pollution Control Commission (NEWIPCC) | Training and Webinars | NEIWPCC | Underground Storage Tanks Lust Corrective Action Training Resources | https://neiwpcc.org/our-programs/underground-storage-tanks/lust-site-management/ | Online/Free
|  | L.U.S.T. Line |  | A NEWIPCC periodical dedicated to LUST related issues | https://neiwpcc.org/our-programs/underground-storage-tanks/l-u-s-t-line/ | Online/Free
| The Training Exchange (TRAINEX) Web Site | Variety of Training Courses | TRAINEX | Variety of training courses | https://trainex.org/default.cfm | Internet-Based Training is hosted by ITRC and EPA at no cost to the participant. Classroom Training is free for state and some federal representatives. Private sector fees for Classroom Training are given on the Classroom Training page.
| Environmental Response Training Program (ERTP) Virtual University | Variety of Training Courses | ERTP | Online and Classroom Training | https://ertpvu.org/Home.aspx | Online/Free
| Princeton Groundwater Pollution, Hydrology and Remediation Courses | Variety of Training Courses | Princeton | Online and Classroom Training | https://www.princeton-groundwater.com/ | Fee
| Tennessee Department of Environment and Conservation (TDEC) | Video Series | TDEC | Video training on contractor actions that normally occur when assessing a site after an UST release (e.g., well development, sampling, decontamination) | https://www.tn.gov/content/tn/environment/ust/release-videos.html | Online/Free
| National Groundwater Association (NGWA) Events and Education | Variety of Training Courses | NGWA | Online and Classroom Training | https://www.ngwa.org/events-and-education/ngwa's-event-calendar | Fee

## Cross-Cutting
UNDERGROUND STORAGE TANK (UST) COMMUNITY: EDUCATION/TRAINING OPPORTUNITIES
Cross-Cutting
TOPIC | SUBTOPIC | TRAINING | TRAINING LEVEL | COURSE DESCRIPTION | LOCATION | FORMAT / FEE
MISC | Resource Compendium | ASTSWMO's underground storage tank information resource library | All levels | A listing of webinars covering topics ranging from compliance, financial assurance, and LUST corrective action. | https://tankscomp.astswmo.org/ | Online/Free
UST Finder | National UST locational and UST release data | ASTSWMO hosted a webinar for state and regional UST stakeholders highlighting UST Finder’s features and data. | Beginner | Webinar October 2020 | UST Finder Webinar | On-line/Free
| National UST locational and UST release data | EPA developed three instructional videos. | Intermediate |  | Part 1 | On-line/Free
|  |  | Intermediate |  | Part 2 | On-line/Free
|  |  | Intermediate |  | Part 3 | On-line/Free
| National UST locational and UST release data | UST Finder: OUST Website | Beginner | EPA developed UST Finder, a web map application containing a comprehensive national map of underground storage tank (UST) and UST release data. The application has a combination of data sourced from states and territories, and EPA data for Indian country. It provides the attributes and locations of active and closed USTs, UST facilities, and UST releases in states as of 2018-2019, US territories as of 2020-2021, and Tribal lands as of 2023. | https://www.epa.gov/ust/ust-finder | On-line/Free
| Mapping/Screening Tool | EPA Website | Beginner | EJScreen is EPA's environmental justice mapping and screening tool that provides EPA with a nationally consistent dataset and approach for combining environmental and socioeconomic indicators. | https://www.epa.gov/ejscreen | On-line/Free
| Mapping/Screening Tool | Office Hours/Training | Beginner | EPA holds regular trainings and 'office hours' to help users better understand the tool. | https://www.epa.gov/ejscreen/ejscreen-office-hours-training | On-line/Free
| Mapping/Screening Tool | User Manual | Beginner | Provides an introduction to EJScreen and walks users through how to start using the tool. | https://ejscreen.epa.gov/mapper/help/ejscreen_help.pdf | On-line/Free
| Peer Mentoring/Matching | Institute for Tribal Environmental Professionals (ITEP) | All levels | It can be helpful for tribal professionals to learn directly from one another. ITEP’s waste and response staff can coordinate a variety of mentor activities where one tribal professional can work directly with another tribal professional who has dealt with similar challenges. | https://www7.nau.edu/itep/main/Waste/waste_mentors | Virtual or In-Person Free
| Peer Mentoring/Matching | ASTSWMO | All levels | The ASTSWMO Board of Directors is now offering a handful of one-on-one information exchange opportunities for States and Territories (States) through our Peer Match Program. Peer matches provide the opportunity for State program staff to travel to another State to learn more about how that State administers certain components of a program (e.g., field compliance inspections, financial responsibility programs, inspections, enforcement, etc.). The peer match trip usually lasts 1 – 2.5 days, and ASTSWMO reimburses the traveling State participant for expenses incurred up to a cap of $1,400. | https://astswmo.org/?s=Peer+Match | In-Person; reimburse traveling state participant up to a cap of $1,400
EJ Screen
Mentor/Matching

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only