## Instructions
PURPOSE
This workbook provides the instructions for completing the Quality Assurance Project Plan (QAPP) checklists for the four Group Element Worksheets. This Checklists serves as a tool to assist organizations in the development and review of QAPPs and may be tailored to meet your needs.
WORKBOOK LAYOUT
This workbook consists of six: Instructions, Group A Elements, Group B Elements, Group C Element, Group D Elements, and Pick Lists. Select the four Group Element Worksheets to enter information associate with the QAPP that is being developed and under review. Do not modify the Pick Lists Worksheet as this worksheet is linked to the drop down selections in the Checklist Worksheet.
GROUP ELEMENT WORKSHEETS
1. The Group Element Worksheets contains the minimum requirements that must be included in an organization's QAPP.
2. ROW 1- Enter the DATE you complete the Checklist.
3. ROW 2 - Includes a hyperlink to the QAPP Standard. Click on the link to navigate to the QAPP Standard.
4. The Checklists consist of eight columns. Below is a description of each column. Note, the columns filled in light gray are to be completed by the organization responsible for QAPP development.
COLUMN A - States the QAPP Element
COLUMN B - List the page the QAPP Element is found on in the QAPP Standard
COLUMN C - QAPP Preparer enters this information. Enter the SECTION the QAPP Element is found under in the organization's QAPP
COLUMN D - QAPP Preparer enters this information. Enter the PAGE NUMBER the QAPP Element is found under in the organization's QAPP
COLUMN E - QAPP Reviewer enters this information. Select an entry from the Drop Down List. To view the Drop Down List place your cursor in the applicable cell and a small gray box with an arrow will appear to the right of the cell. Click on the arrow and the following selections will appear: YES/No/Missing/Partially. Select the appropriate response. Notice there is a blank entry with blue fill.
COLUMN F - QAPP Reviewer enters this information. This is a wrapping text box which will expand as information is entered into the cell.
COLUMN G - QAPP Preparer enters this information in response to the Reviewer's comments. This is a wrapping text box which will expand as information is entered into the cell.
COLUMN H - QAPP Reviewer enters this information. Select an entry from the Drop Down List. To view the Drop Down List place your cursor in the applicable cell and a small gray box with an arrow will appear to the right of the cell. Click on the arrow and the following selections will appear: YES/No. Select the appropriate response. Notice there is a blank entry with blue fill.
ACCESSING THE FOOTER
1.Enter "Edit Footer" in the search bar at the top of the Group Element Worksheets
2. Select "HEADER and FOOTER"
3. Scroll down to the bottom left side of the Worksheet. Here you will see "Prepared by: XXXXXXX" and "Reviewed by XXXXXXX". Delete the "XXXXXXX" and enter the appropriate name for the prepare and/or reviewer.
CELL COMMENTS
Columns C, D, and E contain cells comments. A small red triangle appears in the upper right corner of the cell. Hover over the red triangle to see notes regarding the information required.
PRINTING
1. Both the "Instructions" and Group Element Worksheets are formatted to print on legal size paper in a landscape setting.
2. Select "File" at the top of the page and then select "PRINT". You may choose to select only the active sheet of select the Worksheets you choose to print.

## Group A Elements
Crosswalk [DATE]
QAPP Standard
QAPP Group A Elements
A1. Title Page | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
All Organizations
1. Name of the document to include “Quality Assurance Project Plan." | 8
2. Date of QAPP preparation. | 8
3. Name of the organization conducting the Environmental Information Operations (EIO). | 8
4. Name of organization that developed the QAPP (if different from organization conducting the work). | 8
5. Period of performance. | 8
6. Revision/version control information. | 8
All Non-EPA Organizations
1. Grant or cooperative agreement and number if the work is performed under an EPA assistance agreement. | 8
2. Contract number and Task Order number (if applicable) if the work is performed under an EPA contract acquisition. | 8
3. Interagency Agreement and number if the work is performed under an Interagency Agreement. | 8
4. Title and date of the Memoranda of Understanding/Agreement if applicable. | 9
5. Citation of the regulatory requirement(s) if applicable. | 9
6. Title and date of the enforcement or legal agreement if applicable. | 9
A2. Approval Page | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
EPA Organizations
1. Signature block for Operations Manager or designee. | 9
2. Signature block for EPA QAM or designee as specified in the EPA organization’s QMP. | 9
Non-EPA Organizations
1. Signature block for Project Operations Manager or designee. | 9
2. Signature block for Project QAM or individual with QAM responsibilities for the project. | 9
3. QAPPs requiring EPA approval shall also include: EPA signature block from operations (COR or PO). | 9
4. QAPPs requiring EPA approval shall also include: EPA QAM or designee signature block. | 9
A3. Table of Contents, Document Format, and Document Control | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Table of Contents - Includes location of sections, tables, diagrams, charts, worksheets (if used), and other deliverables. | 9
2. Document Control - Include at a minimum: | 10
2.a. Title of the document (abbreviations are acceptable). | 10
A3. Table of Contents, Document Format, and Document Control | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
2.b. The document contains a Version (original or revision number). | 10
2.c. The document contains the Date of the version. | 10
2.d. The document contains page numbers in relation to the total number of pages. | 10
A4. Project Purpose, Problem Definition, and Background | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Other QA planning documents that have relevant requirements such as QMPs are identified OR a statement is provided that conveys that there are no other relevant QA planning documents. | 10
2. A description is provided on how the other QA requirements identified above will be addressed in the QAPP. | 10
3. Project Purpose and Problem Definition: | 10
3.a. The purpose of the project’s EIO is described (to include, but not limited to research, monitoring, environmental technology for clean-up, and use of existing data from other sources). | 10
3.b. The problem(s) to be addressed is/are defined and question(s) to be answered is/are described. | 10
4. The environmental decision(s) that need to be made and the level of information quality needed to ensure that those decisions are based on sound environmental information are documented and described. | 10
5. The type, quantity, and quality of information needed for its intended use are identified and the acceptance and performance criteria are described. | 10
6. The following shall be included as applicable: | 10
6.a. Identification of the applicable regulatory programs and standards. | 10
6.b. Conceptual site model(s). | 10
6.c. Discussion that directly links the results of the environmental information operations to possible actions. | 10
7. The Project Background contains a description/ citations of background information, plans, and/or reports to provide the historical, scientific, and regulatory perspective for the project as well as identify the sources for existing information for the project. | 10
A5. Project Task Description | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. A description is provided of the project tasks and the schedule for accomplishing the tasks. | 11
2. Description is provided of work to be performed. | 11
3. A description is provided of the products to be produced. | 11
A6. Information/Data Quality Objectives and Performance/Acceptance Criteria products to be produced. | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. The project’s information/data quality objectives are described. | 11
2. The project’s performance and/or acceptance criteria to achieve the information/data quality objectives are described. For example, the QAPP shall describe performance and acceptance criteria for laboratory analytical methods (each matrix, each analyte or analyte group, and concentration level). | 11
3. The project's information/data quality indicators are described. | 11
A7. Distribution List. | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Individuals and their organizations who shall receive copies of the approved QAPP and any subsequent revisions are identified and include: | 12
1a. Project Operations Manager | 12
1b. Project QAM or designee. | 12
1c. Other operations and quality personnel involved in EIO for the project to include those working for the organization responsible for conducting the EIO as well as contractors, subcontractors and grantees in key operations and quality roles. | 12
A8. Project Organization | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. All organizations participating in the project's environmental information operations are identified. | 12
2. The following individuals are identified and their responsibilities are described: | 12
2.a. Individual with Approval Authority for the QAPP. | 13
2.b. Senior Manager having executive leadership authority for the organization conducting the EIO. | 13
2.c. Project Operations Manager for the organization conducting the EIO. | 13
2.d. Project QAM for the organization responsible for conducting the EIO is identified and their responsibilities include: | 13
2.d.i. The Project QAM’s oversight authority. | 13
2.d.i. The Project QAM’s responsibilities for planning, documenting, coordinating. and assessing effectiveness of the QAPP. | 13
2.d.iii. The Project QAM’s authority to access and discuss quality-related issues with their organization’s senior manager outside of their direct supervisory chain as necessary. | 13
2.e. Individual responsible for maintaining the QAPP. | 13
2.f. Titles, roles, and names (if determined during planning) of operations and quality individuals within the organization conducting or supporting EIO operations and their reporting relationships. | 13
2.g. Identification of all contractors, subcontractors, sub-grantees supporting EIO and their project role and responsibilities. | 13
2.h. Principal environmental information or data users within the organization conducting the EIO as well as outside of this organization. | 13
A9. Project Quality Assurance Manager Independence | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. A description is provided on how the Project QA Manager's independence from environmental information operations is ensured. The Operations Manager or designee will not have authority to sign QAPPs for the QA Manager or designee, nor will the QA Manager or designee have authority to sign QAPPs for the Operations Manager or designee. | 13
2. QA and operations must remain independent; however, in small organizations outside of EPA and EPA contractors (e.g., small tribal departments), these two functions may be combined with approval from the EPA QAM. If the QAPP is proposing to combine QA and operations, this must be clearly stated in the QAPP. | 13
A10. Project Organization Chart and Communications - Shall include the following: | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. The QAPP contains a Project Organizational Chart that shows both the lines of authority to include the reporting relationships and the lines of communication both within the organization responsible for the environmental operations and between the organization responsible for the work and all organizations involved in the project. | 14
1.a.The name of the organization responsible for conducting the environmental information operations is stated. | 14
1.b. All contractors, subcontractors, and sub-grantees are identified and their reporting relationships to the organization responsible for conducting the EIO is illustrated in the project organization chart. | 14
1.c. The individual in the senior manager role is identified in the project organization chart. | 14
1.d. The individual in the Project Operations Manager role and their reporting relationship to the senior manager is illustrated in the project organization chart. | 14
1.e.The individual in the Project QAM role is identified; and their independence from EIO and their reporting relationship to the senior manager is illustrated in the project organization chart. If the senior manager does not directly supervise the QAM, the QAM must have authority to access and discuss quality-related issues with the senior manager outside of their direct supervisory chain as necessary. The latter is demonstrated by a dotted line on the organizational chart. | 14
1.f. Titles, roles, and names (if determined during planning) of operations and quality individuals within the organization conducting or supporting EIO and their reporting relationships are illustrated in the project organization chart. | 14
A10. Project Organization Chart and Communications - Shall include the following: | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
2. Lines of communication, communication pathways and communication mechanisms are documented in the QAPP. | 14
3. Communication procedures including timing of communication are outlined in sufficient detail to ensure that users of the QAPP understand the processes and the roles and responsibilities associated with those processes when communication is necessary. | 14
4. Standard procedures for communications are described or cited. | 14
4.a. Standard communication procedures address elevating discrepancies and QAPP non-conformances. | 14
4.b. Standard communication procedures address process improvements. | 14
4.c. Standard communication procedures address seeking concurrence and approvals between project personnel, and/or between contractors within the organization responsible for conducting environmental information operations. | 14
Non-EPA Organizations
1. Standard communication procedures describe communications to EPA that include elevating discrepancies and QAPP non-conformances. | 14
A11. Personnel Training/Certification | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. The individual responsible for ensuring personnel conducting EIO are qualified, trained, and experienced is identified. | 15
2. The individual responsible for documenting personnel training is identified. | 15
3. Any specialized training or certifications needed by personnel to successfully participate in the EIO is identified and described. Training may include on-the-job training as well as training on internal procedures. | 15
4. How the training will be provided is described. | 15
5. How the necessary skills will be assured is described. | 15
6. The procedure or system that will document training records and skill evaluation is described. | 15
EPA Organizations
1. EPA Organizations conducting EIO involving field activities have also included or referenced all Personnel and Training requirements identified in the current version of the EPA Quality Assurance Field Activities Procedure (QAFAP). | 15
12. Documents and Records | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Documents and records that will be produced for projects that involve EIO are identified. | 15
2. Management of documents and records, including the QAPP, is described or referenced. Management of project information is covered in the Group B Elements, Implementing EIO, B7 Environmental Information Management. | 15
3. Applicable requirements for the final disposition of records and documents, including location and length of retention period is described or referenced. | 15
4. The organization responsible for conducting the environmental information operations shall maintain a system for the control of all documents including preparation, review, approval, issuance, revision, and archiving documents. | 15
EPA Organizations
1. QAFAP Document Control and Records Management requirements are identified and described for EPA Organizations conducting EIO involving field activities. | 15
Note on C4: Enter the section identified in the QAPP that is being developed.
Note on D4: Enter the page # identified in the QAPP that is being developed.
Note on E4: Reviewer to completed this column and choose from drop down menu.
Note on G4: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C19: Enter the section identified in the QMP that is being developed.
Note on D19: Enter the page # identified in the QMP that is being developed.
Note on E19: Reviewer to completed this column and choose from drop down menu.
Note on C28: Enter the section identified in the QMP that is being developed.
Note on D28: Enter the page # identified in the QMP that is being developed.
Note on E28: Reviewer to completed this column and choose from drop down menu.
Note on C32: Enter the section identified in the QMP that is being developed.
Note on D32: Enter the page # identified in the QMP that is being developed.
Note on E32: Reviewer to completed this column and choose from drop down menu.
Note on C36: Enter the section identified in the QMP that is being developed.
Note on D36: Enter the page # identified in the QMP that is being developed.
Note on E36: Reviewer to completed this column and choose from drop down menu.
Note on C49: Enter the section identified in the QMP that is being developed.
Note on D49: Enter the page # identified in the QMP that is being developed.
Note on E49: Reviewer to completed this column and choose from drop down menu.
Note on C53: Enter the section identified in the QMP that is being developed.
Note on D53: Enter the page # identified in the QMP that is being developed.
Note on E53: Reviewer to completed this column and choose from drop down menu.
Note on C57: Enter the section identified in the QMP that is being developed.
Note on D57: Enter the page # identified in the QMP that is being developed.
Note on E57: Reviewer to completed this column and choose from drop down menu.
Note on C62: Enter the section identified in the QMP that is being developed.
Note on D62: Enter the page # identified in the QMP that is being developed.
Note on E62: Reviewer to completed this column and choose from drop down menu.
Note on C76: Enter the section identified in the QMP that is being developed.
Note on D76: Enter the page # identified in the QMP that is being developed.
Note on E76: Reviewer to completed this column and choose from drop down menu.
Note on C79: Enter the section identified in the QMP that is being developed.
Note on D79: Enter the page # identified in the QMP that is being developed.
Note on E79: Reviewer to completed this column and choose from drop down menu.
Note on C87: Enter the section identified in the QMP that is being developed.
Note on D87: Enter the page # identified in the QMP that is being developed.
Note on E87: Reviewer to completed this column and choose from drop down menu.
Note on C96: Enter the section identified in the QMP that is being developed.
Note on D96: Enter the page # identified in the QMP that is being developed.
Note on E96: Reviewer to completed this column and choose from drop down menu.
Note on C105: Enter the section identified in the QMP that is being developed.
Note on D105: Enter the page # identified in the QMP that is being developed.
Note on E105: Reviewer to completed this column and choose from drop down menu.

## Group B Elements
Crosswalk [DATE]
QAPP Standard
QAPP Group B Elements
General | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
1. The QAPP shall state any additional organization or project specific requirements from the EPA organization sponsoring the work. | 16
2. The QAPP shall describe all guidance, tools, and templates used to develop the QAPP. | 16
EPA Organizations Only
1. For projects involving field activities, all requirements identified in the EPA QAFAP shall also be included or referenced. | 16
B1. Identification of Project Environmental Information Operations | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
1. Describe in detail the EIO to be conducted for the project. | 16
2. State how the EIO will satisfy the project purpose. | 16
3. State how the EIO will satisfy the information/data quality objectives. | 16
4. State how the EIO will satisfy the performance and acceptance criteria in the Group A4 and A6 Elements. | 16
B2. Methods for Environmental Information Acquisition | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Identify and describe the methods and procedures for how environmental information will be acquired throughout the project including any implementation requirements. The acquisition of environmental information includes collection, production, evaluation and/or use as well as design, construction, operation, or application of environmental technology. | 17
2. Methods are identified by number/identifier, version/revision date, and regulatory citation (if applicable). If a method allows the user to select from various options, then the method citations shall state exactly which option(s) are being selected. | 17
3. The QAPP shall identify, describe or reference SOPs used for the acquisition of environmental information including the version/revision date of the SOP. If a SOP provides more than one procedure or option (for example, one SOP covers the use of several different types of field equipment for the same procedure) the QAPP shall note the specific option or equipment being used. | 17
4. Identify the individual responsible for updating and maintaining the SOPs. | 17
5. Describe any planned modifications to SOPs expected to occur during the project. | 17
B2. Methods for Environmental Information Acquisition | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
Field Activities Environmental Measurements (If Applicable)
1. Describe or reference detailed descriptions of procedures for all field activities, including, but not limited to information derived from tools, instruments, observational results, investigations, and sample collection. | 17
2. Describe or reference maximum holding times for sample extraction and/or analysis. | 17
3. Describe or reference selection and preparation of sample containers. | 17
4. Describe or reference sample volumes. | 17
5. Describe or reference preservation methods. | 17
6. Describe or reference sample handling and custody. | 17
7. The QAPP shall indicate whether the EIO support emergency response activities which allow for the QAPP to be approved during the environmental information operations as per the timelines specified in the EPA sponsoring organization’s QMP and other applicable EPA-approved QMPs (such as the contractor’s QMP). | 17
Laboratory Analyses (If Applicable)
1. Identify the analytical methods by number/identifier, version/revision date and regulatory citation (if applicable). | 18
2. Describe or reference SOPs that address procedures to be conducted when a non-compliance or failure in the analytical system occurs, who is responsible for corrective action, and how to determine and document the effectiveness of the corrective action. | 18
3. Specify the laboratory data package turnaround time needed, if important to the project schedule. | 18
4. Specify the laboratory data package turnaround time needed, if important to the project schedule. | 18
B2. Methods for Environmental Information Acquisition | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
Laboratory Analyses (If Applicable)
4. If a laboratory method allows the user to select from various options, then the method citations should state exactly the selection of option(s). | 18
5. For non-standard method applications, such as for unusual sample matrices and situations, appropriate method performance study information is needed to confirm the performance of the method for the matrix. If previous performance studies are not available, they shall be developed during the project and included as part of the project results. | 18
Existing Information (If Applicable)
1. Describe the existing information to be obtained. | 18
2. Describe the collection process for the existing information. | 18
3. Describe the intended use of the existing information together with criteria for acceptance and evaluation for suitability for the current project. | 18
4. Indicate if the information is to be combined with new environmental information and the criteria to ensure compatibility. | 18
Environmental Technology (If Applicable)
1. Identify whether the technology is primarily for pollution prevention, contamination containment, storage, or remediation. | 18
2. Describe the physical parameters or processes collected using environmental technologies. | 18
3. Describe the specific systems, devices, and their components applicable to both hardware and methods or techniques that measure and/or remove pollutants or contaminants and/or prevent them from entering the environment. | 18
B3. Integrity of Environmental Information | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Describe or cite the procedures for ensuring the integrity of the environmental information operations. | 18
2. If the EIO include field sampling, descriptions are provided or procedures and requirements are cited for sample handling and custody to include but not limited to field logs, packaging, transport and/or shipment from the site, and storage at the laboratory. Examples of sample labels, and chain of custody forms/sample custody logs are included. | 18
3. If the EIO include laboratory analyses, the each laboratory to be used is identified as well as a back-up laboratory if identified as required in systematic planning, contract statements of work, or workplans. A description is provided on the processes for ensuring the laboratory maintains current accreditation and/or certification for applicable analytes and matrices. | 19
B4. Quality Control | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Identify and describe the QC activities needed for each environmental information operation to meet project environmental information/data quality objectives and performance/acceptance criteria. | 19
2. Describe or cite the frequency of each type of QC activity, corrective actions, and how the effectiveness of the corrective action shall be determined and documented. | 19
3. Describe or reference the procedures to be used to calculate applicable statistics (e.g., precision and bias). | 19
4. For EIO involving field sampling, measurements, and laboratory analysis, QC activities shall include, but are not limited to, the use of blanks, duplicates, matrix spikes, laboratory control samples, and surrogates. | 19
5. For EIO using existing data, QC activities shall include, but are not limited to, the use of systematic review, independent secondary review of studies in the open literature, and QC of constructed databases or spreadsheets. | 19
6. For EIO using models or modeling, QC activities shall include, but are not limited to model calibration and model validation (sensitivity analyses). | 19
B5. Instruments/Equipment Calibration, Testing, Inspection, and Maintenance | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Identify instruments/equipment, to include, but not limited to tools, gauges, and pumps used for EIO. | 19
2. Describe all procedures and documentation activities that will be performed to ensure that the instruments/equipment are available and in working order when needed. | 19
3. Describe or reference how calibration will be conducted, documented, and be traceable to the instrument. | 19
4. Describe or reference procedures and documentation activities on how instruments and equipment will be tested, inspected, and maintained. | 19
5. Discuss the availability of critical spare parts, identified in the operating guidance and/or design specifications of the instruments/equipment. | 19
B6. Inspection/Acceptance of Supplies and Services | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Identify the individual(s) responsible for inspection and acceptance od supplies and services. | 20
2. Identify supplies provided by vendors to be inspected and accepted to include, but limited to spare parts for instruments/equipment, standard materials and solutions, sample bottles, calibration gases, reagents, hoses, deionized water, potable water, and electronic data storage media. | 20
3. Identify services provided by vendors to be inspected and accepted to include, but not limited to contractors, sub-contractors, and sub-grantees which may include document development and performing environmental information operations. | 20
4. Describe or reference the procedures for how supplies and services are inspected and accepted. | 20
4.a. This description shall specify the elements of this Standard for which the vendor is responsible. | 20
4.b. This description shall specify how their adherence to the QAPP requirements will be verified. | 20
4.c. This description shall state how acceptance shall be identified whether on the items themselves or in documented information traceable to the items. | 20
B7. Environmental Information Management | Page(s) in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. Describe or cite the environmental information management process for the project, tracing the path of the environmental information from its generation to its final use or storage (e.g., the field, the laboratory. the office, the database). | 20
2. Describe or reference the standard record-keeping procedures, the document control system, and the approach used for information storage and retrieval on electronic media. | 20
3. Describe or reference the control mechanism for detecting and correcting errors and for preventing loss of information during data entry, reduction, and reporting, and data entry to databases, forms, and reports, and databases. | 20
4. Provide or reference examples of any forms or checklists to be used in these processes. | 20
5. Describe or reference all procedures to process, compile, and analyze the information. This includes procedures for addressing environmental information generated as part of the project as well as environmental information from other sources | 20
6. Describe or reference any required computer hardware/software and address any specific performance requirements for the hardware/software configuration used. | 20
7. Describe or reference the procedures to demonstrate acceptability of the hardware/software configuration required and for assuring that applicable information resource management requirements are satisfied. | 20
Note on C4: Enter the section identified in the QAPP that is being developed.
Note on D4: Enter the page # identified in the QAPP that is being developed.
Note on E4: Reviewer to completed this column and choose from drop down menu.
Note on G4: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C9: Enter the section identified in the QAPP that is being developed.
Note on D9: Enter the page # identified in the QAPP that is being developed.
Note on E9: Reviewer to completed this column and choose from drop down menu.
Note on G9: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C14: Enter the section identified in the QMP that is being developed.
Note on D14: Enter the page # identified in the QMP that is being developed.
Note on E14: Reviewer to completed this column and choose from drop down menu.
Note on C20: Enter the section identified in the QMP that is being developed.
Note on D20: Enter the page # identified in the QMP that is being developed.
Note on E20: Reviewer to completed this column and choose from drop down menu.
Note on C34: Enter the section identified in the QMP that is being developed.
Note on D34: Enter the page # identified in the QMP that is being developed.
Note on E34: Reviewer to completed this column and choose from drop down menu.
Note on C47: Enter the section identified in the QMP that is being developed.
Note on D47: Enter the page # identified in the QMP that is being developed.
Note on E47: Reviewer to completed this column and choose from drop down menu.
Note on C51: Enter the section identified in the QMP that is being developed.
Note on D51: Enter the page # identified in the QMP that is being developed.
Note on E51: Reviewer to completed this column and choose from drop down menu.
Note on C58: Enter the section identified in the QMP that is being developed.
Note on D58: Enter the page # identified in the QMP that is being developed.
Note on E58: Reviewer to completed this column and choose from drop down menu.
Note on C64: Enter the section identified in the QMP that is being developed.
Note on D64: Enter the page # identified in the QMP that is being developed.
Note on E64: Reviewer to completed this column and choose from drop down menu.
Note on C72: Enter the section identified in the QMP that is being developed.
Note on D72: Enter the page # identified in the QMP that is being developed.
Note on E72: Reviewer to completed this column and choose from drop down menu.

## Group C Elements
Crosswalk [DATE]
QAPP Standard
QAPP Group C Elements
C1. Assessments and Response Actions | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
Assessments
1. Assessment activities are included in the QAPP. | 21
2. The types of planned assessments are identified. Types of assessments may include: audits, performance evaluations, management reviews, peer reviews, inspections, surveillances, or readiness reviews (including competency assessment, pre-award assessment of proposal, or technical assessment), peer consultations, product reviews (e.g., data inspection, software testing, pre-dissemination reviews, or review of contractor deliverables). The EPA organization sponsoring the work may also specify additional assessment requirements. | 21
3. The number of assessments and frequency of assessments is stated. | 21
4. The individual(s) performing the assessments is/are identified. | 21
5. How assessment findings, non-conformances, and corrective actions will be documented is described. Documentation may include reports, memos, and/or other formal communication as specified by the EPA organization sponsoring the work. | 22
6. The timeframe for response actions to assessments is stated. | 22
C1. Assessments and Response Actions | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
Response Actions
1. A description is provided on how response actions associated with assessment findings, non-conformances, and corrective actions will be developed, documented and tracked to ensure completion. Response actions may include formal memos and notifications addressing findings, corrective actions, or non-conformances; and timelines for follow-up assessments. | 22
2. The individual(s) responsible for response actions is/are identified. | 22
3. A description is provided on how the response actions will be reported. | 22
C2. Oversight and Reports to Management | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. The individual(s) responsible for oversight activities is/are identified. | 22
2. A description is provided on the oversight activities that ensure that response actions and reporting mechanisms are in place to capture the project status and any QA issues that arise during implementation and through assessments. | 22
3. All reports to management are identified. | 22
4. A description is provided on the content of the management reports | 22
5. The individual(s) responsible for transmitting the report(s) is identified. | 22
C2. Oversight and Reports to Management | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
6. A description is provided on how the report will be transmitted. | 22
7. Describe to whom the report is transmitted. The following are included in distribution of the report)s): Project Operations Manager, Project QAM of the organization conducting the work, and the EPA organization sponsoring the work. | 22
Note on C4: Enter the section identified in the QAPP that is being developed.
Note on D4: Enter the page # identified in the QAPP that is being developed.
Note on E4: Reviewer to completed this column and choose from drop down menu.
Note on G4: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C12: Enter the section identified in the QAPP that is being developed.
Note on D12: Enter the page # identified in the QAPP that is being developed.
Note on E12: Reviewer to completed this column and choose from drop down menu.
Note on G12: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C17: Enter the section identified in the QMP that is being developed.
Note on D17: Enter the page # identified in the QMP that is being developed.
Note on E17: Reviewer to completed this column and choose from drop down menu.
Note on C23: Enter the section identified in the QMP that is being developed.
Note on D23: Enter the page # identified in the QMP that is being developed.
Note on E23: Reviewer to completed this column and choose from drop down menu.

## Group D Elements
Crosswalk [DATE]
QAPP Standard
QAPP Group D Elements
D1. Environmental Information Review | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer's Comments | Preparer's Response to Comments | Comment Resolved
1. Procedures for the information/data verification and information/data validation activities are described or cited. | 23
2. Data quality assessment activities that will occur after the EIO phase of the project is completed are described or cited, if applicable. Information/data verification and information/data validation activities are conducted prior to and may serve to inform information/data quality assessment activities. | 23
3. How performance criteria and/or acceptance criteria, and information/data quality indicators identified in A6 will be incorporated in the environmental information/data review process is described or referenced. | 24
4. The individual(s) conducting these activities is identified. | 24
5. How the activities will be documented and communicated are described. | 24
D2. Usability Determination | Starting Page in the QAPP Standard | Organization's QAPP Section | Organization's QAPP Page # | Element Met | Reviewer Details | Preparer's Response to Comments | Comment Resolved
1. The process that will be used to determine whether the environmental information is useable is described or referenced. | 24
2. A description is provided on how this determination will be documented. | 24
3. The individual(s) responsible for the activities is identified. | 24
4. A description is provided on how any known or anticipated limitations on the use of the environmental information will be communicated and to whom. | 25
Note on C4: Enter the section identified in the QAPP that is being developed.
Note on D4: Enter the page # identified in the QAPP that is being developed.
Note on E4: Reviewer to completed this column and choose from drop down menu.
Note on G4: Complete this column after reviewing and responding the Reviewer's Comments.
Note on C10: Enter the section identified in the QMP that is being developed.
Note on D10: Enter the page # identified in the QMP that is being developed.
Note on E10: Reviewer to completed this column and choose from drop down menu.

## Pick Lists
Std Pg | Element Met | Review Comments | Comment Resolved
6 | Yes | Accept | Yes
7 | No | Clarification Needed | No
8 | Missing | Reject
9 | Partially
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34